## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | N43 | 0.13333 | 0.005164 | 3.873 | 6 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | N45 | 0.13333 | 0.005164 | 3.873 | 6 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | N47 | 0.216 | 0.032863 | 15.2145 | 5 | mg/L