## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N43 | 0.1236 | 0.016995 | 13.7497 | 50 | mg/L
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N44 | 0.89 | 0.046587 | 5.2345 | 28 | mg/L
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N45 | 0.13329 | 0.013339 | 10.0077 | 73 | mg/L
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N46 | 1.2429 | 0.07868 | 6.3305 | 7 | mg/L
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | N47 | 0.20661 | 0.020206 | 9.7799 | 56 | mg/L