## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N46 | 1.25 | 0.057735 | 4.6188 | 4 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N48 | 0.78182 | 0.038683 | 4.9478 | 11 | mg/L