## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 270024. | 1993-01-27 | 19 | 19.8 | 95.9596 | -4.0404 | -0.11164 | 1 | 1267 |  |  |  | ug/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 1960095 | 1993-07-15 | 21 | 19.8 | 106.0606 | 6.0606 | 0.16747 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 2950025 | 1992-10-21 | 22 | 19.8 | 111.1111 | 11.1111 | 0.30702 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 1030087 | 1993-04-13 | 20 | 19.8 | 101.0101 | 1.0101 | 0.027911 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 2820140 | 1992-10-08 | 23 | 19.8 | 116.1616 | 16.1616 | 0.44658 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 1190062 | 1993-04-29 | 20 | 19.8 | 101.0101 | 1.0101 | 0.027911 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 140006. | 1993-01-14 | 22 | 19.8 | 111.1111 | 11.1111 | 0.30702 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1993 | 2090008 | 1993-07-28 | 22 | 19.8 | 111.1111 | 11.1111 | 0.30702 | 1 | 1267 |  |  |  | µg/L | 75DW-25117
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 3540143 | 1993-12-20 | 58 | 64.1 | 90.4836 | -9.5164 | -0.74937 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 1660126 | 1994-06-15 | 68 | 64.1 | 106.0842 | 6.0842 | 0.4791 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 130137. | 1994-01-13 | 58 | 57.3 | 101.2216 | 1.2216 | 0.087603 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 1930252 | 1994-07-12 | 54 | 57.3 | 94.2408 | -5.7592 | -0.41299 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 610003. | 1994-03-02 | 66 | 64.1 | 102.9641 | 2.9641 | 0.23341 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 2410019 | 1994-08-29 | 65 | 64.1 | 101.4041 | 1.4041 | 0.11056 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 540189. | 1994-02-23 | 65 | 64.1 | 101.4041 | 1.4041 | 0.11056 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 2290058 | 1994-08-17 | 62 | 64.1 | 96.7239 | -3.2761 | -0.25798 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 750032. | 1994-03-16 | 100 | 64.1 | 156.0062 | 56.0062 | 4.4102 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 2700342 | 1994-09-27 | 65 | 64.1 | 101.4041 | 1.4041 | 0.11056 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 3340018 | 1993-11-30 | 61 | 64.1 | 95.1638 | -4.8362 | -0.38083 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 3360080 | 1993-12-02 | 59 | 64.1 | 92.0437 | -7.9563 | -0.62652 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 1470395 | 1994-05-27 | 63 | 64.1 | 98.2839 | -1.7161 | -0.13513 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 3640001 | 1993-12-30 | 64 | 64.1 | 99.844 | -0.15601 | -0.012285 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 1780148 | 1994-06-27 | 67 | 64.1 | 104.5242 | 4.5242 | 0.35626 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 800115. | 1994-03-21 | 66 | 64.1 | 102.9641 | 2.9641 | 0.23341 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 2570090 | 1994-09-14 | 61 | 64.1 | 95.1638 | -4.8362 | -0.38083 | 1 | 1267 |  |  |  | µg/L | 25DW-75121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 3010104 | 1993-10-28 | 54 | 57.3 | 94.2408 | -5.7592 | -0.41299 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 1160056 | 1994-04-26 | 54 | 57.3 | 94.2408 | -5.7592 | -0.41299 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 2940058 | 1993-10-21 | 55 | 57.3 | 95.986 | -4.014 | -0.28784 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 1040063 | 1994-04-14 | 56 | 57.3 | 97.7312 | -2.2688 | -0.16269 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 260062. | 1994-01-26 | 72 | 57.3 | 125.6545 | 25.6545 | 1.8397 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1994 | 2080049 | 1994-07-27 | 14 | 57.3 | 24.4328 | -75.5672 | -5.4189 | 1 | 1267 |  |  |  | µg/L | 33DW-67121
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1995 | 3480095 | 1994-12-14 | 3 | 6 | 50 | -50 | -0.43719 | 1 | 1267 |  |  |  | µg/L | 75DIW-25125
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1995 | 520138. | 1995-02-21 | 5 | 6 | 83.3333 | -16.6667 | -0.14573 | 1 | 1267 |  |  |  | µg/L | 75DIW-25125
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1995 | 3200059 | 1994-11-16 | 6 | 6 | 100 | 0 | 0 | 1 | 1267 |  |  |  | µg/L | 75DIW-25125
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1995 | 2930066 | 1994-10-20 | 4 | 6 | 66.6667 | -33.3333 | -0.29146 | 1 | 1267 |  |  |  | µg/L | 75DIW-25125
Aluminum, FIL, DCP, LL | 01106 | DCP01 | FIL | 1995 | 0190025 | 1995-01-19 | 4 | 6 | 66.6667 | -33.3333 | -0.29146 | 1 | 1267 |  |  |  | µg/L | 75DIW-25125