## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 380097. | 1995-02-07 | 0.105 | 0.108 | 97.2222 | -2.7778 | -0.12475 | 0.01 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 390009. | 1995-02-08 | 0.105 | 0.108 | 97.2222 | -2.7778 | -0.12475 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 540095. | 1995-02-23 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3070055 | 1994-11-03 | 0.114 | 0.108 | 105.5556 | 5.5556 | 0.2495 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3130023 | 1994-11-09 | 0.002 | 0.108 | 1.8519 | -98.1481 | -4.4079 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3270094 | 1994-11-23 | 0.114 | 0.108 | 105.5556 | 5.5556 | 0.2495 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3430092 | 1994-12-09 | 0.113 | 0.108 | 104.6296 | 4.6296 | 0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3530030 | 1994-12-19 | 0.113 | 0.108 | 104.6296 | 4.6296 | 0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3570337 | 1994-12-23 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3630004 | 1994-12-29 | 0.101 | 0.108 | 93.5185 | -6.4815 | -0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 170018. | 1995-01-17 | 0.098 | 0.108 | 90.7407 | -9.2593 | -0.41583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 190028. | 1995-01-19 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 300067. | 1995-01-30 | 0.095 | 0.108 | 87.963 | -12.037 | -0.54059 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2500252 | 1995-09-07 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2630025 | 1995-09-20 | 1.2 | 1.04 | 115.3846 | 15.3846 | 2.0986 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2650081 | 1995-09-22 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2700048 | 1995-09-27 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 720152. | 1995-03-13 | 0.106 | 0.108 | 98.1481 | -1.8519 | -0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 810073. | 1995-03-22 | 0.106 | 0.108 | 98.1481 | -1.8519 | -0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 930151. | 1995-04-03 | 0.101 | 0.108 | 93.5185 | -6.4815 | -0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1010170 | 1995-04-11 | 0.1 | 0.108 | 92.5926 | -7.4074 | -0.33267 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1170183 | 1995-04-27 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1940140 | 1995-07-13 | 0.051 | 0.108 | 47.2222 | -52.7778 | -2.3703 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2060084 | 1995-07-25 | 0.051 | 0.108 | 47.2222 | -52.7778 | -2.3703 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2080141 | 1995-07-27 | 0.054 | 0.108 | 50 | -50 | -2.2455 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2140067 | 1995-08-02 | 0.053 | 0.108 | 49.0741 | -50.9259 | -2.2871 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1350120 | 1995-05-15 | 0.083 | 0.108 | 76.8519 | -23.1481 | -1.0396 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1430041 | 1995-05-23 | 0.082 | 0.108 | 75.9259 | -24.0741 | -1.0812 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1520157 | 1995-06-01 | 0.102 | 0.108 | 94.4444 | -5.5556 | -0.2495 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1280026 | 1995-05-08 | 0.106 | 0.108 | 98.1481 | -1.8519 | -0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1380076 | 1995-05-18 | 0.081 | 0.108 | 75 | -25 | -1.1228 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3420024 | 1994-12-08 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3480102 | 1994-12-14 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3550065 | 1994-12-21 | 0.199 | 0.108 | 184.2593 | 84.2593 | 3.7841 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3070054 | 1994-11-03 | 0.115 | 0.108 | 106.4815 | 6.4815 | 0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3130022 | 1994-11-09 | 0.004 | 0.108 | 3.7037 | -96.2963 | -4.3247 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3270095 | 1994-11-23 | 0.122 | 0.108 | 112.963 | 12.963 | 0.58217 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3430091 | 1994-12-09 | 0.115 | 0.108 | 106.4815 | 6.4815 | 0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3530034 | 1994-12-19 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3570336 | 1994-12-23 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3630003 | 1994-12-29 | 0.108 | 0.108 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0170017 | 1995-01-17 | 0.103 | 0.108 | 95.3704 | -4.6296 | -0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0190021 | 1995-01-19 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0330056 | 1995-02-02 | 0.118 | 0.108 | 109.2593 | 9.2593 | 0.41583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1090090 | 1995-04-19 | 0.097 | 0.108 | 89.8148 | -10.1852 | -0.45742 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1110112 | 1995-04-21 | 0.105 | 0.108 | 97.2222 | -2.7778 | -0.12475 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1170173 | 1995-04-27 | 0.108 | 0.108 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1210185 | 1995-05-01 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0380096 | 1995-02-07 | 0.094 | 0.108 | 87.037 | -12.963 | -0.58217 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0390010 | 1995-02-08 | 0.096 | 0.108 | 88.8889 | -11.1111 | -0.499 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0540094 | 1995-02-23 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2210099 | 1995-08-09 | 0.978 | 1.04 | 94.0385 | -5.9615 | -0.81322 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2340117 | 1995-08-22 | 0.995 | 1.04 | 95.6731 | -4.3269 | -0.59024 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2360159 | 1995-08-24 | 1 | 1.04 | 96.1538 | -3.8462 | -0.52466 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2420072 | 1995-08-30 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2190037 | 1995-08-07 | 0.999 | 1.04 | 96.0577 | -3.9423 | -0.53778 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2280192 | 1995-08-16 | 1 | 1.04 | 96.1538 | -3.8462 | -0.52466 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0720153 | 1995-03-13 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0810072 | 1995-03-22 | 0.11 | 0.108 | 101.8519 | 1.8519 | 0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0930150 | 1995-04-03 | 0.103 | 0.108 | 95.3704 | -4.6296 | -0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0090088 | 1995-01-09 | 0.1 | 0.108 | 92.5926 | -7.4074 | -0.33267 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0110003 | 1995-01-11 | 0.101 | 0.108 | 93.5185 | -6.4815 | -0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0260051 | 1995-01-26 | 0.095 | 0.108 | 87.963 | -12.037 | -0.54059 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1580022 | 1995-06-07 | 0.091 | 0.108 | 84.2593 | -15.7407 | -0.70692 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1670294 | 1995-06-16 | 0.089 | 0.108 | 82.4074 | -17.5926 | -0.79009 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1730205 | 1995-06-22 | 0.081 | 0.108 | 75 | -25 | -1.1228 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1780116 | 1995-06-27 | 0.082 | 0.108 | 75.9259 | -24.0741 | -1.0812 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1570051 | 1995-06-06 | 0.086 | 0.108 | 79.6296 | -20.3704 | -0.91484 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1630345 | 1995-06-12 | 0.085 | 0.108 | 78.7037 | -21.2963 | -0.95642 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0090089 | 1995-01-09 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0110009 | 1995-01-11 | 0.108 | 0.108 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0260055 | 1995-01-26 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1910188 | 1995-07-10 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2000165 | 1995-07-19 | 1 | 1.04 | 96.1538 | -3.8462 | -0.52466 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2500243 | 1995-09-07 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2550141 | 1995-09-12 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3420029 | 1994-12-08 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3480101 | 1994-12-14 | 0.115 | 0.108 | 106.4815 | 6.4815 | 0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3550066 | 1994-12-21 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 1090044 | 1996-04-18 | 0.172 | 0.165 | 104.2424 | 4.2424 | 0.23549 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2920107 | 1995-10-19 | 0.059 | 0.06 | 98.3333 | -1.6667 | -0.043668 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 1350021 | 1996-05-14 | 0.18 | 0.165 | 109.0909 | 9.0909 | 0.50463 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 3240006 | 1995-11-20 | 0.075 | 0.06 | 125 | 25 | 0.65502 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2280276 | 1996-08-15 | 0.171 | 0.165 | 103.6364 | 3.6364 | 0.20185 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 0190025 | 1996-01-19 | 0.095 | 0.06 | 158.3333 | 58.3333 | 1.5284 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 1640154 | 1996-06-12 | 0.187 | 0.165 | 113.3334 | 13.3334 | 0.74012 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2040105 | 1996-07-22 | 0.317 | 0.165 | 192.1213 | 92.1213 | 5.1135 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2640056 | 1996-09-20 | 0.253 | 0.165 | 153.3334 | 53.3334 | 2.9605 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 3480014 | 1995-12-14 | 0.066 | 0.06 | 110 | 10 | 0.26201 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1040231 | 1997-04-14 | 0.098 | 0.266 | 36.8421 | -63.1579 | -4.605 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 2890124 | 1996-10-15 | 0.116 | 0.155 | 74.8387 | -25.1613 | -1.3961 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1900017 | 1997-07-09 | 0.284 | 0.266 | 106.7669 | 6.7669 | 0.49339 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 0090042 | 1997-01-09 | 0.142 | 0.155 | 91.6129 | -8.3871 | -0.46537 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 3200035 | 1996-11-15 | 0.123 | 0.155 | 79.3548 | -20.6452 | -1.1455 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1330063 | 1997-05-13 | 0.299 | 0.266 | 112.406 | 12.406 | 0.90456 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1430318 | 1997-05-23 | 0.295 | 0.266 | 110.9023 | 10.9023 | 0.79491 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1630058 | 1997-06-12 | 0.271 | 0.266 | 101.8797 | 1.8797 | 0.13705 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 3510166 | 1996-12-16 | 0.189 | 0.155 | 121.9355 | 21.9355 | 1.2171 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 3260078 | 1996-11-21 | 0.133 | 0.155 | 85.8065 | -14.1935 | -0.78754 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1180125 | 1997-04-28 | 0.294 | 0.266 | 110.5263 | 10.5263 | 0.7675 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 3060255 | 1996-11-01 | 0.14 | 0.155 | 90.3226 | -9.6774 | -0.53696 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 0380067 | 1997-02-07 | 0.166 | 0.155 | 107.0968 | 7.0968 | 0.39377 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 2200230 | 1997-08-08 | 0.298 | 0.266 | 112.0301 | 12.0301 | 0.87714 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 0730111 | 1997-03-14 | 0.137 | 0.155 | 88.3871 | -11.6129 | -0.64435 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 0860049 | 1997-03-27 | 0.149 | 0.155 | 96.129 | -3.871 | -0.21478 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 2530269 | 1997-09-10 | 0.26 | 0.266 | 97.7444 | -2.2556 | -0.16446 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 2670106 | 1997-09-24 | 0.26 | 0.266 | 97.7444 | -2.2556 | -0.16446 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 0350106 | 1997-02-04 | 0.134 | 0.155 | 86.4516 | -13.5484 | -0.75175 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 2060076 | 1997-07-25 | 0.271 | 0.266 | 101.8797 | 1.8797 | 0.13705 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 1770165 | 1997-06-26 | 0.283 | 0.266 | 106.391 | 6.391 | 0.46598 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 3620034 | 1996-12-27 | 0.141 | 0.155 | 90.9677 | -9.0323 | -0.50116 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 2340007 | 1997-08-22 | 0.262 | 0.266 | 98.4962 | -1.5038 | -0.10964 | 0.015 | 1980 |  |  |  | mg/L | NAB
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1997 | 0560222 | 1997-02-25 | 0.115 | 0.155 | 74.1935 | -25.8065 | -1.4319 | 0.015 | 1980 |  |  |  | mg/L | N49
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0930136 | 1998-04-03 | 0.198 | 0.21 | 94.2857 | -5.7143 | -0.4878 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1000120 | 1998-04-10 | 0.191 | 0.21 | 90.9524 | -9.0476 | -0.77236 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1040094 | 1998-04-14 | 0.197 | 0.21 | 93.8095 | -6.1905 | -0.52846 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1870154 | 1998-07-06 | 0.193 | 0.21 | 91.9048 | -8.0952 | -0.69106 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1910241 | 1998-07-10 | 0.196 | 0.21 | 93.3333 | -6.6667 | -0.56911 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1950204 | 1998-07-14 | 0.203 | 0.21 | 96.6667 | -3.3333 | -0.28455 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0090088 | 1998-01-09 | 0.226 | 0.24 | 94.1667 | -5.8333 | -0.5303 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0200130 | 1998-01-20 | 0.226 | 0.24 | 94.1667 | -5.8333 | -0.5303 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0160088 | 1998-01-16 | 0.227 | 0.24 | 94.5833 | -5.4167 | -0.49242 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3080083 | 1997-11-04 | 0.227 | 0.24 | 94.5833 | -5.4167 | -0.49242 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3110070 | 1997-11-07 | 0.22 | 0.24 | 91.6667 | -8.3333 | -0.75758 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3180087 | 1997-11-14 | 0.223 | 0.24 | 92.9167 | -7.0833 | -0.64394 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1280043 | 1998-05-08 | 0.183 | 0.21 | 87.1429 | -12.8571 | -1.0976 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1320084 | 1998-05-12 | 0.196 | 0.21 | 93.3333 | -6.6667 | -0.56911 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1380091 | 1998-05-18 | 0.187 | 0.21 | 89.0476 | -10.9524 | -0.93496 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1420204 | 1998-05-22 | 0.194 | 0.21 | 92.381 | -7.619 | -0.65041 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1490072 | 1998-05-29 | 0.185 | 0.21 | 88.0952 | -11.9048 | -1.0163 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1530214 | 1998-06-02 | 0.187 | 0.21 | 89.0476 | -10.9524 | -0.93496 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1530224 | 1998-06-02 | 0.189 | 0.21 | 90 | -10 | -0.85366 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1560220 | 1998-06-05 | 0.186 | 0.21 | 88.5714 | -11.4286 | -0.97561 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1630124 | 1998-06-12 | 0.192 | 0.21 | 91.4286 | -8.5714 | -0.73171 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3360032 | 1997-12-02 | 0.222 | 0.24 | 92.5 | -7.5 | -0.68182 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3390181 | 1997-12-05 | 0.214 | 0.24 | 89.1667 | -10.8333 | -0.98485 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3460127 | 1997-12-12 | 0.217 | 0.24 | 90.4167 | -9.5833 | -0.87121 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3220056 | 1997-11-18 | 0.223 | 0.24 | 92.9167 | -7.0833 | -0.64394 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3250329 | 1997-11-21 | 0.235 | 0.24 | 97.9167 | -2.0833 | -0.18939 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3290139 | 1997-11-25 | 0.235 | 0.24 | 97.9167 | -2.0833 | -0.18939 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1070126 | 1998-04-17 | 0.193 | 0.21 | 91.9048 | -8.0952 | -0.69106 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1140196 | 1998-04-24 | 0.199 | 0.21 | 94.7619 | -5.2381 | -0.44715 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1180174 | 1998-04-28 | 0.193 | 0.21 | 91.9048 | -8.0952 | -0.69106 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0340100 | 1998-02-03 | 0.225 | 0.24 | 93.75 | -6.25 | -0.56818 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0370164 | 1998-02-06 | 0.23 | 0.24 | 95.8333 | -4.1667 | -0.37879 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0440041 | 1998-02-13 | 0.228 | 0.24 | 95 | -5 | -0.45455 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2160044 | 1998-08-04 | 0.193 | 0.21 | 91.9048 | -8.0952 | -0.69106 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2190050 | 1998-08-07 | 0.196 | 0.21 | 93.3333 | -6.6667 | -0.56911 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2260103 | 1998-08-14 | 0.216 | 0.21 | 102.8571 | 2.8571 | 0.2439 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0620136 | 1998-03-03 | 0.228 | 0.24 | 95 | -5 | -0.45455 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0650043 | 1998-03-06 | 0.221 | 0.24 | 92.0833 | -7.9167 | -0.7197 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0720058 | 1998-03-13 | 0.237 | 0.24 | 98.75 | -1.25 | -0.11364 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0760022 | 1998-03-17 | 0.236 | 0.24 | 98.3333 | -1.6667 | -0.15152 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0790215 | 1998-03-20 | 0.236 | 0.24 | 98.3333 | -1.6667 | -0.15152 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0860118 | 1998-03-27 | 0.233 | 0.24 | 97.0833 | -2.9167 | -0.26515 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2470038 | 1998-09-04 | 0.187 | 0.21 | 89.0476 | -10.9524 | -0.93496 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2540090 | 1998-09-11 | 0.204 | 0.21 | 97.1429 | -2.8571 | -0.2439 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2580245 | 1998-09-15 | 0.205 | 0.21 | 97.619 | -2.381 | -0.20325 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2610107 | 1998-09-18 | 0.208 | 0.21 | 99.0476 | -0.95238 | -0.081301 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2680007 | 1998-09-25 | 0.204 | 0.21 | 97.1429 | -2.8571 | -0.2439 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2720083 | 1998-09-29 | 0.204 | 0.21 | 97.1429 | -2.8571 | -0.2439 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0260123 | 1998-01-26 | 0.222 | 0.24 | 92.5 | -7.5 | -0.68182 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0270118 | 1998-01-27 | 0.225 | 0.24 | 93.75 | -6.25 | -0.56818 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0300115 | 1998-01-30 | 0.222 | 0.24 | 92.5 | -7.5 | -0.68182 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1980301 | 1998-07-17 | 0.223 | 0.21 | 106.1905 | 6.1905 | 0.52846 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2080084 | 1998-07-27 | 0.198 | 0.21 | 94.2857 | -5.7143 | -0.4878 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2090138 | 1998-07-28 | 0.197 | 0.21 | 93.8095 | -6.1905 | -0.52846 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1680012 | 1998-06-17 | 0.187 | 0.21 | 89.0476 | -10.9524 | -0.93496 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1700283 | 1998-06-19 | 0.189 | 0.21 | 90 | -10 | -0.85366 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 1770073 | 1998-06-26 | 0.002 | 0.21 | 0.95238 | -99.0476 | -8.4553 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3500012 | 1997-12-16 | 0.213 | 0.24 | 88.75 | -11.25 | -1.0227 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3530141 | 1997-12-19 | 0.23 | 0.24 | 95.8333 | -4.1667 | -0.37879 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 3650033 | 1997-12-31 | 0.239 | 0.24 | 99.5833 | -0.41667 | -0.037879 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2300136 | 1998-08-18 | 0.205 | 0.21 | 97.619 | -2.381 | -0.20325 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2330325 | 1998-08-21 | 0.216 | 0.21 | 102.8571 | 2.8571 | 0.2439 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 2400212 | 1998-08-28 | 0.208 | 0.21 | 99.0476 | -0.95238 | -0.081301 | 0.015 | 1980 |  |  |  | mg/L | N57
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0510063 | 1998-02-20 | 0.228 | 0.24 | 95 | -5 | -0.45455 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0540093 | 1998-02-23 | 0.231 | 0.24 | 96.25 | -3.75 | -0.34091 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1998 | 0580058 | 1998-02-27 | 0.23 | 0.24 | 95.8333 | -4.1667 | -0.37879 | 0.015 | 1980 |  |  |  | mg/L | N55
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2750040 | 1998-10-02 | 0.307 | 0.327 | 93.8838 | -6.1162 | -0.61312 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2800067 | 1998-10-07 | 0.311 | 0.327 | 95.107 | -4.893 | -0.4905 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2820174 | 1998-10-09 | 0.317 | 0.327 | 96.9419 | -3.0581 | -0.30656 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2870041 | 1998-10-14 | 0.312 | 0.327 | 95.4128 | -4.5872 | -0.45984 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 1830026 | 1999-07-02 | 0.036 | 0.04 | 90 | -10 | -0.25974 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 1880009 | 1999-07-07 | 0.034 | 0.04 | 85 | -15 | -0.38961 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 1930037 | 1999-07-12 | 0.034 | 0.04 | 85 | -15 | -0.38961 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 1950023 | 1999-07-14 | 0.034 | 0.04 | 85 | -15 | -0.38961 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0060043 | 1999-01-06 | 0.345 | 0.327 | 105.5046 | 5.5046 | 0.55181 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0080117 | 1999-01-08 | 0.323 | 0.327 | 98.7768 | -1.2232 | -0.12262 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0130036 | 1999-01-13 | 0.328 | 0.327 | 100.3058 | 0.30581 | 0.030656 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0150089 | 1999-01-15 | 0.329 | 0.327 | 100.6116 | 0.61162 | 0.061312 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3130127 | 1998-11-09 | 0.317 | 0.327 | 96.9419 | -3.0581 | -0.30656 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3140160 | 1998-11-10 | 0.32 | 0.327 | 97.8593 | -2.1407 | -0.21459 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3200024 | 1998-11-16 | 0.32 | 0.327 | 97.8593 | -2.1407 | -0.21459 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3220058 | 1998-11-18 | 0.316 | 0.327 | 96.6361 | -3.3639 | -0.33722 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3380074 | 1998-12-04 | 0.352 | 0.327 | 107.6453 | 7.6453 | 0.7664 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3430049 | 1998-12-09 | 0.326 | 0.327 | 99.6942 | -0.30581 | -0.030656 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3450162 | 1998-12-11 | 0.32 | 0.327 | 97.8593 | -2.1407 | -0.21459 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3500072 | 1998-12-16 | 0.33 | 0.327 | 100.9174 | 0.91743 | 0.091968 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3240060 | 1998-11-20 | 0.316 | 0.327 | 96.6361 | -3.3639 | -0.33722 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3290035 | 1998-11-25 | 0.336 | 0.327 | 102.7523 | 2.7523 | 0.2759 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3350082 | 1998-12-01 | 0.333 | 0.327 | 101.8349 | 1.8349 | 0.18394 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2890143 | 1998-10-16 | 0.315 | 0.327 | 96.3303 | -3.6697 | -0.36787 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2940061 | 1998-10-21 | 0.32 | 0.327 | 97.8593 | -2.1407 | -0.21459 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2960087 | 1998-10-23 | 0.326 | 0.327 | 99.6942 | -0.30581 | -0.030656 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0360044 | 1999-02-05 | 0.396 | 0.327 | 121.1009 | 21.1009 | 2.1153 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0410061 | 1999-02-10 | 0.329 | 0.327 | 100.6116 | 0.61162 | 0.061312 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0430070 | 1999-02-12 | 0.346 | 0.327 | 105.8104 | 5.8104 | 0.58246 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0480042 | 1999-02-17 | 0.336 | 0.327 | 102.7523 | 2.7523 | 0.2759 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2210145 | 1999-08-09 | 0.033 | 0.04 | 82.5 | -17.5 | -0.45455 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2220093 | 1999-08-10 | 0.032 | 0.04 | 80 | -20 | -0.51948 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2240298 | 1999-08-12 | 0.037 | 0.04 | 92.5 | -7.5 | -0.19481 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2300019 | 1999-08-18 | 0.085 | 0.04 | 212.5 | 112.5 | 2.9221 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0640100 | 1999-03-05 | 0.362 | 0.327 | 110.7034 | 10.7034 | 1.073 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0690066 | 1999-03-10 | 0.366 | 0.327 | 111.9266 | 11.9266 | 1.1956 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0710107 | 1999-03-12 | 0.364 | 0.327 | 111.315 | 11.315 | 1.1343 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0760031 | 1999-03-17 | 0.359 | 0.327 | 109.7859 | 9.7859 | 0.98099 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0780129 | 1999-03-19 | 0.387 | 0.327 | 118.3486 | 18.3486 | 1.8394 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0830028 | 1999-03-24 | 0.374 | 0.327 | 114.3731 | 14.3731 | 1.4408 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0850054 | 1999-03-26 | 0.396 | 0.327 | 121.1009 | 21.1009 | 2.1153 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2460058 | 1999-09-03 | 0.038 | 0.04 | 95 | -5 | -0.12987 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2510022 | 1999-09-08 | 0.039 | 0.04 | 97.5 | -2.5 | -0.064935 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2530170 | 1999-09-10 | 0.043 | 0.04 | 107.5 | 7.5 | 0.19481 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2580032 | 1999-09-15 | 0.031 | 0.04 | 77.5 | -22.5 | -0.58442 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2600087 | 1999-09-17 | 0.029 | 0.04 | 72.5 | -27.5 | -0.71429 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2650021 | 1999-09-22 | 0.036 | 0.04 | 90 | -10 | -0.25974 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2700032 | 1999-09-27 | 0.031 | 0.04 | 77.5 | -22.5 | -0.58442 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0200127 | 1999-01-20 | 0.332 | 0.327 | 101.5291 | 1.5291 | 0.15328 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0220068 | 1999-01-22 | 0.321 | 0.327 | 98.1651 | -1.8349 | -0.18394 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0290008 | 1999-01-29 | 0.335 | 0.327 | 102.4465 | 2.4465 | 0.24525 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 1970050 | 1999-07-16 | 0.033 | 0.04 | 82.5 | -17.5 | -0.45455 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2080109 | 1999-07-27 | 0.008 | 0.04 | 20 | -80 | -2.0779 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2090074 | 1999-07-28 | 0.032 | 0.04 | 80 | -20 | -0.51948 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3520051 | 1998-12-18 | 0.065 | 0.327 | 19.8777 | -80.1223 | -8.0319 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3570082 | 1998-12-23 | 0.331 | 0.327 | 101.2232 | 1.2232 | 0.12262 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 3640038 | 1998-12-30 | 0.335 | 0.327 | 102.4465 | 2.4465 | 0.24525 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2320065 | 1999-08-20 | 0.04 | 0.04 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2370010 | 1999-08-25 | 0.027 | 0.04 | 67.5 | -32.5 | -0.84416 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 2390010 | 1999-08-27 | 0.033 | 0.04 | 82.5 | -17.5 | -0.45455 | 0.015 | 1980 |  |  |  | mg/L | N61
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0500083 | 1999-02-19 | 0.355 | 0.327 | 108.5627 | 8.5627 | 0.85837 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0550045 | 1999-02-24 | 0.358 | 0.327 | 109.4801 | 9.4801 | 0.95034 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1999 | 0570062 | 1999-02-26 | 0.355 | 0.327 | 108.5627 | 8.5627 | 0.85837 | 0.015 | 1980 |  |  |  | mg/L | N59
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0980008 | 2000-04-07 | 0.137 | 0.124 | 110.4839 | 10.4839 | 0.67737 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1040016 | 2000-04-13 | 0.123 | 0.124 | 99.1935 | -0.80645 | -0.052105 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1050024 | 2000-04-14 | 0.127 | 0.124 | 102.4194 | 2.4194 | 0.15632 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2790061 | 1999-10-06 | 0.139 | 0.15 | 92.6667 | -7.3333 | -0.5314 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2810013 | 1999-10-08 | 0.144 | 0.15 | 96 | -4 | -0.28986 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2880020 | 1999-10-15 | 0.148 | 0.15 | 98.6667 | -1.3333 | -0.096618 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1890029 | 2000-07-07 | 0.128 | 0.124 | 103.2258 | 3.2258 | 0.20842 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1940001 | 2000-07-12 | 0.122 | 0.124 | 98.3871 | -1.6129 | -0.10421 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1960026 | 2000-07-14 | 0.121 | 0.124 | 97.5806 | -2.4194 | -0.15632 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0070101 | 2000-01-07 | 0.158 | 0.15 | 105.3333 | 5.3333 | 0.38647 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0120042 | 2000-01-12 | 0.147 | 0.15 | 98 | -2 | -0.14493 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0140014 | 2000-01-14 | 0.142 | 0.15 | 94.6667 | -5.3333 | -0.38647 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3120236 | 1999-11-08 | 0.135 | 0.15 | 90 | -99999999999999840 | -0.72464 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3140005 | 1999-11-10 | 0.144 | 0.15 | 96 | -4 | -0.28986 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3230004 | 1999-11-19 | 0.137 | 0.15 | 91.3333 | -8.6667 | -0.62802 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1260001 | 2000-05-05 | 0.134 | 0.124 | 108.0645 | 8.0645 | 0.52105 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1310008 | 2000-05-10 | 0.132 | 0.124 | 106.4516 | 6.4516 | 0.41684 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1330053 | 2000-05-12 | 0.109 | 0.124 | 87.9032 | -12.0968 | -0.78158 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1400059 | 2000-05-19 | 0.115 | 0.124 | 92.7419 | -7.2581 | -0.46895 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1460093 | 2000-05-25 | 0.123 | 0.124 | 99.1935 | -0.80645 | -0.052105 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1470027 | 2000-05-26 | 0.004 | 0.124 | 3.2258 | -96.7742 | -6.2526 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1570176 | 2000-06-05 | 0.118 | 0.124 | 95.1613 | -4.8387 | -0.31263 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1590024 | 2000-06-07 | 0.102 | 0.124 | 82.2581 | -17.7419 | -1.1463 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1610249 | 2000-06-09 | 0.123 | 0.124 | 99.1935 | -0.80645 | -0.052105 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3370029 | 1999-12-03 | 0.141 | 0.15 | 94 | -6 | -0.43478 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3420028 | 1999-12-08 | 0.131 | 0.15 | 87.3333 | -12.6667 | -0.91787 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3440183 | 1999-12-10 | 0.136 | 0.15 | 90.6667 | -9.3333 | -0.67633 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3280009 | 1999-11-24 | 0.141 | 0.15 | 94 | -6 | -0.43478 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3340015 | 1999-11-30 | 0.141 | 0.15 | 94 | -6 | -0.43478 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3350023 | 1999-12-01 | 0.139 | 0.15 | 92.6667 | -7.3333 | -0.5314 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1120197 | 2000-04-21 | 0.131 | 0.124 | 105.6452 | 5.6452 | 0.36474 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1180021 | 2000-04-27 | 0.124 | 0.124 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1190022 | 2000-04-28 | 0.121 | 0.124 | 97.5806 | -2.4194 | -0.15632 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2930007 | 1999-10-20 | 0.151 | 0.15 | 100.6667 | 0.66667 | 0.048309 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2950001 | 1999-10-22 | 0.146 | 0.15 | 97.3333 | -2.6667 | -0.19324 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3000008 | 1999-10-27 | 0.009 | 0.15 | 6 | -94 | -6.8116 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0350158 | 2000-02-04 | 0.143 | 0.15 | 95.3333 | -4.6667 | -0.33816 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0400083 | 2000-02-09 | 0.146 | 0.15 | 97.3333 | -2.6667 | -0.19324 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0420197 | 2000-02-11 | 0.15 | 0.15 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0630085 | 2000-03-03 | 0.152 | 0.15 | 101.3333 | 1.3333 | 0.096618 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0680001 | 2000-03-08 | 0.154 | 0.15 | 102.6667 | 2.6667 | 0.19324 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0700002 | 2000-03-10 | 0.15 | 0.15 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0770031 | 2000-03-17 | 0.15 | 0.15 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0820021 | 2000-03-22 | 0.151 | 0.15 | 100.6667 | 0.66667 | 0.048309 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0840036 | 2000-03-24 | 0.156 | 0.15 | 104 | 4 | 0.28986 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2500001 | 2000-09-06 | 0.144 | 0.124 | 116.129 | 16.129 | 1.0421 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2520005 | 2000-09-08 | 0.135 | 0.124 | 108.871 | 8.871 | 0.57316 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2590086 | 2000-09-15 | 0.128 | 0.124 | 103.2258 | 3.2258 | 0.20842 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2640054 | 2000-09-20 | 0.134 | 0.124 | 108.0645 | 8.0645 | 0.52105 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2660007 | 2000-09-22 | 0.137 | 0.124 | 110.4839 | 10.4839 | 0.67737 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2730016 | 2000-09-29 | 0.138 | 0.124 | 111.2903 | 11.2903 | 0.72947 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0210033 | 2000-01-21 | 0.145 | 0.15 | 96.6667 | -3.3333 | -0.24155 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0260020 | 2000-01-26 | 0.144 | 0.15 | 96 | -4 | -0.28986 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0280013 | 2000-01-28 | 0.146 | 0.15 | 97.3333 | -2.6667 | -0.19324 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2030087 | 2000-07-21 | 0.119 | 0.124 | 95.9677 | -4.0323 | -0.26053 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2080022 | 2000-07-26 | 0.118 | 0.124 | 95.1613 | -4.8387 | -0.31263 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 2100030 | 2000-07-28 | 0.108 | 0.124 | 87.0968 | -12.9032 | -0.83368 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1710133 | 2000-06-19 | 0.125 | 0.124 | 100.8065 | 0.80645 | 0.052105 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1730019 | 2000-06-21 | 0.122 | 0.124 | 98.3871 | -1.6129 | -0.10421 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 1750025 | 2000-06-23 | 0.118 | 0.124 | 95.1613 | -4.8387 | -0.31263 | 0.015 | 1980 |  |  |  | mg/L | N65
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3510023 | 1999-12-17 | 0.142 | 0.15 | 94.6667 | -5.3333 | -0.38647 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3560008 | 1999-12-22 | 0.142 | 0.15 | 94.6667 | -5.3333 | -0.38647 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 3620010 | 1999-12-28 | 0.144 | 0.15 | 96 | -4 | -0.28986 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0490032 | 2000-02-18 | 0.16 | 0.15 | 106.6667 | 6.6667 | 0.48309 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0550144 | 2000-02-24 | 0.147 | 0.15 | 98 | -2 | -0.14493 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2000 | 0560184 | 2000-02-25 | 0.152 | 0.15 | 101.3333 | 1.3333 | 0.096618 | 0.015 | 1980 |  |  |  | mg/L | N63
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2870103 | 2000-10-13 | 0.485 | 0.435 | 111.4943 | 11.4943 | 1.3337 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2870110 | 2000-10-13 | 0.468 | 0.435 | 107.5862 | 7.5862 | 0.88023 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2870117 | 2000-10-13 | 0.467 | 0.435 | 107.3563 | 7.3563 | 0.85356 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2940076 | 2000-10-20 | 0.443 | 0.435 | 101.8391 | 1.8391 | 0.21339 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3010001 | 2000-10-27 | 0.329 | 0.435 | 75.6322 | -24.3678 | -2.8274 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1870006 | 2001-07-06 | 0.079 | 0.086 | 91.8605 | -8.1395 | -0.37546 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1920005 | 2001-07-11 | 0.086 | 0.086 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1940048 | 2001-07-13 | 0.073 | 0.086 | 84.8837 | -15.1163 | -0.69728 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2040151 | 2001-07-23 | 0.057 | 0.086 | 66.2791 | -33.7209 | -1.5555 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2080023 | 2001-07-27 | 0.081 | 0.086 | 94.186 | -5.814 | -0.26818 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3080021 | 2000-11-03 | 0.473 | 0.435 | 108.7356 | 8.7356 | 1.0136 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3130018 | 2000-11-08 | 0.51 | 0.435 | 117.2414 | 17.2414 | 2.0005 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3180016 | 2000-11-13 | 0.411 | 0.435 | 94.4828 | -5.5172 | -0.64017 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3220340 | 2000-11-17 | 0.093 | 0.435 | 21.3793 | -78.6207 | -9.1224 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3360011 | 2000-12-01 | 0.521 | 0.435 | 119.7701 | 19.7701 | 2.2939 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1220112 | 2001-05-02 | 0.079 | 0.086 | 91.8605 | -8.1395 | -0.37546 | 0.015 | 1980 |  |  |  | mg/L | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1290014 | 2001-05-09 | 0.081 | 0.086 | 94.186 | -5.814 | -0.26818 | 0.015 | 1980 |  |  |  | mg/L | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1350096 | 2001-05-15 | 0.082 | 0.086 | 95.3488 | -4.6512 | -0.21455 | 0.015 | 1980 |  |  |  | mg/L | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1380050 | 2001-05-18 | 0.043 | 0.086 | 50 | -50 | -2.3064 | 0.015 | 1980 |  |  |  | mg/L | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2180184 | 2001-08-06 | 0.079 | 0.086 | 91.8605 | -8.1395 | -0.37546 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2200002 | 2001-08-08 | 0.083 | 0.086 | 96.5116 | -3.4884 | -0.16091 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2220105 | 2001-08-10 | 0.076 | 0.086 | 88.3721 | -11.6279 | -0.53637 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2290032 | 2001-08-17 | 0.082 | 0.086 | 95.3488 | -4.6512 | -0.21455 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2340148 | 2001-08-22 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.053637 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0370007 | 2001-02-06 | 0.461 | 0.435 | 105.977 | 5.977 | 0.69352 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0380061 | 2001-02-07 | 0.467 | 0.435 | 107.3563 | 7.3563 | 0.85356 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0400052 | 2001-02-09 | 0.369 | 0.435 | 84.8276 | -15.1724 | -1.7605 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0470113 | 2001-02-16 | 0.301 | 0.435 | 69.1954 | -30.8046 | -3.5743 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0540039 | 2001-02-23 | 0.388 | 0.435 | 89.1954 | -10.8046 | -1.2537 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0100033 | 2001-01-10 | 0.449 | 0.435 | 103.2184 | 3.2184 | 0.37343 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0120101 | 2001-01-12 | 0.419 | 0.435 | 96.3218 | -3.6782 | -0.42678 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0120100 | 2001-01-12 | 0.318 | 0.435 | 73.1034 | -26.8966 | -3.1208 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0190059 | 2001-01-19 | 0.435 | 0.435 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0260024 | 2001-01-26 | 0.401 | 0.435 | 92.1839 | -7.8161 | -0.90691 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2480064 | 2001-09-05 | 0.113 | 0.086 | 131.3953 | 31.3953 | 1.4482 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2480228 | 2001-09-05 | 0.097 | 0.086 | 112.7907 | 12.7907 | 0.59 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2570020 | 2001-09-14 | 0.084 | 0.086 | 97.6744 | -2.3256 | -0.10727 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2610001 | 2001-09-18 | 0.083 | 0.086 | 96.5116 | -3.4884 | -0.16091 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 2670118 | 2001-09-24 | 0.082 | 0.086 | 95.3488 | -4.6512 | -0.21455 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0650079 | 2001-03-06 | 0.435 | 0.435 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0660086 | 2001-03-07 | 0.271 | 0.435 | 62.2989 | -37.7011 | -4.3745 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0680007 | 2001-03-09 | 0.393 | 0.435 | 90.3448 | -9.6552 | -1.1203 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0750161 | 2001-03-16 | 0.42 | 0.435 | 96.5517 | -3.4483 | -0.40011 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0820132 | 2001-03-23 | 0.429 | 0.435 | 98.6207 | -1.3793 | -0.16004 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3430047 | 2000-12-08 | 0.318 | 0.435 | 73.1034 | -26.8966 | -3.1208 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3500084 | 2000-12-15 | 0.465 | 0.435 | 106.8966 | 6.8966 | 0.80021 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 3610149 | 2000-12-26 | 0.439 | 0.435 | 100.9195 | 0.91954 | 0.1067 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 0080019 | 2001-01-08 | 0.45 | 0.435 | 103.4483 | 3.4483 | 0.40011 | 0.015 | 1980 |  |  |  | mg/L | N67
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1570035 | 2001-06-06 | 0.079 | 0.086 | 91.8605 | -8.1395 | -0.37546 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1580092 | 2001-06-07 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.053637 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1710183 | 2001-06-20 | 0.083 | 0.086 | 96.5116 | -3.4884 | -0.16091 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1730098 | 2001-06-22 | 0.086 | 0.086 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N69
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 2001 | 1800074 | 2001-06-29 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.053637 | 0.01 | 1980 |  |  |  | mg/L as N | N69