## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7069030 | 1987-03-10 | 0.046 | 0.07 | 65.7143 | -34.2857 | -0.57143 | 0.002 | 0836 |  |  |  | mg/L | P3
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7248019 | 1987-09-05 | 0.07 | 0.07 | 100 | 0 | 0 | 0.002 | 0836 |  |  |  | mg/L | P3
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7248016 | 1987-09-05 | 0.07 | 0.07 | 100 | 0 | 0 | 0.002 | 0836 |  |  |  | mg/L | P3
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7015023 | 1987-01-15 | 0.005 | 0.02 | 25 | -75 | -0.40541 | 0.002 | 0836 |  |  |  | mg/L | P5
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7023011 | 1987-01-23 | 0.008 | 0.02 | 40 | -60 | -0.32432 | 0.002 | 0836 |  |  |  | mg/L | P5
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 6282011 | 1986-10-09 | 0.002 | 0.02 | 10 | -90 | -0.48649 | 0.002 | 0836 |  |  |  | mg/L | P5
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 6294046 | 1986-10-21 | 0.002 | 0.02 | 10 | -90 | -0.48649 | 0.002 | 0836 |  |  |  | mg/L | P5
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7098001 | 1987-04-08 | 0.018 | 0.02 | 90 | -10 | -0.054054 | 0.002 | 0836 |  |  |  | mg/L | P5
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7111001 | 1987-04-21 | 0.02 | 0.02 | 100 | 0 | 0 | 0.002 | 0836 |  |  |  | mg/L | P5
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7048023 | 1987-02-17 | 0.044 | 0.05 | 88 | -12 | -0.15 | 0.002 | 0836 |  |  |  | mg/L | P9
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7233171 | 1987-08-21 | 0.056 | 0.05 | 112 | 12 | 0.15 | 0.002 | 0836 |  |  |  | mg/L | P9
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7243031 | 1987-08-31 | 0.086 | 0.05 | 172 | 72 | 0.9 | 0.002 | 0836 |  |  |  | mg/L | P9
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7054057 | 1987-02-23 | 0.045 | 0.05 | 90 | -10 | -0.125 | 0.002 | 0836 |  |  |  | mg/L | P9
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7139047 | 1987-05-19 | 0.247 | 0.24 | 102.9167 | 2.9167 | 0.11864 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1987 | 7149114 | 1987-05-29 | 0.26 | 0.24 | 108.3333 | 8.3333 | 0.33898 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 7286024 | 1987-10-13 | 0.024 | 0.03 | 80 | -20 | -0.15789 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 7296117 | 1987-10-23 | 0.011 | 0.03 | 36.6667 | -63.3333 | -0.5 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 1120037 | 1988-04-21 | 0.044 | 0.03 | 146.6667 | 46.6667 | 0.36842 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 1190001 | 1988-04-28 | 0.019 | 0.03 | 63.3333 | -36.6667 | -0.28947 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 270079. | 1988-01-27 | 0.015 | 0.03 | 50 | -50 | -0.39474 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 280078. | 1988-01-28 | 0.016 | 0.03 | 53.3333 | -46.6667 | -0.36842 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 2080086 | 1988-07-26 | 0.022 | 0.03 | 73.3333 | -26.6667 | -0.21053 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 2080087 | 1988-07-26 | 0.049 | 0.03 | 163.3333 | 63.3333 | 0.5 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 7286038 | 1987-10-13 | 0.006 | 0.03 | 20 | -80 | -0.63158 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 7299053 | 1987-10-26 | 0.013 | 0.03 | 43.3333 | -56.6667 | -0.44737 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 1160124 | 1988-04-25 | 0.01 | 0.03 | 33.3333 | -66.6667 | -0.52632 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1988 | 1190006 | 1988-04-28 | 0.02 | 0.03 | 66.6667 | -33.3333 | -0.26316 | 0.002 | 0836 |  |  |  | mg/L | P8
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 650060. | 1989-03-06 | 0.232 | 0.24 | 96.6667 | -3.3333 | -0.14035 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 790143. | 1989-03-20 | 0.268 | 0.24 | 111.6667 | 11.6667 | 0.49123 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 2610180 | 1989-09-18 | 0.257 | 0.24 | 107.0833 | 7.0833 | 0.29825 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 2650047 | 1989-09-22 | 0.233 | 0.24 | 97.0833 | -2.9167 | -0.12281 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 2880090 | 1988-10-14 | 0.246 | 0.24 | 102.5 | 2.5 | 0.10526 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 2950003 | 1988-10-21 | 0.126 | 0.24 | 52.5 | -47.5 | -2 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 1170083 | 1989-04-27 | 0.231 | 0.24 | 96.25 | -3.75 | -0.15789 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 1220048 | 1989-05-02 | 0.248 | 0.24 | 103.3333 | 3.3333 | 0.14035 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 340142. | 1989-02-03 | 0.27 | 0.24 | 112.5 | 12.5 | 0.52632 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 340143. | 1989-02-03 | 0.24 | 0.24 | 100 | 0 | 0 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 1920048 | 1989-07-11 | 0.203 | 0.24 | 84.5833 | -15.4167 | -0.64912 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 2000029 | 1989-07-19 | 0.17 | 0.24 | 70.8333 | -29.1667 | -1.2281 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 2850051 | 1988-10-11 | 0.315 | 0.24 | 131.25 | 31.25 | 1.3158 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 3000081 | 1988-10-26 | 0.252 | 0.24 | 105 | 5 | 0.21053 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 1210076 | 1989-05-01 | 0.238 | 0.24 | 99.1667 | -0.83333 | -0.035088 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1989 | 1210035 | 1989-05-01 | 0.221 | 0.24 | 92.0833 | -7.9167 | -0.33333 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 940032. | 1990-04-04 | 0.198 | 0.24 | 82.5 | -17.5 | -0.90517 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 940031. | 1990-04-04 | 0.201 | 0.24 | 83.75 | -16.25 | -0.84052 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 2560069 | 1990-09-13 | 0.247 | 0.24 | 102.9167 | 2.9167 | 0.15086 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 2560070 | 1990-09-13 | 0.199 | 0.24 | 82.9167 | -17.0833 | -0.88362 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 2930047 | 1989-10-20 | 0.219 | 0.24 | 91.25 | -8.75 | -0.45259 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 2990010 | 1989-10-26 | 0.225 | 0.24 | 93.75 | -6.25 | -0.32328 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 950055. | 1990-04-05 | 0.213 | 0.24 | 88.75 | -11.25 | -0.5819 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 1090040 | 1990-04-19 | 0.205 | 0.24 | 85.4167 | -14.5833 | -0.75431 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 180032. | 1990-01-18 | 0.186 | 0.24 | 77.5 | -22.5 | -1.1638 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 320068. | 1990-02-01 | 0.179 | 0.24 | 74.5833 | -25.4167 | -1.3147 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 1870028 | 1990-07-06 | 0.186 | 0.24 | 77.5 | -22.5 | -1.1638 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 1980030 | 1990-07-17 | 0.196 | 0.24 | 81.6667 | -18.3333 | -0.94828 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 2910056 | 1989-10-18 | 0.198 | 0.24 | 82.5 | -17.5 | -0.90517 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1990 | 3050128 | 1989-11-01 | 0.238 | 0.24 | 99.1667 | -0.83333 | -0.043103 | 0.002 | 0836 |  |  |  | mg/L | P11
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1080049 | 1992-04-17 | 0.06 | 0.05 | 120 | 20 | 0.45977 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1140003 | 1992-04-23 | 0.054 | 0.05 | 108 | 8 | 0.18391 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 2810116 | 1991-10-08 | 0.223 | 0.208 | 107.2115 | 7.2115 | 0.44643 | 0.002 | 0836 |  |  |  | mg/L | N30
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 2900046 | 1991-10-17 | 0.221 | 0.208 | 106.25 | 6.25 | 0.3869 | 0.002 | 0836 |  |  |  | mg/L | N30
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1490182 | 1992-05-28 | 0.164 | 0.177 | 92.6554 | -7.3446 | -0.41567 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1560048 | 1992-06-04 | 0.186 | 0.177 | 105.0847 | 5.0847 | 0.28777 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 2170178 | 1992-08-04 | 0.211 | 0.177 | 119.209 | 19.209 | 1.0871 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 2440205 | 1992-08-31 | 0.229 | 0.177 | 129.3785 | 29.3785 | 1.6627 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 490120. | 1992-02-18 | 0.079 | 0.05 | 158 | 58 | 1.3333 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 520156. | 1992-02-21 | 0.004 | 0.05 | 8 | -92 | -2.1149 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1610028 | 1992-06-09 | 0.162 | 0.177 | 91.5254 | -8.4746 | -0.47962 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1760100 | 1992-06-24 | 0.198 | 0.177 | 111.8644 | 11.8644 | 0.67146 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 90132.0 | 1992-01-09 | 0.049 | 0.05 | 98 | -2 | -0.045977 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 160038. | 1992-01-16 | 0.033 | 0.05 | 66 | -34 | -0.78161 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1890121 | 1992-07-07 | 0.207 | 0.177 | 116.9492 | 16.9492 | 0.95923 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 1950001 | 1992-07-13 | 0.191 | 0.177 | 107.9096 | 7.9096 | 0.44764 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 2610216 | 1992-09-17 | 0.173 | 0.177 | 97.7401 | -2.2599 | -0.1279 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 2620024 | 1992-09-18 | 0.189 | 0.177 | 106.7797 | 6.7797 | 0.38369 | 0.002 | 0836 |  |  |  | mg/L | N34
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 650035. | 1992-03-05 | 0.048 | 0.05 | 96 | -4 | -0.091954 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 3530085 | 1991-12-19 | 0.057 | 0.05 | 114 | 14 | 0.32184 | 0.002 | 0836 |  |  |  | mg/L | N32
Ammonia (NH3 as N), UNF | 00610 | CL070 | UNF | 1992 | 3580006 | 1991-12-24 | 0.046 | 0.05 | 92 | -8 | -0.18391 | 0.002 | 0836 |  |  |  | mg/L | N32