## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363085 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363137 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363139 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363140 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363138 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180232 | 1987-06-29 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180216 | 1987-06-29 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180233 | 1987-06-29 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180227 | 1987-06-29 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7020075 | 1987-01-20 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7020077 | 1987-01-20 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7020078 | 1987-01-20 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7020076 | 1987-01-20 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7026013 | 1987-01-26 | 0.21 | 0.21 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7252150 | 1987-09-09 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7057015 | 1987-02-26 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7233063 | 1987-08-21 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7238154 | 1987-08-26 | 2.1 | 2.32 | 90.5172 | -9.4828 | -1.3301 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7238153 | 1987-08-26 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7243145 | 1987-08-31 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7243144 | 1987-08-31 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7091055 | 1987-04-01 | 0.21 | 0.21 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7091059 | 1987-04-01 | 0.21 | 0.21 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7075027 | 1987-03-16 | 0.09 | 0.09 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F10
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7065029 | 1987-03-06 | 0.01 | 0.49 | 2.0408 | -97.9592 | -12.8686 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7065030 | 1987-03-06 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7068006 | 1987-03-09 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7068113 | 1987-03-09 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7076007 | 1987-03-17 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7253070 | 1987-09-10 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7257006 | 1987-09-14 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7254020 | 1987-09-11 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7258010 | 1987-09-15 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7261017 | 1987-09-18 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6287013 | 1986-10-14 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7110007 | 1987-04-20 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7117040 | 1987-04-27 | 0.21 | 0.21 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7201079 | 1987-07-20 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6322033 | 1986-11-18 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6322031 | 1986-11-18 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6322030 | 1986-11-18 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6322032 | 1986-11-18 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6322025 | 1986-11-18 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6330033 | 1986-11-26 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6330030 | 1986-11-26 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6330029 | 1986-11-26 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6330032 | 1986-11-26 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6330031 | 1986-11-26 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7134049 | 1987-05-14 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7152013 | 1987-06-01 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7152014 | 1987-06-01 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7152012 | 1987-06-01 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7153032 | 1987-06-02 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6328074 | 1986-11-24 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7153028 | 1987-06-02 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7134062 | 1987-05-14 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7138182 | 1987-05-18 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6349071 | 1986-12-15 | 0.1 | 0.09 | 111.1111 | 11.1111 | 1.0753 | 0.01 | 0160 |  |  |  | mg/L | F10
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7168040 | 1987-06-17 | 0.09 | 0.09 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F10
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363131 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363130 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363132 | 1986-12-29 | 0.53 | 0.49 | 108.1633 | 8.1633 | 1.0724 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 6363129 | 1986-12-29 | 0.54 | 0.49 | 110.2041 | 10.2041 | 1.3405 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180096 | 1987-06-29 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180093 | 1987-06-29 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180095 | 1987-06-29 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.2681 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7180094 | 1987-06-29 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7131096 | 1987-05-11 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7134063 | 1987-05-14 | 0.01 | 2.32 | 0.43103 | -99.569 | -13.9661 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7142027 | 1987-05-22 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7148027 | 1987-05-28 | 2.3 | 2.32 | 99.1379 | -0.86207 | -0.12092 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7152129 | 1987-06-01 | 2.4 | 2.32 | 103.4483 | 3.4483 | 0.48368 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7149134 | 1987-05-29 | 2.2 | 2.32 | 94.8276 | -5.1724 | -0.72551 | 0.01 | 0160 |  |  |  | mg/L | F3
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7243029 | 1987-08-31 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7212083 | 1987-07-31 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7079021 | 1987-03-20 | 0.09 | 0.09 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F10
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7068049 | 1987-03-09 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7079083 | 1987-03-20 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7092029 | 1987-04-02 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7092027 | 1987-04-02 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7248033 | 1987-09-05 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7253132 | 1987-09-10 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7260072 | 1987-09-17 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7266014 | 1987-09-23 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.53619 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7271004 | 1987-09-28 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.80429 | 0.01 | 0160 |  |  |  | mg/L | F7
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7029064 | 1987-01-29 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7028019 | 1987-01-28 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7030037 | 1987-01-30 | 0.21 | 0.21 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1987 | 7030041 | 1987-01-30 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.56497 | 0.01 | 0160 |  |  |  | mg/L | F9
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7344044 | 1987-12-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7352093 | 1987-12-18 | 0.07 | 0.04 | 175 | 75 | 4 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 80016.0 | 1988-01-08 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 150075. | 1988-01-15 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 220085. | 1988-01-22 | 0.05 | 0.06 | 83.3333 | -16.6667 | -1.3333 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 320019. | 1988-02-01 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 480137. | 1988-02-17 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 390128. | 1988-02-08 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 430050. | 1988-02-12 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 540050. | 1988-02-23 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 540051. | 1988-02-23 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 600145. | 1988-02-29 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 600146. | 1988-02-29 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 670085. | 1988-03-07 | 0.2 | 1.1 | 18.1818 | -81.8182 | -11.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 700004. | 1988-03-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 700006. | 1988-03-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 700005. | 1988-03-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 740144. | 1988-03-14 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 740274. | 1988-03-14 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 770171. | 1988-03-17 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 820047. | 1988-03-22 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 840012. | 1988-03-24 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2540780 | 1988-09-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2540762 | 1988-09-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2590061 | 1988-09-15 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2600031 | 1988-09-16 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2630057 | 1988-09-19 | 0.06 | 0.04 | 150 | 50 | 2.6667 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2650024 | 1988-09-21 | 0.01 | 0.04 | 25 | -75 | -4 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2660144 | 1988-09-22 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 200035. | 1988-01-20 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 330109. | 1988-02-02 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7327025 | 1987-11-23 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7327024 | 1987-11-23 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7327023 | 1987-11-23 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1550067 | 1988-06-03 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1550003 | 1988-06-03 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1550006 | 1988-06-03 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1550004 | 1988-06-03 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1550005 | 1988-06-03 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1550008 | 1988-06-03 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7309001 | 1987-11-05 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 7310003 | 1987-11-06 | 0.05 | 0.06 | 83.3333 | -16.6667 | -1.3333 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 1480027 | 1988-05-27 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 360019. | 1988-02-05 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 430062. | 1988-02-12 | 1.1 | 1.1 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 530049. | 1988-02-22 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 630080. | 1988-03-03 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 840092. | 1988-03-24 | 1.2 | 1.1 | 109.0909 | 9.0909 | 1.25 | 0.01 | 0160 |  |  |  | mg/L | N16
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 670110. | 1988-03-07 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 690027. | 1988-03-09 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 690028. | 1988-03-09 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 710087. | 1988-03-11 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 750090. | 1988-03-15 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 780173. | 1988-03-18 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 830009. | 1988-03-23 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2510308 | 1988-09-07 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2530113 | 1988-09-09 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2540690 | 1988-09-10 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2570135 | 1988-09-13 | 0.04 | 0.04 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2650023 | 1988-09-21 | 0.01 | 0.04 | 25 | -75 | -4 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2660118 | 1988-09-22 | 0.05 | 0.04 | 125 | 25 | 1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 2700061 | 1988-09-26 | 0.03 | 0.04 | 75 | -25 | -1.3333 | 0.01 | 0160 |  |  |  | mg/L | N15
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 110072. | 1988-01-11 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 130053. | 1988-01-13 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1988 | 150092. | 1988-01-15 | 0.06 | 0.06 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N17
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1670284 | 1989-06-16 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1670285 | 1989-06-16 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1670287 | 1989-06-16 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2290149 | 1989-08-17 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2260005 | 1989-08-14 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2360125 | 1989-08-24 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2220056 | 1989-08-10 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2190076 | 1989-08-07 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1950193 | 1989-07-14 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1950064 | 1989-07-14 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2080079 | 1989-07-27 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1300080 | 1989-05-10 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1320033 | 1989-05-12 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1320032 | 1989-05-12 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1380051 | 1989-05-18 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1380050 | 1989-05-18 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1380148 | 1989-05-18 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2400318 | 1989-08-28 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2440016 | 1989-09-01 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2190021 | 1989-08-07 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2370084 | 1989-08-25 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1070006 | 1989-04-17 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1230004 | 1989-05-03 | 0.23 | 0.25 | 92 | -8 | -0.89888 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2630176 | 1989-09-20 | 0.06 | 0.065 | 92.3077 | -7.6923 | -0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2680065 | 1989-09-25 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2690020 | 1989-09-26 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2720023 | 1989-09-29 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2740021 | 1989-10-01 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2510352 | 1989-09-08 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2580053 | 1989-09-15 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2740020 | 1989-10-01 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1070004 | 1989-04-17 | 0.06 | 0.065 | 92.3077 | -7.6923 | -0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1070003 | 1989-04-17 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1230002 | 1989-05-03 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1280019 | 1989-05-08 | 0.08 | 0.065 | 123.0769 | 23.0769 | 1.5814 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1280017 | 1989-05-08 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1280016 | 1989-05-08 | 0.08 | 0.065 | 123.0769 | 23.0769 | 1.5814 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1140059 | 1989-04-24 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1280020 | 1989-05-08 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2050230 | 1989-07-24 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2050233 | 1989-07-24 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2000200 | 1989-07-19 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2050232 | 1989-07-24 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2090154 | 1989-07-28 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1520176 | 1989-06-01 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1520175 | 1989-06-01 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1520173 | 1989-06-01 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1520174 | 1989-06-01 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1350125 | 1989-05-15 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1350124 | 1989-05-15 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1370167 | 1989-05-17 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1390005 | 1989-05-19 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1740173 | 1989-06-23 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1740172 | 1989-06-23 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1650158 | 1989-06-14 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1650157 | 1989-06-14 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1700205 | 1989-06-19 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1350126 | 1989-05-15 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1350128 | 1989-05-15 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1450109 | 1989-05-25 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1500070 | 1989-05-30 | 0.06 | 0.065 | 92.3077 | -7.6923 | -0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1520196 | 1989-06-01 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1530051 | 1989-06-02 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2160072 | 1989-08-04 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2160073 | 1989-08-04 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2220080 | 1989-08-10 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2330052 | 1989-08-21 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2330053 | 1989-08-21 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2510590 | 1989-09-08 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2550043 | 1989-09-12 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2650057 | 1989-09-22 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2710037 | 1989-09-28 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2760004 | 1989-10-03 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2760003 | 1989-10-03 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2050076 | 1989-07-24 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2050120 | 1989-07-24 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2510589 | 1989-09-08 | 0.26 | 0.25 | 104 | 4 | 0.44944 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2550044 | 1989-09-12 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2560135 | 1989-09-13 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2760002 | 1989-10-03 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1880264 | 1989-07-07 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2000031 | 1989-07-19 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2070171 | 1989-07-26 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2090100 | 1989-07-28 | 0.25 | 0.25 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | C19
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 1990040 | 1989-07-18 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2070275 | 1989-07-26 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1989 | 2140214 | 1989-08-02 | 0.07 | 0.065 | 107.6923 | 7.6923 | 0.52715 | 0.01 | 0160 |  |  |  | mg/L | C18
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3410041 | 1989-12-07 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3410044 | 1989-12-07 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3410043 | 1989-12-07 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3520020 | 1989-12-18 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1730093 | 1990-06-22 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1780147 | 1990-06-27 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1580262 | 1990-06-07 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1690031 | 1990-06-18 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1690030 | 1990-06-18 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1780146 | 1990-06-27 | 0.06 | 0.05 | 120 | 20 | 0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3070114 | 1989-11-03 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3070115 | 1989-11-03 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3210095 | 1989-11-17 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3210094 | 1989-11-17 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3210096 | 1989-11-17 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 400066. | 1990-02-09 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 430153. | 1990-02-12 | 0.5 | 0.49 | 102.0408 | 2.0408 | 0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 510077. | 1990-02-20 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 570001. | 1990-02-26 | 0.46 | 0.49 | 93.8776 | -6.1224 | -1.0862 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 570002. | 1990-02-26 | 0.46 | 0.49 | 93.8776 | -6.1224 | -1.0862 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 570069. | 1990-02-26 | 0.46 | 0.49 | 93.8776 | -6.1224 | -1.0862 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2150134 | 1990-08-03 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2350169 | 1990-08-23 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.72411 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 510142. | 1990-02-20 | 0.07 | 0.05 | 140 | 40 | 1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 540049. | 1990-02-23 | 0.07 | 0.05 | 140 | 40 | 1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 570071. | 1990-02-26 | 0.07 | 0.05 | 140 | 40 | 1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 570070. | 1990-02-26 | 0.07 | 0.05 | 140 | 40 | 1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2250188 | 1990-08-13 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2360153 | 1990-08-24 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2420147 | 1990-08-30 | 0.02 | 0.05 | 40 | -60 | -2.7523 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2420176 | 1990-08-30 | 0.02 | 0.05 | 40 | -60 | -2.7523 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 640062. | 1990-03-05 | 0.54 | 0.49 | 110.2041 | 10.2041 | 1.8103 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 870131. | 1990-03-28 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 870129. | 1990-03-28 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 870128. | 1990-03-28 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 870127. | 1990-03-28 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 870130. | 1990-03-28 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 960167. | 1990-04-06 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1010181 | 1990-04-11 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1200136 | 1990-04-30 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2780015 | 1989-10-05 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2860031 | 1989-10-13 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2840037 | 1989-10-11 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2890227 | 1989-10-16 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 950054. | 1990-04-05 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1080030 | 1990-04-18 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1140025 | 1990-04-24 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2850122 | 1989-10-12 | 0.05 | 0.2 | 25 | -75 | -9.0361 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2850072 | 1989-10-12 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2960053 | 1989-10-23 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2960052 | 1989-10-23 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3210033 | 1989-11-17 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1160082 | 1990-04-26 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1030282 | 1990-04-13 | 0.07 | 0.05 | 140 | 40 | 1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1160083 | 1990-04-26 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1230029 | 1990-05-03 | 0.06 | 0.05 | 120 | 20 | 0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 190023. | 1990-01-19 | 0.09 | 0.05 | 180 | 80 | 3.6697 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 330058. | 1990-02-02 | 0.01 | 0.05 | 20 | -80 | -3.6697 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 330059. | 1990-02-02 | 0.07 | 0.05 | 140 | 40 | 1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1940140 | 1990-07-13 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2210318 | 1990-08-09 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2210317 | 1990-08-09 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 220211. | 1990-01-22 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1940139 | 1990-07-13 | 0.19 | 0.2 | 95 | -5 | -0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1370138 | 1990-05-17 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1420009 | 1990-05-22 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1450082 | 1990-05-25 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1500022 | 1990-05-30 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1520055 | 1990-06-01 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3100161 | 1989-11-06 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3200039 | 1989-11-16 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3240044 | 1989-11-20 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3260073 | 1989-11-22 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3310019 | 1989-11-27 | 0.15 | 0.2 | 75 | -25 | -3.012 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3330012 | 1989-11-29 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 3340078 | 1989-11-30 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1240104 | 1990-05-04 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1270058 | 1990-05-07 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1290037 | 1990-05-09 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1340070 | 1990-05-14 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1370170 | 1990-05-17 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1450114 | 1990-05-25 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1520014 | 1990-06-01 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 510160. | 1990-02-20 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 590118. | 1990-02-28 | 0.23 | 0.2 | 115 | 15 | 1.8072 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 590117. | 1990-02-28 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2290090 | 1990-08-17 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2360271 | 1990-08-24 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2470365 | 1990-09-04 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 720167. | 1990-03-13 | 0.19 | 0.2 | 95 | -5 | -0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 720216. | 1990-03-13 | 0.19 | 0.2 | 95 | -5 | -0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 820051. | 1990-03-23 | 0.19 | 0.2 | 95 | -5 | -0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2710155 | 1990-09-28 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 820045. | 1990-03-23 | 0.06 | 0.05 | 120 | 20 | 0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 880283. | 1990-03-29 | 0.06 | 0.05 | 120 | 20 | 0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 890198. | 1990-03-30 | 0.06 | 0.05 | 120 | 20 | 0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2630003 | 1990-09-20 | 0.03 | 0.05 | 60 | -40 | -1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2640037 | 1990-09-21 | 0.03 | 0.05 | 60 | -40 | -1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2680003 | 1990-09-25 | 0.03 | 0.05 | 60 | -40 | -1.8349 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 100035. | 1990-01-10 | 0.1 | 0.05 | 200 | 100 | 4.5872 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 110015. | 1990-01-11 | 0.1 | 0.05 | 200 | 100 | 4.5872 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 180034. | 1990-01-18 | 0.1 | 0.05 | 200 | 100 | 4.5872 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1940130 | 1990-07-13 | 0.05 | 0.05 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1980027 | 1990-07-17 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2080098 | 1990-07-27 | 0.04 | 0.05 | 80 | -20 | -0.91743 | 0.01 | 0160 |  |  |  | mg/L | N26
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 160070. | 1990-01-16 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 290066. | 1990-01-29 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 320067. | 1990-02-01 | 0.22 | 0.2 | 110 | 99999999999999840 | 1.2048 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1870029 | 1990-07-06 | 0.19 | 0.2 | 95 | -5 | -0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 1940262 | 1990-07-13 | 0.2 | 0.2 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2140101 | 1990-08-02 | 0.21 | 0.2 | 105 | 5 | 0.60241 | 0.01 | 0160 |  |  |  | mg/L | N23
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2190029 | 1990-08-07 | 0.5 | 0.49 | 102.0408 | 2.0408 | 0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2000293 | 1990-07-19 | 0.5 | 0.49 | 102.0408 | 2.0408 | 0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2070152 | 1990-07-26 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.36206 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1990 | 2120079 | 1990-07-31 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 0160 |  |  |  | mg/L | N27
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 280193. | 1991-01-28 | 0.05 | 0.216 | 23.1481 | -76.8519 | -16.2618 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 320074. | 1991-02-01 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 940031. | 1991-04-04 | 0.03 | 0.216 | 13.8889 | -86.1111 | -18.221 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 980088. | 1991-04-08 | 0.05 | 0.216 | 23.1481 | -76.8519 | -16.2618 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1010159 | 1991-04-11 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 420045. | 1991-02-11 | 0.08 | 0.216 | 37.037 | -62.963 | -13.3229 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 420256. | 1991-02-11 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 500053. | 1991-02-19 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 420046. | 1991-02-11 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 370237. | 1991-02-06 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 510128. | 1991-02-20 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 530003. | 1991-02-22 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 580065. | 1991-02-27 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 630029. | 1991-03-04 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 360010. | 1991-02-05 | 0.05 | 0.216 | 23.1481 | -76.8519 | -16.2618 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 370236. | 1991-02-06 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 460024. | 1991-02-15 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 440006. | 1991-02-13 | 0.08 | 0.216 | 37.037 | -62.963 | -13.3229 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 510130. | 1991-02-20 | 0.05 | 0.216 | 23.1481 | -76.8519 | -16.2618 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 560118. | 1991-02-25 | 0.09 | 0.216 | 41.6667 | -58.3333 | -12.3433 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 530004. | 1991-02-22 | 0.08 | 0.216 | 37.037 | -62.963 | -13.3229 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 600004. | 1991-03-01 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1010160 | 1991-04-11 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1090098 | 1991-04-19 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1130039 | 1991-04-23 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1140082 | 1991-04-24 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 940001. | 1991-04-04 | 0.04 | 0.216 | 18.5185 | -81.4815 | -17.2414 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1000119 | 1991-04-10 | 0.05 | 0.216 | 23.1481 | -76.8519 | -16.2618 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1020144 | 1991-04-12 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1090101 | 1991-04-19 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1090100 | 1991-04-19 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1120180 | 1991-04-22 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1140081 | 1991-04-24 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1160129 | 1991-04-26 | 0.02 | 0.216 | 9.2593 | -90.7407 | -19.2006 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 660025. | 1991-03-07 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 700006. | 1991-03-11 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 720060. | 1991-03-13 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 790036. | 1991-03-20 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 860014. | 1991-03-27 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 630099. | 1991-03-04 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 730097. | 1991-03-14 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 780063. | 1991-03-19 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 840060. | 1991-03-25 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 860013. | 1991-03-27 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 870026. | 1991-03-28 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 650088. | 1991-03-06 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 700007. | 1991-03-11 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 700005. | 1991-03-11 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 720061. | 1991-03-13 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 730098. | 1991-03-14 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 770050. | 1991-03-18 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 780064. | 1991-03-19 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 840061. | 1991-03-25 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 860015. | 1991-03-27 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 650087. | 1991-03-06 | 0.07 | 0.216 | 32.4074 | -67.5926 | -14.3025 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 660026. | 1991-03-07 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 720062. | 1991-03-13 | 0.06 | 0.216 | 27.7778 | -72.2222 | -15.2821 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 860016. | 1991-03-27 | 0.05 | 0.216 | 23.1481 | -76.8519 | -16.2618 | 0.01 | 0160 |  |  |  | mg/L | N29
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 910301. | 1991-04-01 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 360011. | 1991-02-05 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 370238. | 1991-02-06 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 420257. | 1991-02-11 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 440007. | 1991-02-13 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 580064. | 1991-02-27 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 630030. | 1991-03-04 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 940002. | 1991-04-04 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 980089. | 1991-04-08 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1050221 | 1991-04-15 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1090099 | 1991-04-19 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1120179 | 1991-04-22 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28
Nitrite (NO2 as N), FIL, COL | 00613 | CL040 | FIL | 1991 | 1160130 | 1991-04-26 | 0.01 | 0.019 | 52.6316 | -47.3684 | -1.2 | 0.01 | 0160 |  |  |  | mg/L | N28