## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 650034. | 1992-03-05 | 0.101 | 0.092 | 109.7826 | 9.7826 | 1.0451 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 660103. | 1992-03-06 | 0.102 | 0.092 | 110.8696 | 10.8696 | 1.1612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2460337 | 1992-09-02 | 0.195 | 0.203 | 96.0591 | -3.9409 | -0.52005 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2520002 | 1992-09-08 | 0.2 | 0.203 | 98.5222 | -1.4778 | -0.19502 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2040005 | 1992-07-22 | 0.201 | 0.203 | 99.0148 | -0.98522 | -0.13001 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2110225 | 1992-07-29 | 0.199 | 0.203 | 98.0296 | -1.9704 | -0.26003 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 1330042 | 1992-05-12 | 0.201 | 0.203 | 99.0148 | -0.98522 | -0.13001 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 1410037 | 1992-05-20 | 0.201 | 0.203 | 99.0148 | -0.98522 | -0.13001 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 1470255 | 1992-05-26 | 0.192 | 0.203 | 94.5813 | -5.4187 | -0.71508 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 1530074 | 1992-06-01 | 0.204 | 0.203 | 100.4926 | 0.49261 | 0.065007 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2810031 | 1991-10-08 | 0.37 | 0.26 | 142.3077 | 42.3077 | 5.8324 | 0.001 | 0828 |  |  |  | mg/L | N30
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2940023 | 1991-10-21 | 0.249 | 0.26 | 95.7692 | -4.2308 | -0.58324 | 0.001 | 0828 |  |  |  | mg/L | N30
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2950113 | 1991-10-22 | 0.35 | 0.26 | 134.6154 | 34.6154 | 4.772 | 0.001 | 0828 |  |  |  | mg/L | N30
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 3030003 | 1991-10-30 | 0.272 | 0.26 | 104.6154 | 4.6154 | 0.63627 | 0.001 | 0828 |  |  |  | mg/L | N30
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 980004. | 1992-04-07 | 0.093 | 0.092 | 101.087 | 1.087 | 0.11612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 1000090 | 1992-04-09 | 0.096 | 0.092 | 104.3478 | 4.3478 | 0.46447 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2320071 | 1992-08-19 | 0.207 | 0.203 | 101.9704 | 1.9704 | 0.26003 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 2400148 | 1992-08-27 | 0.206 | 0.203 | 101.4778 | 1.4778 | 0.19502 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 370015. | 1992-02-06 | 0.09 | 0.092 | 97.8261 | -2.1739 | -0.23223 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 430012. | 1992-02-12 | 0.092 | 0.092 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 490014. | 1992-02-18 | 0.001 | 0.092 | 1.087 | -98.913 | -10.5667 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 520074. | 1992-02-21 | 0.092 | 0.092 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 80039.0 | 1992-01-08 | 0.094 | 0.092 | 102.1739 | 2.1739 | 0.23223 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 140083. | 1992-01-14 | 0.091 | 0.092 | 98.913 | -1.087 | -0.11612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 160108. | 1992-01-16 | 0.091 | 0.092 | 98.913 | -1.087 | -0.11612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 0290144 | 1992-01-29 | 0.089 | 0.092 | 96.7391 | -3.2609 | -0.34835 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 3390002 | 1991-12-05 | 0.093 | 0.092 | 101.087 | 1.087 | 0.11612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 3470008 | 1991-12-13 | 0.092 | 0.092 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 3530146 | 1991-12-19 | 0.091 | 0.092 | 98.913 | -1.087 | -0.11612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1992 | 3610005 | 1991-12-27 | 0.091 | 0.092 | 98.913 | -1.087 | -0.11612 | 0.001 | 0828 |  |  |  | mg/L | N32
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 740090. | 1993-03-15 | 0.211 | 0.203 | 103.9409 | 3.9409 | 0.5808 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 850002. | 1993-03-26 | 0.203 | 0.203 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2530547 | 1993-09-10 | 0.21 | 0.21 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2670124 | 1993-09-24 | 0.213 | 0.21 | 101.4286 | 1.4286 | 0.21157 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1130328 | 1993-04-23 | 0.215 | 0.21 | 102.381 | 2.381 | 0.35261 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1190064 | 1993-04-29 | 0.206 | 0.21 | 98.0952 | -1.9048 | -0.28209 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2070505 | 1993-07-26 | 0.2 | 0.21 | 95.2381 | -4.7619 | -0.70522 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2100237 | 1993-07-29 | 0.206 | 0.21 | 98.0952 | -1.9048 | -0.28209 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3080053 | 1992-11-03 | 0.19 | 0.203 | 93.5961 | -6.4039 | -0.94381 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3230089 | 1992-11-18 | 0.18 | 0.203 | 88.67 | -11.33 | -1.6698 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1260151 | 1993-05-06 | 0.205 | 0.21 | 97.619 | -2.381 | -0.35261 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1400157 | 1993-05-20 | 0.193 | 0.21 | 91.9048 | -8.0952 | -1.1989 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1440306 | 1993-05-24 | 0.21 | 0.21 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1460288 | 1993-05-26 | 0.212 | 0.21 | 100.9524 | 0.95238 | 0.14104 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2870236 | 1992-10-13 | 0.207 | 0.203 | 101.9704 | 1.9704 | 0.2904 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3030005 | 1992-10-29 | 0.208 | 0.203 | 102.4631 | 2.4631 | 0.363 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 990089. | 1993-04-09 | 0.212 | 0.21 | 100.9524 | 0.95238 | 0.14104 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1090312 | 1993-04-19 | 0.12 | 0.21 | 57.1429 | -42.8571 | -6.347 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2290490 | 1993-08-17 | 0.206 | 0.21 | 98.0952 | -1.9048 | -0.28209 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2450535 | 1993-09-02 | 0.213 | 0.21 | 101.4286 | 1.4286 | 0.21157 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2380125 | 1993-08-26 | 0.206 | 0.21 | 98.0952 | -1.9048 | -0.28209 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2420440 | 1993-08-30 | 0.218 | 0.21 | 103.8095 | 3.8095 | 0.56417 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 430143. | 1993-02-12 | 0.205 | 0.203 | 100.9852 | 0.98522 | 0.1452 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 550009. | 1993-02-24 | 0.208 | 0.203 | 102.4631 | 2.4631 | 0.363 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 430144. | 1993-02-12 | 0.206 | 0.203 | 101.4778 | 1.4778 | 0.2178 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 570037. | 1993-02-26 | 0.202 | 0.203 | 99.5074 | -0.49261 | -0.072601 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 210014. | 1993-01-21 | 0.206 | 0.203 | 101.4778 | 1.4778 | 0.2178 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 280163. | 1993-01-28 | 0.203 | 0.203 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1650267 | 1993-06-14 | 0.197 | 0.21 | 93.8095 | -6.1905 | -0.91678 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1730184 | 1993-06-22 | 0.219 | 0.21 | 104.2857 | 4.2857 | 0.6347 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1620032 | 1993-06-11 | 0.207 | 0.21 | 98.5714 | -1.4286 | -0.21157 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1750297 | 1993-06-24 | 0.208 | 0.21 | 99.0476 | -0.95238 | -0.14104 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 60104.0 | 1993-01-06 | 0.195 | 0.203 | 96.0591 | -3.9409 | -0.5808 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 210156. | 1993-01-21 | 0.207 | 0.203 | 101.9704 | 1.9704 | 0.2904 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 1890018 | 1993-07-08 | 0.221 | 0.21 | 105.2381 | 5.2381 | 0.77574 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2030022 | 1993-07-22 | 0.205 | 0.21 | 97.619 | -2.381 | -0.35261 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2660044 | 1993-09-23 | 0.211 | 0.21 | 100.4762 | 0.47619 | 0.070522 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 2730215 | 1993-09-30 | 0.212 | 0.21 | 100.9524 | 0.95238 | 0.14104 | 0.001 | 0828 |  |  |  | mg/L | N36
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 820064. | 1993-03-23 | 0.204 | 0.203 | 100.4926 | 0.49261 | 0.072601 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 890006. | 1993-03-30 | 0.204 | 0.203 | 100.4926 | 0.49261 | 0.072601 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3370195 | 1992-12-02 | 0.257 | 0.203 | 126.601 | 26.601 | 3.9204 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3460001 | 1992-12-11 | 0.199 | 0.203 | 98.0296 | -1.9704 | -0.2904 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3510175 | 1992-12-16 | 0.219 | 0.203 | 107.8818 | 7.8818 | 1.1616 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1993 | 3560380 | 1992-12-21 | 0.203 | 0.203 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N34
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 660167. | 1994-03-07 | 0.09 | 0.091 | 98.9011 | -1.0989 | -0.1208 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 680084. | 1994-03-09 | 0.084 | 0.091 | 92.3077 | -7.6923 | -0.84561 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 750027. | 1994-03-16 | 0.082 | 0.091 | 90.1099 | -9.8901 | -1.0872 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2510093 | 1994-09-08 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2521093 | 1994-09-09 | 0.057 | 0.054 | 105.5556 | 5.5556 | 0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2620038 | 1994-09-19 | 0.055 | 0.054 | 101.8519 | 1.8519 | 0.16308 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1090198 | 1994-04-19 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1110128 | 1994-04-21 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1160102 | 1994-04-26 | 0.054 | 0.054 | 100 | 0 | 0 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2940056 | 1993-10-21 | 0.089 | 0.091 | 97.8022 | -2.1978 | -0.2416 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2980043 | 1993-10-25 | 0.078 | 0.091 | 85.7143 | -14.2857 | -1.5704 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3010163 | 1993-10-28 | 0.083 | 0.091 | 91.2088 | -8.7912 | -0.96642 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1870097 | 1994-07-06 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1880037 | 1994-07-07 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1930256 | 1994-07-12 | 0.058 | 0.054 | 107.4074 | 7.4074 | 0.65232 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3120092 | 1993-11-08 | 0.086 | 0.091 | 94.5055 | -5.4945 | -0.60401 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3160107 | 1993-11-12 | 0.081 | 0.091 | 89.011 | -10.989 | -1.208 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3280081 | 1993-11-24 | 0.086 | 0.091 | 94.5055 | -5.4945 | -0.60401 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3340022 | 1993-11-30 | 0.087 | 0.091 | 95.6044 | -4.3956 | -0.48321 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3350031 | 1993-12-01 | 0.086 | 0.091 | 94.5055 | -5.4945 | -0.60401 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3360076 | 1993-12-02 | 0.085 | 0.091 | 93.4066 | -6.5934 | -0.72481 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1250178 | 1994-05-05 | 0.057 | 0.054 | 105.5556 | 5.5556 | 0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1300056 | 1994-05-10 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1440132 | 1994-05-24 | 0.052 | 0.054 | 96.2963 | -3.7037 | -0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1360057 | 1994-05-16 | 0.051 | 0.054 | 94.4444 | -5.5556 | -0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1380090 | 1994-05-18 | 0.057 | 0.054 | 105.5556 | 5.5556 | 0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1440105 | 1994-05-24 | 0.053 | 0.054 | 98.1481 | -1.8519 | -0.16308 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2780054 | 1993-10-05 | 0.085 | 0.091 | 93.4066 | -6.5934 | -0.72481 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2810127 | 1993-10-08 | 0.085 | 0.091 | 93.4066 | -6.5934 | -0.72481 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2930173 | 1993-10-20 | 0.092 | 0.091 | 101.0989 | 1.0989 | 0.1208 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1010143 | 1994-04-11 | 0.062 | 0.054 | 114.8148 | 14.8148 | 1.3046 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1030160 | 1994-04-13 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1040061 | 1994-04-14 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2160304 | 1994-08-04 | 0.057 | 0.054 | 105.5556 | 5.5556 | 0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2230066 | 1994-08-11 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2290060 | 1994-08-17 | 0.051 | 0.054 | 94.4444 | -5.5556 | -0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2340147 | 1994-08-22 | 0.061 | 0.054 | 112.963 | 12.963 | 1.1416 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2380302 | 1994-08-26 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2420220 | 1994-08-30 | 0.057 | 0.054 | 105.5556 | 5.5556 | 0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 590062. | 1994-02-28 | 0.556 | 0.091 | 610.989 | 510.989 | 56.173 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 620035. | 1994-03-03 | 0.087 | 0.091 | 95.6044 | -4.3956 | -0.48321 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 350111. | 1994-02-04 | 0.087 | 0.091 | 95.6044 | -4.3956 | -0.48321 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 410003. | 1994-02-10 | 0.088 | 0.091 | 96.7033 | -3.2967 | -0.36241 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 530043. | 1994-02-22 | 0.087 | 0.091 | 95.6044 | -4.3956 | -0.48321 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 130139. | 1994-01-13 | 0.081 | 0.091 | 89.011 | -10.989 | -1.208 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 240080. | 1994-01-24 | 0.085 | 0.091 | 93.4066 | -6.5934 | -0.72481 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 270079. | 1994-01-27 | 0.085 | 0.091 | 93.4066 | -6.5934 | -0.72481 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1540203 | 1994-06-03 | 0.058 | 0.054 | 107.4074 | 7.4074 | 0.65232 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1600115 | 1994-06-09 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1660124 | 1994-06-15 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1710110 | 1994-06-20 | 0.055 | 0.054 | 101.8519 | 1.8519 | 0.16308 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1730352 | 1994-06-22 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 1790016 | 1994-06-28 | 0.055 | 0.054 | 101.8519 | 1.8519 | 0.16308 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 140079. | 1994-01-14 | 0.086 | 0.091 | 94.5055 | -5.4945 | -0.60401 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 270106. | 1994-01-27 | 0.086 | 0.091 | 94.5055 | -5.4945 | -0.60401 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 310006. | 1994-01-31 | 0.108 | 0.091 | 118.6813 | 18.6813 | 2.0536 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2000167 | 1994-07-19 | 0.051 | 0.054 | 94.4444 | -5.5556 | -0.48924 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2060246 | 1994-07-25 | 0.055 | 0.054 | 101.8519 | 1.8519 | 0.16308 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2100195 | 1994-07-29 | 0.058 | 0.054 | 107.4074 | 7.4074 | 0.65232 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2570084 | 1994-09-14 | 0.055 | 0.054 | 101.8519 | 1.8519 | 0.16308 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2690191 | 1994-09-26 | 0.052 | 0.054 | 96.2963 | -3.7037 | -0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 2710041 | 1994-09-28 | 0.056 | 0.054 | 103.7037 | 3.7037 | 0.32616 | 0.001 | 0828 |  |  |  | mg/L | N40
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 820005. | 1994-03-23 | 0.084 | 0.091 | 92.3077 | -7.6923 | -0.84561 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 900062. | 1994-03-31 | 0.085 | 0.091 | 93.4066 | -6.5934 | -0.72481 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3430037 | 1993-12-09 | 0.079 | 0.091 | 86.8132 | -13.1868 | -1.4496 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3480003 | 1993-12-14 | 0.081 | 0.091 | 89.011 | -10.989 | -1.208 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3620026 | 1993-12-28 | 0.08 | 0.091 | 87.9121 | -12.0879 | -1.3288 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3540163 | 1993-12-20 | 0.076 | 0.091 | 83.5165 | -16.4835 | -1.812 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 3560026 | 1993-12-22 | 0.074 | 0.091 | 81.3187 | -18.6813 | -2.0536 | 0.001 | 0828 |  |  |  | mg/L | N38
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | 1994 | 30004.0 | 1994-01-03 | 0.078 | 0.091 | 85.7143 | -14.2857 | -1.5704 | 0.001 | 0828 |  |  |  | mg/L | N38