## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 1830026 | 1999-07-02 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.006 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 1880009 | 1999-07-07 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 1930037 | 1999-07-12 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 1950023 | 1999-07-14 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 0060043 | 1999-01-06 | 0.0897 | 0.412 | 21.7718 | -78.2282 | -14.2258 | 0.0044 | 2331 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2210145 | 1999-08-09 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2220093 | 1999-08-10 | 0.041 | 0.04 | 102.5 | 2.5 | 0.11737 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2240298 | 1999-08-12 | 0.042 | 0.04 | 105 | 5 | 0.23474 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2300019 | 1999-08-18 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2460058 | 1999-09-03 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2510022 | 1999-09-08 | 0.041 | 0.04 | 102.5 | 2.5 | 0.11737 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2530170 | 1999-09-10 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2580032 | 1999-09-15 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2600087 | 1999-09-17 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2650021 | 1999-09-22 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2700032 | 1999-09-27 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 1970050 | 1999-07-16 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2080109 | 1999-07-27 | 0.043 | 0.04 | 107.5 | 7.5 | 0.35211 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2090074 | 1999-07-28 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2320065 | 1999-08-20 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2370010 | 1999-08-25 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 1999 | 2390010 | 1999-08-27 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0980008 | 2000-04-07 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1040016 | 2000-04-13 | 0.119 | 0.119 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1050024 | 2000-04-14 | 0.145 | 0.119 | 121.8487 | 21.8487 | 2.471 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2790061 | 1999-10-06 | 0.162 | 0.158 | 102.5316 | 2.5316 | 0.33322 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2810013 | 1999-10-08 | 0.164 | 0.158 | 103.7975 | 3.7975 | 0.49983 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2880020 | 1999-10-15 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1890029 | 2000-07-07 | 0.126 | 0.119 | 105.8824 | 5.8824 | 0.66527 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1940001 | 2000-07-12 | 0.126 | 0.119 | 105.8824 | 5.8824 | 0.66527 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1960026 | 2000-07-14 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0070101 | 2000-01-07 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0120042 | 2000-01-12 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0140014 | 2000-01-14 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3120236 | 1999-11-08 | 0.163 | 0.158 | 103.1646 | 3.1646 | 0.41653 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3140005 | 1999-11-10 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3230004 | 1999-11-19 | 0.163 | 0.158 | 103.1646 | 3.1646 | 0.41653 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1260001 | 2000-05-05 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1310008 | 2000-05-10 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1330053 | 2000-05-12 | 0.127 | 0.119 | 106.7227 | 6.7227 | 0.76031 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1400059 | 2000-05-19 | 0.121 | 0.119 | 101.6807 | 1.6807 | 0.19008 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1460093 | 2000-05-25 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1470027 | 2000-05-26 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1570176 | 2000-06-05 | 0.126 | 0.119 | 105.8824 | 5.8824 | 0.66527 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1590024 | 2000-06-07 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1610249 | 2000-06-09 | 0.126 | 0.119 | 105.8824 | 5.8824 | 0.66527 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3370029 | 1999-12-03 | 0.162 | 0.158 | 102.5316 | 2.5316 | 0.33322 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3420028 | 1999-12-08 | 0.162 | 0.158 | 102.5316 | 2.5316 | 0.33322 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3440183 | 1999-12-10 | 0.161 | 0.158 | 101.8987 | 1.8987 | 0.24992 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3280009 | 1999-11-24 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3340015 | 1999-11-30 | 0.161 | 0.158 | 101.8987 | 1.8987 | 0.24992 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3350023 | 1999-12-01 | 0.16 | 0.158 | 101.2658 | 1.2658 | 0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1120197 | 2000-04-21 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1180021 | 2000-04-27 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1190022 | 2000-04-28 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2930007 | 1999-10-20 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2950001 | 1999-10-22 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3000008 | 1999-10-27 | 0.16 | 0.158 | 101.2658 | 1.2658 | 0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0350158 | 2000-02-04 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0400083 | 2000-02-09 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0420197 | 2000-02-11 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0630085 | 2000-03-03 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0680001 | 2000-03-08 | 0.155 | 0.158 | 98.1013 | -1.8987 | -0.24992 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0700002 | 2000-03-10 | 0.155 | 0.158 | 98.1013 | -1.8987 | -0.24992 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0770031 | 2000-03-17 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0820021 | 2000-03-22 | 0.162 | 0.158 | 102.5316 | 2.5316 | 0.33322 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0840036 | 2000-03-24 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2500001 | 2000-09-06 | 0.121 | 0.119 | 101.6807 | 1.6807 | 0.19008 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2520005 | 2000-09-08 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2590086 | 2000-09-15 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2640054 | 2000-09-20 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2660007 | 2000-09-22 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2730016 | 2000-09-29 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0210033 | 2000-01-21 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0260020 | 2000-01-26 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0280013 | 2000-01-28 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2030087 | 2000-07-21 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2080022 | 2000-07-26 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 2100030 | 2000-07-28 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1710133 | 2000-06-19 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1730019 | 2000-06-21 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 1750025 | 2000-06-23 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0044 | 2331 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3510023 | 1999-12-17 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3560008 | 1999-12-22 | 0.152 | 0.158 | 96.2025 | -3.7975 | -0.49983 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 3620010 | 1999-12-28 | 0.16 | 0.158 | 101.2658 | 1.2658 | 0.16661 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0490032 | 2000-02-18 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0550144 | 2000-02-24 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2000 | 0560184 | 2000-02-25 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1870006 | 2001-07-06 | 0.0864 | 0.086 | 100.4651 | 0.46512 | 0.043563 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1920005 | 2001-07-11 | 0.0846 | 0.086 | 98.3721 | -1.6279 | -0.15247 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1940048 | 2001-07-13 | 0.0848 | 0.086 | 98.6047 | -1.3953 | -0.13069 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2040151 | 2001-07-23 | 0.0861 | 0.086 | 100.1163 | 0.11628 | 0.010891 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2080023 | 2001-07-27 | 0.0844 | 0.086 | 98.1395 | -1.8605 | -0.17425 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 3220340 | 2000-11-17 | 0.232 | 0.279 | 83.1541 | -16.8459 | -2.8794 | 0.0044 | 2331 |  |  |  | mg/L | N67
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1220112 | 2001-05-02 | 0.084 | 0.086 | 97.6744 | -2.3256 | -0.21782 | 0.0044 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1290014 | 2001-05-09 | 0.086 | 0.086 | 100 | 0 | 0 | 0.0044 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1350096 | 2001-05-15 | 0.088 | 0.086 | 102.3256 | 2.3256 | 0.21782 | 0.0044 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1380050 | 2001-05-18 | 0.088 | 0.086 | 102.3256 | 2.3256 | 0.21782 | 0.0044 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2180184 | 2001-08-06 | 0.0856 | 0.086 | 99.5349 | -0.46512 | -0.043563 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2200002 | 2001-08-08 | 0.0834 | 0.086 | 96.9767 | -3.0233 | -0.28316 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2220105 | 2001-08-10 | 0.0854 | 0.086 | 99.3023 | -0.69767 | -0.065345 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2290032 | 2001-08-17 | 0.0832 | 0.086 | 96.7442 | -3.2558 | -0.30494 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2340148 | 2001-08-22 | 0.0856 | 0.086 | 99.5349 | -0.46512 | -0.043563 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2480064 | 2001-09-05 | 0.0854 | 0.086 | 99.3023 | -0.69767 | -0.065345 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2480228 | 2001-09-05 | 0.0854 | 0.086 | 99.3023 | -0.69767 | -0.065345 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2570020 | 2001-09-14 | 0.087 | 0.086 | 101.1628 | 1.1628 | 0.10891 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2610001 | 2001-09-18 | 0.0869 | 0.086 | 101.0465 | 1.0465 | 0.098018 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 2670118 | 2001-09-24 | 0.087 | 0.086 | 101.1628 | 1.1628 | 0.10891 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1570035 | 2001-06-06 | 0.0877 | 0.086 | 101.9767 | 1.9767 | 0.18514 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1580092 | 2001-06-07 | 0.087 | 0.086 | 101.1628 | 1.1628 | 0.10891 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1710183 | 2001-06-20 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.10891 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1730098 | 2001-06-22 | 0.0851 | 0.086 | 98.9535 | -1.0465 | -0.098018 | 0.006 | 2331 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | 2001 | 1800074 | 2001-06-29 | 0.0828 | 0.086 | 96.2791 | -3.7209 | -0.34851 | 0.006 | 2331 |  |  |  | mg/L | N69