## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 1700026 | 1996-06-18 | 0.78 | 0.794 | 98.2368 | -1.7632 | -0.33525 | 0.05 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 2640067 | 1996-09-20 | 0.78 | 0.794 | 98.2368 | -1.7632 | -0.33525 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 2500151 | 1996-09-06 | 0.76 | 0.794 | 95.7179 | -4.2821 | -0.81418 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 1230032 | 1996-05-02 | 0.75 | 0.794 | 94.4584 | -5.5416 | -1.0536 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 2190083 | 1996-08-06 | 0.2 | 0.794 | 25.1889 | -74.8111 | -14.2241 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 1380171 | 1996-05-17 | 0.75 | 0.794 | 94.4584 | -5.5416 | -1.0536 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 1520209 | 1996-05-31 | 0.81 | 0.794 | 102.0151 | 2.0151 | 0.38314 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 0640074 | 1996-03-04 | 1.3 | 1.23 | 105.6911 | 5.6911 | 1.1824 | 0.01 | 1992 |  |  |  | mg/L | N46
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 0510173 | 1996-02-20 | 1.2 | 1.23 | 97.561 | -2.439 | -0.50675 | 0.01 | 1992 |  |  |  | mg/L | N46
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 2780023 | 1996-10-04 | 0.82 | 0.794 | 103.2746 | 3.2746 | 0.62261 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 0890146 | 1996-03-29 | 1.2 | 1.23 | 97.561 | -2.439 | -0.50675 | 0.01 | 1992 |  |  |  | mg/L | N46
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 1090042 | 1996-04-18 | 0.79 | 0.794 | 99.4962 | -0.50377 | -0.095785 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 0750107 | 1996-03-15 | 1.2 | 1.23 | 97.561 | -2.439 | -0.50675 | 0.01 | 1992 |  |  |  | mg/L | N46
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 2340091 | 1996-08-21 | 0.76 | 0.794 | 95.7179 | -4.2821 | -0.81418 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 1850042 | 1996-07-03 | 0.77 | 0.794 | 96.9773 | -3.0227 | -0.57471 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1996 | 2040106 | 1996-07-22 | 0.74 | 0.794 | 93.199 | -6.801 | -1.2931 | 0.01 | 1992 |  |  |  | mg/L | N48
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1997 | 0520152 | 1997-02-21 | 0.14 | 0.167 | 83.8323 | -16.1677 | -1.7981 | 0.01 | 1992 |  |  |  | mg/L | N49
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1997 | 0420050 | 1997-02-11 | 0.13 | 0.167 | 77.8443 | -22.1557 | -2.464 | 0.01 | 1992 |  |  |  | mg/L | N49
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1997 | 2890080 | 1996-10-15 | 0.18 | 0.167 | 107.7844 | 7.7844 | 0.86574 | 0.01 | 1992 |  |  |  | mg/L | N49
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1997 | 3590059 | 1996-12-24 | 0.14 | 0.167 | 83.8323 | -16.1677 | -1.7981 | 0.01 | 1992 |  |  |  | mg/L | N49
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1997 | 3060254 | 1996-11-01 | 0.13 | 0.167 | 77.8443 | -22.1557 | -2.464 | 0.01 | 1992 |  |  |  | mg/L | N49
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1997 | 3410063 | 1996-12-06 | 0.18 | 0.167 | 107.7844 | 7.7844 | 0.86574 | 0.01 | 1992 |  |  |  | mg/L | N49
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1690150 | 1998-06-18 | 0.01 | 0.201 | 4.9751 | -95.0249 | -5.0933 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2320306 | 1998-08-20 | 0.184 | 0.201 | 91.5423 | -8.4577 | -0.45333 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0080098 | 1998-01-08 | 0.733 | 0.714 | 102.6611 | 2.6611 | 0.50667 | 0.05 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1870157 | 1998-07-06 | 0.818 | 0.766 | 106.7885 | 6.7885 | 1.3867 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0500028 | 1998-02-19 | 0.604 | 0.601 | 100.4992 | 0.49917 | 0.08 | 0.05 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0430095 | 1998-02-12 | 0.613 | 0.601 | 101.9967 | 1.9967 | 0.32 | 0.05 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2260068 | 1998-08-14 | 0.193 | 0.201 | 96.0199 | -3.9801 | -0.21333 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0640056 | 1998-03-05 | 0.753 | 0.714 | 105.4622 | 5.4622 | 1.04 | 0.05 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0710072 | 1998-03-12 | 0.737 | 0.714 | 103.2213 | 3.2213 | 0.61333 | 0.05 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2460016 | 1998-09-03 | 0.818 | 0.766 | 106.7885 | 6.7885 | 1.3867 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2530111 | 1998-09-10 | 0.768 | 0.766 | 100.2611 | 0.2611 | 0.053333 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0920015 | 1998-04-02 | 0.218 | 0.201 | 108.4577 | 8.4577 | 0.45333 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2820058 | 1997-10-09 | 0.646 | 0.601 | 107.4875 | 7.4875 | 1.4983 | 0.01 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0990018 | 1998-04-09 | 0.227 | 0.201 | 112.9353 | 12.9353 | 0.69333 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1270082 | 1998-05-07 | 0.772 | 0.766 | 100.7833 | 0.78329 | 0.16 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 3100137 | 1997-11-06 | 0.702 | 0.714 | 98.3193 | -1.6807 | -0.35305 | 0.01 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 3380075 | 1997-12-04 | 0.596 | 0.601 | 99.1681 | -0.83195 | -0.16647 | 0.01 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1550189 | 1998-06-04 | 0.186 | 0.201 | 92.5373 | -7.4627 | -0.4 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1480063 | 1998-05-28 | 0.743 | 0.766 | 96.9974 | -3.0026 | -0.61333 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 3240011 | 1997-11-20 | 0.743 | 0.714 | 104.0616 | 4.0616 | 0.85319 | 0.01 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0360074 | 1998-02-05 | 0.541 | 0.601 | 90.0166 | -9.9834 | -1.6 | 0.05 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2180182 | 1998-08-06 | 0.167 | 0.201 | 83.0846 | -16.9154 | -0.90667 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0290022 | 1998-01-29 | 0.655 | 0.714 | 91.7367 | -8.2633 | -1.5733 | 0.05 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1970016 | 1998-07-16 | 0.821 | 0.766 | 107.1802 | 7.1802 | 1.4667 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 3520021 | 1997-12-18 | 0.592 | 0.601 | 98.5025 | -1.4975 | -0.24 | 0.05 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0780159 | 1998-03-19 | 0.746 | 0.714 | 104.4818 | 4.4818 | 0.85333 | 0.05 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 2600015 | 1998-09-17 | 0.788 | 0.766 | 102.8721 | 2.8721 | 0.58667 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1060088 | 1998-04-16 | 0.22 | 0.201 | 109.4527 | 9.4527 | 0.50667 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1620089 | 1998-06-11 | 0.199 | 0.201 | 99.005 | -0.99502 | -0.053333 | 0.05 | 1992 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 3450039 | 1997-12-11 | 0.605 | 0.601 | 100.6656 | 0.66556 | 0.13318 | 0.01 | 1992 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 0160121 | 1998-01-16 | 0.663 | 0.714 | 92.8571 | -7.1429 | -1.36 | 0.05 | 1992 |  |  |  | mg/L | N56
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1998 | 1900090 | 1998-07-09 | 0.812 | 0.766 | 106.0052 | 6.0052 | 1.2267 | 0.05 | 1992 |  |  |  | mg/L | N58
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2390009 | 1999-08-27 | 0.041 | 0.04 | 102.5 | 2.5 | 0.026667 | 0.05 | 1992 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0080116 | 1999-01-08 | 0.776 | 0.77 | 100.7792 | 0.77922 | 0.16 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0150081 | 1999-01-15 | 0.756 | 0.77 | 98.1818 | -1.8182 | -0.37333 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 1830027 | 1999-07-02 | 0.892 | 0.805 | 110.8075 | 10.8075 | 2.3144 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 1930038 | 1999-07-12 | 0.928 | 0.805 | 115.2795 | 15.2795 | 3.2721 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0570072 | 1999-02-26 | 0.415 | 0.412 | 100.7282 | 0.72816 | 0.08 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0500085 | 1999-02-19 | 0.427 | 0.412 | 103.6408 | 3.6408 | 0.4 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2320066 | 1999-08-20 | 0.03 | 0.04 | 75 | -25 | -0.26667 | 0.05 | 1992 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0640107 | 1999-03-05 | 0.78 | 0.77 | 101.2987 | 1.2987 | 0.26667 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0710109 | 1999-03-12 | 0.798 | 0.77 | 103.6364 | 3.6364 | 0.74667 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2460057 | 1999-09-03 | 0.766 | 0.805 | 95.1553 | -4.8447 | -1.0375 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2530171 | 1999-09-10 | 0.804 | 0.805 | 99.8758 | -0.12422 | -0.026603 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2750039 | 1998-10-02 | 0.397 | 0.412 | 96.3592 | -3.6408 | -0.4 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2820173 | 1998-10-09 | 0.403 | 0.412 | 97.8155 | -2.1845 | -0.24 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2890142 | 1998-10-16 | 0.429 | 0.412 | 104.1262 | 4.1262 | 0.45333 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 1270141 | 1999-05-07 | 0.87 | 0.805 | 108.0745 | 8.0745 | 1.7292 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 1370104 | 1999-05-17 | 0.845 | 0.805 | 104.9689 | 4.9689 | 1.0641 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3130128 | 1998-11-09 | 0.846 | 0.77 | 109.8701 | 9.8701 | 2.0267 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3200025 | 1998-11-16 | 0.821 | 0.77 | 106.6234 | 6.6234 | 1.36 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3380077 | 1998-12-04 | 0.404 | 0.412 | 98.0583 | -1.9417 | -0.21333 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3450163 | 1998-12-11 | 0.422 | 0.412 | 102.4272 | 2.4272 | 0.26667 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 1480082 | 1999-05-28 | 0.05 | 0.805 | 6.2112 | -93.7888 | -20.0851 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3350087 | 1998-12-01 | 0.801 | 0.77 | 104.026 | 4.026 | 0.82667 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0360041 | 1999-02-05 | 0.407 | 0.412 | 98.7864 | -1.2136 | -0.13333 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0430071 | 1999-02-12 | 0.369 | 0.412 | 89.5631 | -10.4369 | -1.1467 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2240295 | 1999-08-12 | 0.048 | 0.04 | 120 | 20 | 0.21333 | 0.05 | 1992 |  |  |  | mg/L | N61
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0290007 | 1999-01-29 | 0.737 | 0.77 | 95.7143 | -4.2857 | -0.88 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2090075 | 1999-07-28 | 0.856 | 0.805 | 106.3354 | 6.3354 | 1.3567 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3640037 | 1998-12-30 | 0.427 | 0.412 | 103.6408 | 3.6408 | 0.4 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0780128 | 1999-03-19 | 0.829 | 0.77 | 107.6623 | 7.6623 | 1.5733 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0850049 | 1999-03-26 | 0.83 | 0.77 | 107.7922 | 7.7922 | 1.6 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2600088 | 1999-09-17 | 1.082 | 0.805 | 134.4099 | 34.4099 | 7.369 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2700033 | 1999-09-27 | 0.912 | 0.805 | 113.2919 | 13.2919 | 2.8465 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 2960093 | 1998-10-23 | 0.403 | 0.412 | 97.8155 | -2.1845 | -0.24 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 3520050 | 1998-12-18 | 0.403 | 0.412 | 97.8155 | -2.1845 | -0.24 | 0.05 | 1992 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 0220069 | 1999-01-22 | 0.785 | 0.77 | 101.9481 | 1.9481 | 0.4 | 0.05 | 1992 |  |  |  | mg/L | N60
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 1999 | 1970049 | 1999-07-16 | 0.914 | 0.805 | 113.5404 | 13.5404 | 2.8997 | 0.05 | 1992 |  |  |  | mg/L | N62
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0070096 | 2000-01-07 | 0.915 | 0.883 | 103.624 | 3.624 | 0.80902 | 0.05 | 1992 |  |  |  | mg/L | N64
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0210034 | 2000-01-21 | 0.933 | 0.883 | 105.6625 | 5.6625 | 1.2641 | 0.05 | 1992 |  |  |  | mg/L | N64
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 1890026 | 2000-07-07 | 0.8124 | 0.856 | 94.9065 | -5.0935 | -1.1316 | 0.05 | 1992 |  |  |  | mg/L | N66
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 2030089 | 2000-07-21 | 0.883 | 0.856 | 103.1542 | 3.1542 | 0.70079 | 0.05 | 1992 |  |  |  | mg/L | N66
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0630086 | 2000-03-03 | 0.856 | 0.883 | 96.9422 | -3.0578 | -0.68261 | 0.05 | 1992 |  |  |  | mg/L | N64
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 2590087 | 2000-09-15 | 0.901 | 0.856 | 105.257 | 5.257 | 1.168 | 0.05 | 1992 |  |  |  | mg/L | N66
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 2880023 | 1999-10-15 | 0.145 | 0.158 | 91.7722 | -8.2278 | -0.34667 | 0.05 | 1992 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 3000013 | 1999-10-27 | 0.115 | 0.158 | 72.7848 | -27.2152 | -1.1467 | 0.05 | 1992 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0980006 | 2000-04-07 | 0.117 | 0.119 | 98.3193 | -1.6807 | -0.053333 | 0.05 | 1992 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 1120196 | 2000-04-21 | 0.1028 | 0.119 | 86.3866 | -13.6134 | -0.432 | 0.05 | 1992 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 1260002 | 2000-05-05 | 0.839 | 0.856 | 98.014 | -1.986 | -0.44124 | 0.05 | 1992 |  |  |  | mg/L | N66
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 1400063 | 2000-05-19 | 0.918 | 0.856 | 107.243 | 7.243 | 1.6092 | 0.05 | 1992 |  |  |  | mg/L | N66
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 3120227 | 1999-11-08 | 0.883 | 0.883 | 100 | 0 | 0 | 0.05 | 1992 |  |  |  | mg/L | N64
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 3230016 | 1999-11-19 | 0.921 | 0.883 | 104.3035 | 4.3035 | 0.96071 | 0.05 | 1992 |  |  |  | mg/L | N64
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 3370030 | 1999-12-03 | 0.188 | 0.158 | 118.9873 | 18.9873 | 0.8 | 0.05 | 1992 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 3510024 | 1999-12-17 | 0.144 | 0.158 | 91.1392 | -8.8608 | -0.37333 | 0.05 | 1992 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 1570173 | 2000-06-05 | 0.117 | 0.119 | 98.3193 | -1.6807 | -0.053333 | 0.05 | 1992 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 1710134 | 2000-06-19 | 0.119 | 0.119 | 100 | 0 | 0 | 0.05 | 1992 |  |  |  | mg/L | N65
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0350154 | 2000-02-04 | 0.154 | 0.158 | 97.4684 | -2.5316 | -0.10667 | 0.05 | 1992 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0490030 | 2000-02-18 | 0.151 | 0.158 | 95.5696 | -4.4304 | -0.18667 | 0.05 | 1992 |  |  |  | mg/L | N63
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 0770033 | 2000-03-17 | 0.873 | 0.883 | 98.8675 | -1.1325 | -0.25282 | 0.05 | 1992 |  |  |  | mg/L | N64
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2000 | 2730021 | 2000-09-29 | 0.8703 | 0.856 | 101.6706 | 1.6706 | 0.37116 | 0.05 | 1992 |  |  |  | mg/L | N66
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2870101 | 2000-10-13 | 0.258 | 0.279 | 92.4731 | -7.5269 | -0.56 | 0.05 | 1992 |  |  |  | mg/L | N67
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2940072 | 2000-10-20 | 0.315 | 0.279 | 112.9032 | 12.9032 | 0.96 | 0.05 | 1992 |  |  |  | mg/L | N67
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 1220109 | 2001-05-02 | 0.727 | 0.714 | 101.8207 | 1.8207 | 0.34667 | 0.05 | 1992 |  |  |  | mg/L | N70
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 1380049 | 2001-05-18 | 0.694 | 0.714 | 97.1989 | -2.8011 | -0.53333 | 0.05 | 1992 |  |  |  | mg/L | N70
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 3080022 | 2000-11-03 | 0.826 | 0.83 | 99.5181 | -0.48193 | -0.10667 | 0.05 | 1992 |  |  |  | mg/L | N68
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 3220341 | 2000-11-17 | 0.827 | 0.83 | 99.6386 | -0.36145 | -0.08 | 0.05 | 1992 |  |  |  | mg/L | N68
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0360082 | 2001-02-05 | 0.264 | 0.279 | 94.6237 | -5.3763 | -0.4 | 0.05 | 1992 |  |  |  | mg/L | N67
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0470109 | 2001-02-16 | 0.258 | 0.279 | 92.4731 | -7.5269 | -0.56 | 0.05 | 1992 |  |  |  | mg/L | N67
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2180204 | 2001-08-06 | 0.081 | 0.086 | 94.186 | -5.814 | -0.13333 | 0.05 | 1992 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2290042 | 2001-08-17 | 0.066 | 0.086 | 76.7442 | -23.2558 | -0.53333 | 0.05 | 1992 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0100028 | 2001-01-10 | 0.873 | 0.83 | 105.1807 | 5.1807 | 1.1467 | 0.05 | 1992 |  |  |  | mg/L | N68
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0190060 | 2001-01-19 | 0.8657 | 0.83 | 104.3012 | 4.3012 | 0.952 | 0.05 | 1992 |  |  |  | mg/L | N68
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 1870008 | 2001-07-06 | 0.725 | 0.714 | 101.5406 | 1.5406 | 0.29333 | 0.05 | 1992 |  |  |  | mg/L | N70
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2040152 | 2001-07-23 | 0.692 | 0.714 | 96.9188 | -3.0812 | -0.58667 | 0.05 | 1992 |  |  |  | mg/L | N70
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2570025 | 2001-09-14 | 0.709 | 0.714 | 99.2997 | -0.70028 | -0.13333 | 0.05 | 1992 |  |  |  | mg/L | N70
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 2670120 | 2001-09-24 | 0.705 | 0.714 | 98.7395 | -1.2605 | -0.24 | 0.05 | 1992 |  |  |  | mg/L | N70
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0650083 | 2001-03-06 | 0.833 | 0.83 | 100.3614 | 0.36145 | 0.08 | 0.05 | 1992 |  |  |  | mg/L | N68
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0750160 | 2001-03-16 | 0.803 | 0.83 | 96.747 | -3.253 | -0.72 | 0.05 | 1992 |  |  |  | mg/L | N68
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 1710176 | 2001-06-20 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.026667 | 0.05 | 1992 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 1800075 | 2001-06-29 | 0.08 | 0.086 | 93.0233 | -6.9767 | -0.16 | 0.05 | 1992 |  |  |  | mg/L | N69
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2001 | 0080014 | 2001-01-08 | 0.272 | 0.279 | 97.491 | -2.509 | -0.18667 | 0.05 | 1992 |  |  |  | mg/L | N67