## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 1830026 | 1999-07-02 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.008 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 1880009 | 1999-07-07 | 0.0424 | 0.04 | 106 | 6 | 0.28169 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 1930037 | 1999-07-12 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 1950023 | 1999-07-14 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2210145 | 1999-08-09 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2220093 | 1999-08-10 | 0.04 | 0.04 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2240298 | 1999-08-12 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2300019 | 1999-08-18 | 0.061 | 0.04 | 152.5 | 52.5 | 2.4648 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2460058 | 1999-09-03 | 0.036 | 0.04 | 90 | -10 | -0.46948 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2510022 | 1999-09-08 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2530170 | 1999-09-10 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2580032 | 1999-09-15 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2600087 | 1999-09-17 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2650021 | 1999-09-22 | 0.038 | 0.04 | 95 | -5 | -0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2700032 | 1999-09-27 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 1970050 | 1999-07-16 | 0.041 | 0.04 | 102.5 | 2.5 | 0.11737 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2080109 | 1999-07-27 | 0.036 | 0.04 | 90 | -10 | -0.46948 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2090074 | 1999-07-28 | 0.042 | 0.04 | 105 | 5 | 0.23474 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2320065 | 1999-08-20 | 0.037 | 0.04 | 92.5 | -7.5 | -0.35211 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2370010 | 1999-08-25 | 0.039 | 0.04 | 97.5 | -2.5 | -0.11737 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 1999 | 2390010 | 1999-08-27 | 0.004 | 0.04 | 10 | -90 | -4.2254 | 0.0037 | 2333 |  |  |  | mg/L | N61
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0980008 | 2000-04-07 | 0.121 | 0.119 | 101.6807 | 1.6807 | 0.19008 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1040016 | 2000-04-13 | 0.121 | 0.119 | 101.6807 | 1.6807 | 0.19008 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1050024 | 2000-04-14 | 0.126 | 0.119 | 105.8824 | 5.8824 | 0.66527 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2790061 | 1999-10-06 | 0.153 | 0.158 | 96.8354 | -3.1646 | -0.41653 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2810013 | 1999-10-08 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2880020 | 1999-10-15 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1890029 | 2000-07-07 | 0.12 | 0.119 | 100.8403 | 0.84034 | 0.095039 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1940001 | 2000-07-12 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1960026 | 2000-07-14 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0070101 | 2000-01-07 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0120042 | 2000-01-12 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0140014 | 2000-01-14 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3120236 | 1999-11-08 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3140005 | 1999-11-10 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3230004 | 1999-11-19 | 0.162 | 0.158 | 102.5316 | 2.5316 | 0.33322 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1260001 | 2000-05-05 | 0.115 | 0.119 | 96.6387 | -3.3613 | -0.38016 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1310008 | 2000-05-10 | 0.118 | 0.119 | 99.1597 | -0.84034 | -0.095039 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1330053 | 2000-05-12 | 0.117 | 0.119 | 98.3193 | -1.6807 | -0.19008 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1400059 | 2000-05-19 | 0.059 | 0.119 | 49.5798 | -50.4202 | -5.7023 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1460093 | 2000-05-25 | 0.111 | 0.119 | 93.2773 | -6.7227 | -0.76031 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1470027 | 2000-05-26 | 0.112 | 0.119 | 94.1176 | -5.8824 | -0.66527 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1570176 | 2000-06-05 | 0.117 | 0.119 | 98.3193 | -1.6807 | -0.19008 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1590024 | 2000-06-07 | 0.119 | 0.119 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1610249 | 2000-06-09 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3370029 | 1999-12-03 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3420028 | 1999-12-08 | 0.155 | 0.158 | 98.1013 | -1.8987 | -0.24992 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3440183 | 1999-12-10 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3280009 | 1999-11-24 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3340015 | 1999-11-30 | 0.159 | 0.158 | 100.6329 | 0.63291 | 0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3350023 | 1999-12-01 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1120197 | 2000-04-21 | 0.12 | 0.119 | 100.8403 | 0.84034 | 0.095039 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1180021 | 2000-04-27 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1190022 | 2000-04-28 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2930007 | 1999-10-20 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2950001 | 1999-10-22 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3000008 | 1999-10-27 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0350158 | 2000-02-04 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0400083 | 2000-02-09 | 0.155 | 0.158 | 98.1013 | -1.8987 | -0.24992 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0420197 | 2000-02-11 | 0.164 | 0.158 | 103.7975 | 3.7975 | 0.49983 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0630085 | 2000-03-03 | 0.157 | 0.158 | 99.3671 | -0.63291 | -0.083306 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0680001 | 2000-03-08 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0700002 | 2000-03-10 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0770031 | 2000-03-17 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0820021 | 2000-03-22 | 0.161 | 0.158 | 101.8987 | 1.8987 | 0.24992 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0840036 | 2000-03-24 | 0.167 | 0.158 | 105.6962 | 5.6962 | 0.74975 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2500001 | 2000-09-06 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2520005 | 2000-09-08 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2590086 | 2000-09-15 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2640054 | 2000-09-20 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2660007 | 2000-09-22 | 0.123 | 0.119 | 103.3613 | 3.3613 | 0.38016 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2730016 | 2000-09-29 | 0.145 | 0.119 | 121.8487 | 21.8487 | 2.471 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0210033 | 2000-01-21 | 0.162 | 0.158 | 102.5316 | 2.5316 | 0.33322 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0260020 | 2000-01-26 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0280013 | 2000-01-28 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2030087 | 2000-07-21 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2080022 | 2000-07-26 | 0.122 | 0.119 | 102.521 | 2.521 | 0.28512 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 2100030 | 2000-07-28 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1710133 | 2000-06-19 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1730019 | 2000-06-21 | 0.125 | 0.119 | 105.042 | 5.042 | 0.57023 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 1750025 | 2000-06-23 | 0.124 | 0.119 | 104.2017 | 4.2017 | 0.47519 | 0.0037 | 2333 |  |  |  | mg/L | N65
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3510023 | 1999-12-17 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3560008 | 1999-12-22 | 0.155 | 0.158 | 98.1013 | -1.8987 | -0.24992 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 3620010 | 1999-12-28 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0490032 | 2000-02-18 | 0.161 | 0.158 | 101.8987 | 1.8987 | 0.24992 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0550144 | 2000-02-24 | 0.158 | 0.158 | 100 | 0 | 0 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2000 | 0560184 | 2000-02-25 | 0.156 | 0.158 | 98.7342 | -1.2658 | -0.16661 | 0.0037 | 2333 |  |  |  | mg/L | N63
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1870006 | 2001-07-06 | 0.0832 | 0.086 | 96.7442 | -3.2558 | -0.30494 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1920005 | 2001-07-11 | 0.0814 | 0.086 | 94.6512 | -5.3488 | -0.50098 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1940048 | 2001-07-13 | 0.0821 | 0.086 | 95.4651 | -4.5349 | -0.42474 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2040151 | 2001-07-23 | 0.0846 | 0.086 | 98.3721 | -1.6279 | -0.15247 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2080023 | 2001-07-27 | 0.0856 | 0.086 | 99.5349 | -0.46512 | -0.043563 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1220112 | 2001-05-02 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.10891 | 0.0037 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1290014 | 2001-05-09 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.10891 | 0.0037 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1350096 | 2001-05-15 | 0.088 | 0.086 | 102.3256 | 2.3256 | 0.21782 | 0.0037 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1380050 | 2001-05-18 | 0.085 | 0.086 | 98.8372 | -1.1628 | -0.10891 | 0.0037 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2180184 | 2001-08-06 | 0.0866 | 0.086 | 100.6977 | 0.69767 | 0.065345 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2200002 | 2001-08-08 | 0.0847 | 0.086 | 98.4884 | -1.5116 | -0.14158 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2220105 | 2001-08-10 | 0.079 | 0.086 | 91.8605 | -8.1395 | -0.76236 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2290032 | 2001-08-17 | 0.0842 | 0.086 | 97.907 | -2.093 | -0.19604 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2340148 | 2001-08-22 | 0.0872 | 0.086 | 101.3953 | 1.3953 | 0.13069 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2480064 | 2001-09-05 | 0.0871 | 0.086 | 101.2791 | 1.2791 | 0.1198 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2480228 | 2001-09-05 | 0.0838 | 0.086 | 97.4419 | -2.5581 | -0.2396 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2570020 | 2001-09-14 | 0.0901 | 0.086 | 104.7674 | 4.7674 | 0.44653 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2610001 | 2001-09-18 | 0.089 | 0.086 | 103.4884 | 3.4884 | 0.32673 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 2670118 | 2001-09-24 | 0.089 | 0.086 | 103.4884 | 3.4884 | 0.32673 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1570035 | 2001-06-06 | 0.0894 | 0.086 | 103.9535 | 3.9535 | 0.37029 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1580092 | 2001-06-07 | 0.0872 | 0.086 | 101.3953 | 1.3953 | 0.13069 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1710183 | 2001-06-20 | 0.0857 | 0.086 | 99.6512 | -0.34884 | -0.032673 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1730098 | 2001-06-22 | 0.0837 | 0.086 | 97.3256 | -2.6744 | -0.25049 | 0.008 | 2333 |  |  |  | mg/L | N69
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2001 | 1800074 | 2001-06-29 | 0.0849 | 0.086 | 98.7209 | -1.2791 | -0.1198 | 0.008 | 2333 |  |  |  | mg/L | N69