## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1080049 | 1992-04-17 | 0.098 | 0.097 | 101.0309 | 1.0309 | 0.034395 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1140003 | 1992-04-23 | 0.096 | 0.097 | 98.9691 | -1.0309 | -0.034395 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 2810116 | 1991-10-08 | 0.302 | 0.278 | 108.6331 | 8.6331 | 0.65438 | 0.001 | 0837 |  |  |  | mg/L | N30
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 2900046 | 1991-10-17 | 0.28 | 0.278 | 100.7194 | 0.71942 | 0.054532 | 0.001 | 0837 |  |  |  | mg/L | N30
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1490182 | 1992-05-28 | 0.216 | 0.21 | 102.8571 | 2.8571 | 0.17741 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1560048 | 1992-06-04 | 0.198 | 0.21 | 94.2857 | -5.7143 | -0.35482 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 2170178 | 1992-08-04 | 0.211 | 0.21 | 100.4762 | 0.47619 | 0.029568 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 2440205 | 1992-08-31 | 0.211 | 0.21 | 100.4762 | 0.47619 | 0.029568 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 490120. | 1992-02-18 | 0.096 | 0.097 | 98.9691 | -1.0309 | -0.034395 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 520156. | 1992-02-21 | 0.097 | 0.097 | 100 | 0 | 0 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1610028 | 1992-06-09 | 0.209 | 0.21 | 99.5238 | -0.47619 | -0.029568 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1760100 | 1992-06-24 | 0.213 | 0.21 | 101.4286 | 1.4286 | 0.088705 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 90132.0 | 1992-01-09 | 0.098 | 0.097 | 101.0309 | 1.0309 | 0.034395 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 160038. | 1992-01-16 | 0.164 | 0.097 | 169.0722 | 69.0722 | 2.3045 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1890121 | 1992-07-07 | 0.211 | 0.21 | 100.4762 | 0.47619 | 0.029568 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 1950001 | 1992-07-13 | 0.209 | 0.21 | 99.5238 | -0.47619 | -0.029568 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 2610216 | 1992-09-17 | 0.214 | 0.21 | 101.9048 | 1.9048 | 0.11827 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 2620024 | 1992-09-18 | 0.211 | 0.21 | 100.4762 | 0.47619 | 0.029568 | 0.001 | 0837 |  |  |  | mg/L | N34
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 650035. | 1992-03-05 | 0.095 | 0.097 | 97.9381 | -2.0619 | -0.06879 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 3530085 | 1991-12-19 | 0.093 | 0.097 | 95.8763 | -4.1237 | -0.13758 | 0.001 | 0837 |  |  |  | mg/L | N32
Phosphorus (as P), UNF, COL, LL | 00665 | CL001 | UNF | 1992 | 3580006 | 1991-12-24 | 0.09 | 0.097 | 92.7835 | -7.2165 | -0.24076 | 0.001 | 0837 |  |  |  | mg/L | N32