## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 380097. | 1995-02-07 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 390009. | 1995-02-08 | 0.16 | 0.131 | 122.1374 | 22.1374 | 1.2504 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 540095. | 1995-02-23 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3070055 | 1994-11-03 | 0.077 | 0.131 | 58.7786 | -41.2214 | -2.3284 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3130023 | 1994-11-09 | 0.096 | 0.131 | 73.2824 | -26.7176 | -1.5091 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3270094 | 1994-11-23 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3430092 | 1994-12-09 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3530030 | 1994-12-19 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3570337 | 1994-12-23 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3630004 | 1994-12-29 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 170018. | 1995-01-17 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 190028. | 1995-01-19 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 300067. | 1995-01-30 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 810073. | 1995-03-22 | 0.11 | 0.131 | 83.9695 | -16.0305 | -0.90548 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 930151. | 1995-04-03 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1940140 | 1995-07-13 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 2060084 | 1995-07-25 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 2080141 | 1995-07-27 | 0.16 | 0.131 | 122.1374 | 22.1374 | 1.2504 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 2140067 | 1995-08-02 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1350120 | 1995-05-15 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1430041 | 1995-05-23 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1520157 | 1995-06-01 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3420024 | 1994-12-08 | 0.12 | 0.131 | 91.6031 | -8.3969 | -0.4743 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3480102 | 1994-12-14 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3550065 | 1994-12-21 | 0.16 | 0.131 | 122.1374 | 22.1374 | 1.2504 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3070054 | 1994-11-03 | 0.09 | 0.131 | 68.7023 | -31.2977 | -1.7679 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3130022 | 1994-11-09 | 0.097 | 0.131 | 74.0458 | -25.9542 | -1.466 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3270095 | 1994-11-23 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3430091 | 1994-12-09 | 0.12 | 0.131 | 91.6031 | -8.3969 | -0.4743 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3530034 | 1994-12-19 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3570336 | 1994-12-23 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3630003 | 1994-12-29 | 0.16 | 0.131 | 122.1374 | 22.1374 | 1.2504 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0170017 | 1995-01-17 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0190021 | 1995-01-19 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0330056 | 1995-02-02 | 0.001 | 0.131 | 0.76336 | -99.2366 | -5.6054 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1090090 | 1995-04-19 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1110112 | 1995-04-21 | 0.12 | 0.131 | 91.6031 | -8.3969 | -0.4743 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1170173 | 1995-04-27 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1210185 | 1995-05-01 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0380096 | 1995-02-07 | 0.001 | 0.131 | 0.76336 | -99.2366 | -5.6054 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0390010 | 1995-02-08 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0540094 | 1995-02-23 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0810072 | 1995-03-22 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0930150 | 1995-04-03 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0090088 | 1995-01-09 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0110003 | 1995-01-11 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0260051 | 1995-01-26 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1580022 | 1995-06-07 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1670294 | 1995-06-16 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1730205 | 1995-06-22 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 1780116 | 1995-06-27 | 0.13 | 0.131 | 99.2366 | -0.76336 | -0.043118 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0090089 | 1995-01-09 | 0.16 | 0.131 | 122.1374 | 22.1374 | 1.2504 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0110009 | 1995-01-11 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 0260055 | 1995-01-26 | 0.15 | 0.131 | 114.5038 | 14.5038 | 0.81925 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3420029 | 1994-12-08 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3480101 | 1994-12-14 | 0.067 | 0.131 | 51.145 | -48.855 | -2.7596 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1995 | 3550066 | 1994-12-21 | 0.14 | 0.131 | 106.8702 | 6.8702 | 0.38806 | 0.001 | 1982 |  |  |  | mg/L | N43
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0930136 | 1998-04-03 | 0.213 | 0.201 | 105.9701 | 5.9701 | 0.74836 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1000120 | 1998-04-10 | 0.217 | 0.201 | 107.9602 | 7.9602 | 0.99782 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1040094 | 1998-04-14 | 0.212 | 0.201 | 105.4726 | 5.4726 | 0.686 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1870154 | 1998-07-06 | 0.205 | 0.201 | 101.99 | 1.99 | 0.24945 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1910241 | 1998-07-10 | 0.213 | 0.201 | 105.9701 | 5.9701 | 0.74836 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1950204 | 1998-07-14 | 0.205 | 0.201 | 101.99 | 1.99 | 0.24945 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0090088 | 1998-01-09 | 0.634 | 0.601 | 105.4908 | 5.4908 | 1.0987 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0200130 | 1998-01-20 | 0.577 | 0.601 | 96.0067 | -3.9933 | -0.79907 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0160088 | 1998-01-16 | 0.623 | 0.601 | 103.6606 | 3.6606 | 0.73248 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3080083 | 1997-11-04 | 0.607 | 0.601 | 100.9983 | 0.99834 | 0.19977 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3110070 | 1997-11-07 | 0.621 | 0.601 | 103.3278 | 3.3278 | 0.66589 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3180087 | 1997-11-14 | 0.646 | 0.601 | 107.4875 | 7.4875 | 1.4983 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1280043 | 1998-05-08 | 0.218 | 0.201 | 108.4577 | 8.4577 | 1.0602 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1380091 | 1998-05-18 | 0.202 | 0.201 | 100.4975 | 0.49751 | 0.062364 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1420204 | 1998-05-22 | 0.205 | 0.201 | 101.99 | 1.99 | 0.24945 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1490072 | 1998-05-29 | 0.193 | 0.201 | 96.0199 | -3.9801 | -0.49891 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1530214 | 1998-06-02 | 0.206 | 0.201 | 102.4876 | 2.4876 | 0.31182 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1530224 | 1998-06-02 | 0.21 | 0.201 | 104.4776 | 4.4776 | 0.56127 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1560220 | 1998-06-05 | 0.206 | 0.201 | 102.4876 | 2.4876 | 0.31182 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1630124 | 1998-06-12 | 0.211 | 0.201 | 104.9751 | 4.9751 | 0.62364 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3360032 | 1997-12-02 | 0.638 | 0.601 | 106.1564 | 6.1564 | 1.2319 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3390181 | 1997-12-05 | 0.587 | 0.601 | 97.6705 | -2.3295 | -0.46612 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3460127 | 1997-12-12 | 0.59 | 0.601 | 98.1697 | -1.8303 | -0.36624 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3220056 | 1997-11-18 | 0.643 | 0.601 | 106.9884 | 6.9884 | 1.3984 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3250329 | 1997-11-21 | 0.648 | 0.601 | 107.8203 | 7.8203 | 1.5648 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3290139 | 1997-11-25 | 0.608 | 0.601 | 101.1647 | 1.1647 | 0.23306 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1070126 | 1998-04-17 | 0.214 | 0.201 | 106.4677 | 6.4677 | 0.81073 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1140196 | 1998-04-24 | 0.21 | 0.201 | 104.4776 | 4.4776 | 0.56127 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1180174 | 1998-04-28 | 0.207 | 0.201 | 102.9851 | 2.9851 | 0.37418 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0340100 | 1998-02-03 | 0.621 | 0.601 | 103.3278 | 3.3278 | 0.66589 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0370164 | 1998-02-06 | 0.637 | 0.601 | 105.99 | 5.99 | 1.1986 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0440041 | 1998-02-13 | 0.648 | 0.601 | 107.8203 | 7.8203 | 1.5648 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2160044 | 1998-08-04 | 0.212 | 0.201 | 105.4726 | 5.4726 | 0.686 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2190050 | 1998-08-07 | 0.078 | 0.201 | 38.806 | -61.194 | -7.6707 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2260103 | 1998-08-14 | 0.207 | 0.201 | 102.9851 | 2.9851 | 0.37418 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0620136 | 1998-03-03 | 0.628 | 0.601 | 104.4925 | 4.4925 | 0.89895 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0650043 | 1998-03-06 | 0.625 | 0.601 | 103.9933 | 3.9933 | 0.79907 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0720058 | 1998-03-13 | 0.467 | 0.601 | 77.7038 | -22.2962 | -4.4615 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0760022 | 1998-03-17 | 0.58 | 0.601 | 96.5058 | -3.4942 | -0.69918 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0790215 | 1998-03-20 | 0.64 | 0.601 | 106.4892 | 6.4892 | 1.2985 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0860118 | 1998-03-27 | 0.616 | 0.601 | 102.4958 | 2.4958 | 0.49942 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2470038 | 1998-09-04 | 0.212 | 0.201 | 105.4726 | 5.4726 | 0.686 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2540090 | 1998-09-11 | 0.214 | 0.201 | 106.4677 | 6.4677 | 0.81073 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2580245 | 1998-09-15 | 0.208 | 0.201 | 103.4826 | 3.4826 | 0.43655 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2610107 | 1998-09-18 | 0.187 | 0.201 | 93.0348 | -6.9652 | -0.87309 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2680007 | 1998-09-25 | 0.212 | 0.201 | 105.4726 | 5.4726 | 0.686 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2720083 | 1998-09-29 | 0.213 | 0.201 | 105.9701 | 5.9701 | 0.74836 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0260123 | 1998-01-26 | 0.592 | 0.601 | 98.5025 | -1.4975 | -0.29965 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0270118 | 1998-01-27 | 0.62 | 0.601 | 103.1614 | 3.1614 | 0.6326 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0300115 | 1998-01-30 | 0.535 | 0.601 | 89.0183 | -10.9817 | -2.1974 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1980301 | 1998-07-17 | 0.19 | 0.201 | 94.5274 | -5.4726 | -0.686 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2080084 | 1998-07-27 | 0.181 | 0.201 | 90.0498 | -9.9502 | -1.2473 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2090138 | 1998-07-28 | 0.211 | 0.201 | 104.9751 | 4.9751 | 0.62364 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1680012 | 1998-06-17 | 0.205 | 0.201 | 101.99 | 1.99 | 0.24945 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1700283 | 1998-06-19 | 0.199 | 0.201 | 99.005 | -0.99502 | -0.12473 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 1770073 | 1998-06-26 | 0.212 | 0.201 | 105.4726 | 5.4726 | 0.686 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3500012 | 1997-12-16 | 0.609 | 0.601 | 101.3311 | 1.3311 | 0.26636 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3530141 | 1997-12-19 | 0.624 | 0.601 | 103.827 | 3.827 | 0.76577 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 3650033 | 1997-12-31 | 0.595 | 0.601 | 99.0017 | -0.99834 | -0.19977 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2300136 | 1998-08-18 | 0.203 | 0.201 | 100.995 | 0.99502 | 0.12473 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2330325 | 1998-08-21 | 0.207 | 0.201 | 102.9851 | 2.9851 | 0.37418 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 2400212 | 1998-08-28 | 0.213 | 0.201 | 105.9701 | 5.9701 | 0.74836 | 0.001 | 1982 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0510063 | 1998-02-20 | 0.121 | 0.601 | 20.1331 | -79.8669 | -15.9814 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0540093 | 1998-02-23 | 0.124 | 0.601 | 20.6323 | -79.3677 | -15.8815 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1998 | 0580058 | 1998-02-27 | 0.63 | 0.601 | 104.8253 | 4.8253 | 0.96554 | 0.001 | 1982 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2750040 | 1998-10-02 | 0.414 | 0.412 | 100.4854 | 0.48544 | 0.088277 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2800067 | 1998-10-07 | 0.419 | 0.412 | 101.699 | 1.699 | 0.30897 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2820174 | 1998-10-09 | 0.423 | 0.412 | 102.6699 | 2.6699 | 0.48552 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2870041 | 1998-10-14 | 0.42 | 0.412 | 101.9417 | 1.9417 | 0.35311 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3130127 | 1998-11-09 | 0.412 | 0.412 | 100 | 0 | 0 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3140160 | 1998-11-10 | 0.415 | 0.412 | 100.7282 | 0.72816 | 0.13242 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3200024 | 1998-11-16 | 0.421 | 0.412 | 102.1845 | 2.1845 | 0.39725 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3220058 | 1998-11-18 | 0.421 | 0.412 | 102.1845 | 2.1845 | 0.39725 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3380074 | 1998-12-04 | 0.45 | 0.412 | 109.2233 | 9.2233 | 1.6773 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3430049 | 1998-12-09 | 0.43 | 0.412 | 104.3689 | 4.3689 | 0.79449 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3450162 | 1998-12-11 | 0.427 | 0.412 | 103.6408 | 3.6408 | 0.66208 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3500072 | 1998-12-16 | 0.429 | 0.412 | 104.1262 | 4.1262 | 0.75035 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3240060 | 1998-11-20 | 0.421 | 0.412 | 102.1845 | 2.1845 | 0.39725 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3290035 | 1998-11-25 | 0.447 | 0.412 | 108.4951 | 8.4951 | 1.5448 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3350082 | 1998-12-01 | 0.448 | 0.412 | 108.7379 | 8.7379 | 1.589 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2890143 | 1998-10-16 | 0.428 | 0.412 | 103.8835 | 3.8835 | 0.70621 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2940061 | 1998-10-21 | 0.425 | 0.412 | 103.1553 | 3.1553 | 0.5738 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 2960087 | 1998-10-23 | 0.423 | 0.412 | 102.6699 | 2.6699 | 0.48552 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3520051 | 1998-12-18 | 0.392 | 0.412 | 95.1456 | -4.8544 | -0.88277 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3570082 | 1998-12-23 | 0.425 | 0.412 | 103.1553 | 3.1553 | 0.5738 | 0.001 | 1982 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | 1999 | 3640038 | 1998-12-30 | 0.435 | 0.412 | 105.5825 | 5.5825 | 1.0152 | 0.001 | 1982 |  |  |  | mg/L | N59