## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 1700026 | 1996-06-18 | 0.82 | 0.794 | 103.2746 | 3.2746 | 0.62261 | 0.05 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 2640067 | 1996-09-20 | 0.8 | 0.794 | 100.7557 | 0.75567 | 0.14368 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 2500151 | 1996-09-06 | 0.84 | 0.794 | 105.7935 | 5.7935 | 1.1015 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 1230032 | 1996-05-02 | 0.81 | 0.794 | 102.0151 | 2.0151 | 0.38314 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 2190083 | 1996-08-06 | 0.76 | 0.794 | 95.7179 | -4.2821 | -0.81418 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 1380171 | 1996-05-17 | 0.7 | 0.794 | 88.1612 | -11.8388 | -2.251 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 1520209 | 1996-05-31 | 0.78 | 0.794 | 98.2368 | -1.7632 | -0.33525 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 0640074 | 1996-03-04 | 1.2 | 1.23 | 97.561 | -2.439 | -0.50675 | 0.01 | 1993 |  |  |  | mg/L | N46
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 0510173 | 1996-02-20 | 1.3 | 1.23 | 105.6911 | 5.6911 | 1.1824 | 0.01 | 1993 |  |  |  | mg/L | N46
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 2780023 | 1996-10-04 | 0.82 | 0.794 | 103.2746 | 3.2746 | 0.62261 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 0890146 | 1996-03-29 | 1.2 | 1.23 | 97.561 | -2.439 | -0.50675 | 0.01 | 1993 |  |  |  | mg/L | N46
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 1090042 | 1996-04-18 | 0.8 | 0.794 | 100.7557 | 0.75567 | 0.14368 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 0750107 | 1996-03-15 | 1.3 | 1.23 | 105.6911 | 5.6911 | 1.1824 | 0.01 | 1993 |  |  |  | mg/L | N46
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 2340091 | 1996-08-21 | 0.78 | 0.794 | 98.2368 | -1.7632 | -0.33525 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 1850042 | 1996-07-03 | 0.76 | 0.794 | 95.7179 | -4.2821 | -0.81418 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1996 | 2040106 | 1996-07-22 | 0.75 | 0.794 | 94.4584 | -5.5416 | -1.0536 | 0.01 | 1993 |  |  |  | mg/L | N48
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1997 | 0520152 | 1997-02-21 | 0.14 | 0.167 | 83.8323 | -16.1677 | -1.7981 | 0.01 | 1993 |  |  |  | mg/L | N49
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1997 | 0420050 | 1997-02-11 | 0.15 | 0.167 | 89.8204 | -10.1796 | -1.1321 | 0.01 | 1993 |  |  |  | mg/L | N49
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1997 | 2890080 | 1996-10-15 | 0.2 | 0.167 | 119.7605 | 19.7605 | 2.1977 | 0.01 | 1993 |  |  |  | mg/L | N49
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1997 | 3590059 | 1996-12-24 | 0.15 | 0.167 | 89.8204 | -10.1796 | -1.1321 | 0.01 | 1993 |  |  |  | mg/L | N49
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1997 | 3060254 | 1996-11-01 | 0.14 | 0.167 | 83.8323 | -16.1677 | -1.7981 | 0.01 | 1993 |  |  |  | mg/L | N49
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1997 | 3410063 | 1996-12-06 | 0.18 | 0.167 | 107.7844 | 7.7844 | 0.86574 | 0.01 | 1993 |  |  |  | mg/L | N49
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1690150 | 1998-06-18 | 0.173 | 0.201 | 86.0697 | -13.9303 | -0.74667 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2320306 | 1998-08-20 | 0.213 | 0.201 | 105.9701 | 5.9701 | 0.32 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0080098 | 1998-01-08 | 0.728 | 0.714 | 101.9608 | 1.9608 | 0.37333 | 0.05 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1870157 | 1998-07-06 | 0.774 | 0.766 | 101.0444 | 1.0444 | 0.21333 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0500028 | 1998-02-19 | 0.611 | 0.601 | 101.6639 | 1.6639 | 0.26667 | 0.05 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0430095 | 1998-02-12 | 0.589 | 0.601 | 98.0033 | -1.9967 | -0.32 | 0.05 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2260068 | 1998-08-14 | 0.192 | 0.201 | 95.5224 | -4.4776 | -0.24 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0640056 | 1998-03-05 | 0.724 | 0.714 | 101.4006 | 1.4006 | 0.26667 | 0.05 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0710072 | 1998-03-12 | 0.713 | 0.714 | 99.8599 | -0.14006 | -0.026667 | 0.05 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2460016 | 1998-09-03 | 0.78 | 0.766 | 101.8277 | 1.8277 | 0.37333 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2530111 | 1998-09-10 | 0.824 | 0.766 | 107.5718 | 7.5718 | 1.5467 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0920015 | 1998-04-02 | 0.221 | 0.201 | 109.9502 | 9.9502 | 0.53333 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2820058 | 1997-10-09 | 0.654 | 0.601 | 108.8186 | 8.8186 | 1.7646 | 0.01 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0990018 | 1998-04-09 | 0.229 | 0.201 | 113.9303 | 13.9303 | 0.74667 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1270082 | 1998-05-07 | 0.759 | 0.766 | 99.0862 | -0.91384 | -0.18667 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 3100137 | 1997-11-06 | 0.722 | 0.714 | 101.1204 | 1.1204 | 0.23536 | 0.01 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 3380075 | 1997-12-04 | 0.596 | 0.601 | 99.1681 | -0.83195 | -0.16647 | 0.01 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1550189 | 1998-06-04 | 0.209 | 0.201 | 103.9801 | 3.9801 | 0.21333 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1480063 | 1998-05-28 | 0.747 | 0.766 | 97.5196 | -2.4804 | -0.50667 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 3240011 | 1997-11-20 | 0.756 | 0.714 | 105.8824 | 5.8824 | 1.2357 | 0.01 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0360074 | 1998-02-05 | 0.562 | 0.601 | 93.5108 | -6.4892 | -1.04 | 0.05 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2180182 | 1998-08-06 | 0.218 | 0.201 | 108.4577 | 8.4577 | 0.45333 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0290022 | 1998-01-29 | 0.696 | 0.714 | 97.479 | -2.521 | -0.48 | 0.05 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1970016 | 1998-07-16 | 0.831 | 0.766 | 108.4856 | 8.4856 | 1.7333 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 3520021 | 1997-12-18 | 0.566 | 0.601 | 94.1764 | -5.8236 | -0.93333 | 0.05 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0780159 | 1998-03-19 | 0.753 | 0.714 | 105.4622 | 5.4622 | 1.04 | 0.05 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 2600015 | 1998-09-17 | 0.807 | 0.766 | 105.3525 | 5.3525 | 1.0933 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1060088 | 1998-04-16 | 0.222 | 0.201 | 110.4478 | 10.4478 | 0.56 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1620089 | 1998-06-11 | 0.187 | 0.201 | 93.0348 | -6.9652 | -0.37333 | 0.05 | 1993 |  |  |  | mg/L | N57
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 3450039 | 1997-12-11 | 0.609 | 0.601 | 101.3311 | 1.3311 | 0.26636 | 0.01 | 1993 |  |  |  | mg/L | N55
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 0160121 | 1998-01-16 | 0.662 | 0.714 | 92.7171 | -7.2829 | -1.3867 | 0.05 | 1993 |  |  |  | mg/L | N56
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1998 | 1900090 | 1998-07-09 | 0.824 | 0.766 | 107.5718 | 7.5718 | 1.5467 | 0.05 | 1993 |  |  |  | mg/L | N58
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0080116 | 1999-01-08 | 0.814 | 0.77 | 105.7143 | 5.7143 | 1.1733 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0150081 | 1999-01-15 | 0.793 | 0.77 | 102.987 | 2.987 | 0.61333 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0570072 | 1999-02-26 | 0.402 | 0.412 | 97.5728 | -2.4272 | -0.26667 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0500085 | 1999-02-19 | 0.425 | 0.412 | 103.1553 | 3.1553 | 0.34667 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0640107 | 1999-03-05 | 0.778 | 0.77 | 101.039 | 1.039 | 0.21333 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0710109 | 1999-03-12 | 0.802 | 0.77 | 104.1558 | 4.1558 | 0.85333 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 2750039 | 1998-10-02 | 0.4 | 0.412 | 97.0874 | -2.9126 | -0.32 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 2820173 | 1998-10-09 | 0.427 | 0.412 | 103.6408 | 3.6408 | 0.4 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 2890142 | 1998-10-16 | 0.394 | 0.412 | 95.6311 | -4.3689 | -0.48 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3130128 | 1998-11-09 | 0.826 | 0.77 | 107.2727 | 7.2727 | 1.4933 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3200025 | 1998-11-16 | 0.842 | 0.77 | 109.3506 | 9.3506 | 1.92 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3380077 | 1998-12-04 | 0.432 | 0.412 | 104.8544 | 4.8544 | 0.53333 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3450163 | 1998-12-11 | 0.399 | 0.412 | 96.8447 | -3.1553 | -0.34667 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3350087 | 1998-12-01 | 0.851 | 0.77 | 110.5195 | 10.5195 | 2.16 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0360041 | 1999-02-05 | 0.398 | 0.412 | 96.6019 | -3.3981 | -0.37333 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0430071 | 1999-02-12 | 0.417 | 0.412 | 101.2136 | 1.2136 | 0.13333 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0290007 | 1999-01-29 | 0.779 | 0.77 | 101.1688 | 1.1688 | 0.24 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3640037 | 1998-12-30 | 0.414 | 0.412 | 100.4854 | 0.48544 | 0.053333 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0780128 | 1999-03-19 | 0.852 | 0.77 | 110.6494 | 10.6494 | 2.1867 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0850049 | 1999-03-26 | 0.776 | 0.77 | 100.7792 | 0.77922 | 0.16 | 0.05 | 1993 |  |  |  | mg/L | N60
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 2960093 | 1998-10-23 | 0.277 | 0.412 | 67.233 | -32.767 | -3.6 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 3520050 | 1998-12-18 | 0.397 | 0.412 | 96.3592 | -3.6408 | -0.4 | 0.05 | 1993 |  |  |  | mg/L | N59
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | 1999 | 0220069 | 1999-01-22 | 0.787 | 0.77 | 102.2078 | 2.2078 | 0.45333 | 0.05 | 1993 |  |  |  | mg/L | N60