## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N42 | 1.09 | 0.031623 | 2.9012 | 10 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N43 | 0.095316 | 0.0088919 | 9.3288 | 79 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N44 | 0.92026 | 0.017206 | 1.8697 | 78 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N46 | 0.89382 | 0.03233 | 3.6171 | 76 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N48 | 0.59875 | 0.024941 | 4.1655 | 56 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N49 | 0.15867 | 0.0091949 | 5.7951 | 45 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N55 | 0.63244 | 0.027729 | 4.3845 | 52 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N56 | 0.62614 | 0.044162 | 7.053 | 57 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N57 | 0.19959 | 0.015463 | 7.7473 | 58 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N58 | 0.75954 | 0.029949 | 3.943 | 59 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N59 | 0.41715 | 0.0171 | 4.0992 | 60 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N60 | 0.68628 | 0.039019 | 5.6855 | 60 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N61 | 0.0263 | 0.0065875 | 25.0474 | 40 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N62 | 0.81537 | 0.041209 | 5.054 | 59 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N63 | 0.1454 | 0.013083 | 8.9979 | 58 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N64 | 0.88245 | 0.038976 | 4.4168 | 60 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N65 | 0.11286 | 0.0079534 | 7.0469 | 59 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N66 | 0.80575 | 0.026983 | 3.3488 | 59 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N67 | 0.27028 | 0.0053485 | 1.9789 | 36 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N68 | 0.82141 | 0.010882 | 1.3248 | 37 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N69 | 0.082882 | 0.0038672 | 4.6659 | 34 | mg/L as P
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | NAB | 0.23896 | 0.022198 | 9.2898 | 45 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | NS2 | 1.0122 | 0.048824 | 4.8237 | 188 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | NS4 | 1.4917 | 0.067535 | 4.5275 | 89 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | NS5 | 0.26722 | 0.011476 | 4.2945 | 9 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | NS6 | 0.64833 | 0.012392 | 1.9114 | 42 | mg/L as P
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | NS7 | 0.43 | 0.0040825 | 0.94941 | 4 | mg/L