## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N43 | 0.10065 | 0.007173 | 7.1264 | 55 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N46 | 0.92769 | 0.038763 | 4.1784 | 13 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N49 | 0.16545 | 0.009342 | 5.6463 | 11 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N55 | 0.58724 | 0.0095755 | 1.6306 | 29 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N57 | 0.19879 | 0.0093704 | 4.7136 | 34 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N59 | 0.42705 | 0.022135 | 5.1831 | 39 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N61 | 0.035429 | 0.0025801 | 7.2827 | 21 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N63 | 0.14081 | 0.006292 | 4.4686 | 36 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N65 | 0.1119 | 0.0048942 | 4.3739 | 29 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N67 | 0.27778 | 0.013224 | 4.7606 | 27 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N69 | 0.084208 | 0.0065937 | 7.8302 | 24 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | NAB | 0.2408 | 0.011213 | 4.6566 | 10 | mg/L