## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | N32 | 0.0932 | 0.0037645 | 4.0392 | 15 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | N34 | 0.2041 | 0.012223 | 5.9888 | 30 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | N36 | 0.20891 | 0.0066736 | 3.1945 | 23 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | N38 | 0.084727 | 0.005784 | 6.8266 | 33 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL058 | FIL | N40 | 0.056528 | 0.0031304 | 5.5378 | 36 | mg/L