## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P11 | 0.011224 | 0.0038905 | 34.6609 | 49 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P5 | 0.01125 | 0.0035355 | 31.427 | 8 | mg/L