## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N30 | 0.29571 | 0.027603 | 9.3342 | 7 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N31 | 1.65 | 0.057735 | 3.4991 | 4 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N32 | 0.088929 | 0.011969 | 13.459 | 28 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N33 | 0.85382 | 0.034817 | 4.0778 | 34 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N34 | 0.20444 | 0.013584 | 6.6442 | 90 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N35 | 0.91212 | 0.036513 | 4.0031 | 99 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N36 | 0.21507 | 0.016821 | 7.821 | 67 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N37 | 1.1811 | 0.056558 | 4.7887 | 74 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N38 | 0.11629 | 0.017789 | 15.2974 | 70 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N39 | 0.94055 | 0.049185 | 5.2294 | 73 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N40 | 0.059559 | 0.013542 | 22.7371 | 68 | mg/L
Phosphorus (as P), FIL, ASF | 00666 | CL061 | FIL | N41 | 1.6658 | 0.068416 | 4.1071 | 76 | mg/L