## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N61 | 0.039333 | 0.0016533 | 4.2033 | 21 | mg/L
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N63 | 0.15856 | 0.0026986 | 1.702 | 36 | mg/L
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N65 | 0.12443 | 0.0042805 | 3.44 | 30 | mg/L
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N69 | 0.085617 | 0.0014649 | 1.7109 | 24 | mg/L