## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N42 | 1.11 | 0.031623 | 2.8489 | 10 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N43 | 0.1178 | 0.013428 | 11.3984 | 82 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N44 | 0.9002 | 0.026302 | 2.9218 | 50 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N45 | 0.12222 | 0.0097183 | 7.9513 | 9 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N46 | 1.2541 | 0.070593 | 5.6292 | 74 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N48 | 0.78456 | 0.04528 | 5.7713 | 57 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N49 | 0.159 | 0.016474 | 10.3608 | 30 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N55 | 0.60405 | 0.034679 | 5.7411 | 59 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N56 | 0.73222 | 0.036734 | 5.0168 | 60 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N57 | 0.20352 | 0.020666 | 10.1546 | 58 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N58 | 0.78642 | 0.040279 | 5.1218 | 59 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N59 | 0.41724 | 0.013079 | 3.1346 | 70 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N60 | 0.81334 | 0.028854 | 3.5476 | 56 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N61 | 0.045414 | 0.010391 | 22.8799 | 29 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N62 | 0.82251 | 0.048986 | 5.9557 | 59 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N63 | 0.15757 | 0.012524 | 7.9486 | 60 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N64 | 0.8997 | 0.044302 | 4.9241 | 60 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N65 | 0.12105 | 0.012804 | 10.5771 | 60 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N66 | 0.88442 | 0.030953 | 3.4998 | 59 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N67 | 0.28017 | 0.016616 | 5.9306 | 62 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N68 | 0.82453 | 0.025435 | 3.0848 | 37 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N69 | 0.084618 | 0.0080114 | 9.4678 | 34 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N70 | 0.727 | 0.01875 | 2.5791 | 24 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS1 | 1.0329 | 0.038792 | 3.7556 | 93 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS3 | 0.61857 | 0.032775 | 5.2986 | 92 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS5 | 0.54379 | 0.026166 | 4.8117 | 94 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS7 | 0.88075 | 0.03055 | 3.4686 | 42 | mg/L