## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N61 | 0.03947 | 0.0053761 | 13.6207 | 20 | mg/L
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N63 | 0.15814 | 0.002642 | 1.6707 | 36 | mg/L
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N65 | 0.12203 | 0.0058461 | 4.7906 | 29 | mg/L
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | N69 | 0.085479 | 0.0026621 | 3.1144 | 24 | mg/L