## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N46 | 1.25 | 0.057735 | 4.6188 | 4 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N48 | 0.785 | 0.038494 | 4.9037 | 12 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N49 | 0.16 | 0.024495 | 15.3093 | 6 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N55 | 0.59814 | 0.031174 | 5.2118 | 7 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N56 | 0.71925 | 0.030363 | 4.2215 | 8 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N57 | 0.20711 | 0.018864 | 9.1083 | 9 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N58 | 0.79325 | 0.032433 | 4.0887 | 8 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N59 | 0.3985 | 0.040473 | 10.1564 | 12 | mg/L
Phosphorus (as P), UNF, EPA | 00665 | KJ011 | UNF | N60 | 0.80909 | 0.029589 | 3.657 | 11 | mg/L