## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF |  | 11.8571 | 13.1299 | 110.7338 | 14 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P11 | 27.7667 | 0.11547 | 0.41586 | 3 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P12 | 10.125 | 0.22657 | 2.2377 | 16 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P13 | 2.7167 | 0.1964 | 7.2293 | 36 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P14 | 35.2837 | 1.2985 | 3.6802 | 43 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P15 | 12.8241 | 0.95081 | 7.4142 | 29 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P16 | 42.98 | 1.4065 | 3.2725 | 55 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P17 | 6.8457 | 0.58729 | 8.5789 | 35 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P18 | 11.987 | 0.2801 | 2.3367 | 23 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P19 | 12.3533 | 0.51667 | 4.1825 | 15 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P20 | 7.38 | 0.26241 | 3.5556 | 15 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P21 | 41.9818 | 2.0344 | 4.8459 | 22 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P23 | 13.8857 | 0.29576 | 2.1299 | 14 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P24 | 12.7525 | 2.2568 | 17.6972 | 12 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P25 | 20.9 | 0.1633 | 0.78134 | 4 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P26 | 36.925 | 0.9535 | 2.5823 | 4 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P27 | 26.175 | 0.17078 | 0.65246 | 4 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P28 | 37.025 | 0.9215 | 2.4889 | 4 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P29 | 18.3875 | 0.42908 | 2.3335 | 8 | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | P31 | 60.725 | 0.23629 | 0.38912 | 4 | uS/cm