## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date (>=2001); Logged in Date (<2001) | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0250116 | 1999-01-25 | 5.728 | 5.05 | 113.4257 | 13.4257 | 0.34769 | 2.6 | 2163 |  |  |  | ug/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2090030 | 1999-07-28 | 4.449 | 5.05 | 88.099 | -11.901 | -0.30821 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0570069 | 1999-02-26 | 6.986 | 7.222 | 96.7322 | -3.2678 | -0.12103 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2390012 | 1999-08-27 | 8.001 | 7.222 | 110.7865 | 10.7865 | 0.39949 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2820179 | 1998-10-09 | 7.49 | 7.222 | 103.7109 | 3.7109 | 0.13744 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0990046 | 1999-04-09 | 8.364 | 7.222 | 115.8128 | 15.8128 | 0.58564 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0710058 | 1999-03-12 | 10.847 | 10.1 | 107.396 | 7.396 | 0.38308 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2530173 | 1999-09-10 | 10.652 | 10.1 | 105.4653 | 5.4653 | 0.28308 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0110090 | 1999-01-11 | 10.726 | 10.1 | 106.198 | 6.198 | 0.32103 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1930030 | 1999-07-12 | 11.645 | 10.1 | 115.297 | 15.297 | 0.79231 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 3170041 | 1998-11-13 | 9.805 | 10.1 | 97.0792 | -2.9208 | -0.15128 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1370100 | 1999-05-17 | 10.418 | 10.1 | 103.1485 | 3.1485 | 0.16308 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 3480074 | 1998-12-14 | 5.201 | 5.05 | 102.9901 | 2.9901 | 0.077436 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1650081 | 1999-06-14 | 1 | 5.05 | 19.802 | -80.198 | -2.0769 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 3350044 | 1998-12-01 | 7.384 | 7.222 | 102.2431 | 2.2431 | 0.083077 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1480080 | 1999-05-28 | 7.438 | 7.222 | 102.9909 | 2.9909 | 0.11077 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 3200088 | 1998-11-16 | 10.112 | 10.1 | 100.1188 | 0.11881 | 0.0061538 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1370101 | 1999-05-17 | 11.137 | 10.1 | 110.2673 | 10.2673 | 0.53179 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2990111 | 1998-10-26 | 5.3 | 5.05 | 104.9505 | 4.9505 | 0.12821 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1160131 | 1999-04-26 | 5.965 | 5.05 | 118.1188 | 18.1188 | 0.46923 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0470123 | 1999-02-16 | 10.84 | 10.1 | 107.3267 | 7.3267 | 0.37949 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2290062 | 1999-08-17 | 11.538 | 10.1 | 114.2376 | 14.2376 | 0.73744 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0430069 | 1999-02-12 | 12 | 10.1 | 118.8119 | 18.8119 | 0.97436 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2240299 | 1999-08-12 | 10.981 | 10.1 | 108.7228 | 8.7228 | 0.45179 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0740043 | 1999-03-15 | 5.672 | 5.05 | 112.3168 | 12.3168 | 0.31897 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2570021 | 1999-09-14 | 5.305 | 5.05 | 105.0495 | 5.0495 | 0.13077 | 2.6 | 2163 |  |  |  | µg/L | 50DIW-50145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2860074 | 1998-10-13 | 9.839 | 10.1 | 97.4158 | -2.5842 | -0.13385 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1020104 | 1999-04-12 | 12.707 | 10.1 | 125.8119 | 25.8119 | 1.3369 | 2.6 | 2163 |  |  |  | µg/L | 25147-75145
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 2960021 | 1998-10-23 | 1.868 | 0.45 | 415.1111 | 315.1111 | 0.72718 | 2.6 | 2163 |  |  |  | µg/L | 75DIW-25151
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 3450044 | 1998-12-11 | 10.995 | 10.1 | 108.8614 | 8.8614 | 0.45897 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1620003 | 1999-06-11 | 9.415 | 10.1 | 93.2178 | -6.7822 | -0.35128 | 2.6 | 2163 |  |  |  | µg/L | 25145-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 0080042 | 1999-01-08 | 7.978 | 7.222 | 110.468 | 10.468 | 0.38769 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 1999 | 1900022 | 1999-07-09 | 7.517 | 7.222 | 104.0847 | 4.0847 | 0.15128 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75143
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 3620015 | 1999-12-28 | 8.796 | 7.575 | 116.1188 | 16.1188 | 0.62615 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1750049 | 2000-06-23 | 7.314 | 7.575 | 96.5545 | -3.4455 | -0.13385 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0560187 | 2000-02-25 | 6.009 | 6.75 | 89.0222 | -10.9778 | -0.38 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2380033 | 2000-08-25 | 7.325 | 6.75 | 108.5185 | 8.5185 | 0.29487 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2950006 | 1999-10-22 | 6.767 | 6.75 | 100.2519 | 0.25185 | 0.0087179 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1190027 | 2000-04-28 | 8.531 | 6.75 | 126.3852 | 26.3852 | 0.91333 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0700007 | 2000-03-10 | 6.6 | 6.66 | 99.0991 | -0.9009 | -0.030769 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2520009 | 2000-09-08 | 7.44 | 6.66 | 111.7117 | 11.7117 | 0.4 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0200005 | 2000-01-20 | 8.062 | 7.575 | 106.429 | 6.429 | 0.24974 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2020140 | 2000-07-20 | 9.817 | 7.575 | 129.5974 | 29.5974 | 1.1497 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 3340035 | 1999-11-30 | 5.786 | 6.66 | 86.8769 | -13.1231 | -0.44821 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1330062 | 2000-05-12 | 7.215 | 6.66 | 108.3333 | 8.3333 | 0.28462 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 3510021 | 1999-12-17 | 2.457 | 2.07 | 118.6957 | 18.6957 | 0.19846 | 2.6 | 2163 |  |  |  | µg/L | 75DIW-25155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1670026 | 2000-06-15 | 1.666 | 2.07 | 80.4831 | -19.5169 | -0.20718 | 2.6 | 2163 |  |  |  | µg/L | 75DIW-25155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 3350026 | 1999-12-01 | 6.185 | 6.75 | 91.6296 | -8.3704 | -0.28974 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1470035 | 2000-05-26 | 6.357 | 6.75 | 94.1778 | -5.8222 | -0.20154 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 3230017 | 1999-11-19 | 10.167 | 9.645 | 105.4121 | 5.4121 | 0.26769 | 2.6 | 2163 |  |  |  | µg/L | 25155-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0490045 | 2000-02-18 | 11.824 | 9.645 | 122.592 | 22.592 | 1.1174 | 2.6 | 2163 |  |  |  | µg/L | 25155-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2300006 | 2000-08-17 | 10.84 | 9.645 | 112.3898 | 12.3898 | 0.61282 | 2.6 | 2163 |  |  |  | µg/L | 25155-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0420193 | 2000-02-11 | 5.913 | 6.66 | 88.7838 | -11.2162 | -0.38308 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2240005 | 2000-08-11 | 5.693 | 6.66 | 85.4805 | -14.5195 | -0.4959 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0140022 | 2000-01-14 | 9.025 | 7.575 | 119.1419 | 19.1419 | 0.74359 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1960034 | 2000-07-14 | 9.607 | 7.575 | 126.8251 | 26.8251 | 1.0421 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0760006 | 2000-03-16 | 2.096 | 2.07 | 101.256 | 1.256 | 0.013333 | 2.6 | 2163 |  |  |  | µg/L | 75DIW-25155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2580146 | 2000-09-14 | 2.744 | 2.07 | 132.5604 | 32.5604 | 0.34564 | 2.6 | 2163 |  |  |  | µg/L | 75DIW-25155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0840019 | 2000-03-24 | 9.261 | 7.575 | 122.2574 | 22.2574 | 0.86462 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2660019 | 2000-09-22 | 9.244 | 7.575 | 122.033 | 22.033 | 0.8559 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2870017 | 1999-10-14 | 8.698 | 7.575 | 114.8251 | 14.8251 | 0.5759 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1110013 | 2000-04-20 | 9.395 | 7.575 | 124.0264 | 24.0264 | 0.93333 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2810035 | 1999-10-08 | 8.692 | 7.575 | 114.7459 | 14.7459 | 0.57282 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1050030 | 2000-04-14 | 7.975 | 7.575 | 105.2805 | 5.2805 | 0.20513 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75147
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 3440006 | 1999-12-10 | 5.333 | 6.66 | 80.0751 | -19.9249 | -0.68051 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 1610028 | 2000-06-09 | 6.736 | 6.66 | 101.1411 | 1.1411 | 0.038974 | 2.6 | 2163 |  |  |  | µg/L | 25151-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 0280012 | 2000-01-28 | 6.439 | 6.75 | 95.3926 | -4.6074 | -0.15949 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2000 | 2100026 | 2000-07-28 | 7.22 | 6.75 | 106.963 | 6.963 | 0.24103 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75153
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2940028 | 2000-10-20 | 2.602 | 2.3 | 113.1304 | 13.1304 | 0.15487 | 2.6 | 2163 |  |  |  | µg/L | 50157-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1090020 | 2001-04-19 | 2.253 | 2.3 | 97.9565 | -2.0435 | -0.024103 | 2.6 | 2163 |  |  |  | µg/L | 50157-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2870150 | 2000-10-13 | 3.712 | 4.118 | 90.1408 | -9.8592 | -0.20821 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3010023 | 2000-10-27 | 3.582 | 4.118 | 86.984 | -13.016 | -0.27487 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1060118 | 2001-04-16 | 4.877 | 4.118 | 118.4313 | 18.4313 | 0.38923 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1200262 | 2001-04-30 | 4.08 | 4.118 | 99.0772 | -0.92278 | -0.019487 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3210014 | 2000-11-16 | 5.393 | 5.268 | 102.3728 | 2.3728 | 0.064103 | 2.6 | 2163 |  |  |  | µg/L | 25157-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1360147 | 2001-05-16 | 5.489 | 5.268 | 104.1951 | 4.1951 | 0.11333 | 2.6 | 2163 |  |  |  | µg/L | 25157-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3190010 | 2000-11-14 | 5.727 | 5.52 | 103.75 | 3.75 | 0.10615 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3360007 | 2000-12-01 | 5.322 | 5.52 | 96.413 | -3.587 | -0.10154 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1350100 | 2001-05-15 | 4.965 | 5.52 | 89.9457 | -10.0543 | -0.28462 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1450092 | 2001-05-25 | 5.8753 | 5.52 | 106.4366 | 6.4366 | 0.18221 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0470123 | 2001-02-16 | 5.013 | 5.268 | 95.1595 | -4.8405 | -0.13077 | 2.6 | 2163 |  |  |  | µg/L | 25157-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2290040 | 2001-08-17 | 5.9908 | 5.268 | 113.7206 | 13.7206 | 0.37067 | 2.6 | 2163 |  |  |  | µg/L | 25157-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0400056 | 2001-02-09 | 5.084 | 5.52 | 92.1014 | -7.8986 | -0.22359 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0540012 | 2001-02-23 | 5.33 | 5.52 | 96.558 | -3.442 | -0.097436 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2290033 | 2001-08-17 | 6.0261 | 5.52 | 109.1685 | 9.1685 | 0.25954 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2360204 | 2001-08-24 | 6.0773 | 5.52 | 110.096 | 10.096 | 0.28579 | 2.6 | 2163 |  |  |  | µg/L | 25155-75157
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2000086 | 2001-07-19 | 1.6533 | 2.3 | 71.8826 | -28.1174 | -0.33164 | 2.6 | 2163 |  |  |  | µg/L | 50157-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0120023 | 2001-01-12 | 4.203 | 4.118 | 102.0641 | 2.0641 | 0.04359 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0260035 | 2001-01-26 | 3.24 | 4.118 | 78.679 | -21.321 | -0.45026 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1940053 | 2001-07-13 | 4.5097 | 4.118 | 109.5119 | 9.5119 | 0.20087 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2080026 | 2001-07-27 | 5.1817 | 4.118 | 125.8305 | 25.8305 | 0.54549 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0740033 | 2001-03-15 | 3.82 | 4.14 | 92.2705 | -7.7295 | -0.1641 | 2.6 | 2163 |  |  |  | µg/L | 50155-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2570065 | 2001-09-14 | 4.1288 | 4.14 | 99.7307 | -0.26932 | -0.0057179 | 2.6 | 2163 |  |  |  | µg/L | 50155-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0680028 | 2001-03-09 | 7.218 | 7.583 | 95.1866 | -4.8134 | -0.18718 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 0820135 | 2001-03-23 | 8.531 | 7.583 | 112.5016 | 12.5016 | 0.48615 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 2670102 | 2001-09-24 | 7.3347 | 7.583 | 96.7256 | -3.2744 | -0.12733 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3490009 | 2000-12-14 | 3.437 | 4.14 | 83.0193 | -16.9807 | -0.36051 | 2.6 | 2163 |  |  |  | µg/L | 50155-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1650042 | 2001-06-14 | 4.4388 | 4.14 | 107.2174 | 7.2174 | 0.15323 | 2.6 | 2163 |  |  |  | µg/L | 50155-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3430048 | 2000-12-08 | 7.019 | 7.583 | 92.5623 | -7.4377 | -0.28923 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 3610150 | 2000-12-26 | 7.276 | 7.583 | 95.9515 | -4.0485 | -0.15744 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1590007 | 2001-06-08 | 7.2931 | 7.583 | 96.177 | -3.823 | -0.14867 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2001 | 1730085 | 2001-06-22 | 7.229 | 7.583 | 95.3317 | -4.6683 | -0.18154 | 2.6 | 2163 |  |  |  | µg/L | 25159-75155
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2880021 | 2001-10-15 | 4.2175 | 4.44 | 94.9885 | -5.0115 | -0.11411 | 2.6 | 2163 |  |  |  | µg/L | 50163-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1010040 | 2002-04-23 | 5.3154 | 4.44 | 119.7167 | 19.7167 | 0.58361 | 2 | 2163 |  |  |  | µg/L | 50163-50DIW | SEAT113A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2890021 | 2001-10-16 | 6.1857 | 6.66 | 92.8789 | -7.1211 | -0.24321 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75163
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 3050002 | 2001-11-01 | 7.5926 | 6.66 | 114.0024 | 14.0024 | 0.47824 | 2.6 | 2163 |  |  |  | µg/L | 25DIW-75163
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1070007 | 2002-04-25 | 8.2225 | 6.66 | 123.4617 | 23.4617 | 1.0417 | 2 | 2163 |  |  |  | µg/L | 25DIW-75163 | SEAT115A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1210023 | 2002-05-13 | 9.0327 | 6.66 | 135.6267 | 35.6267 | 1.5818 | 2 | 2163 |  |  |  | µg/L | 25DIW-75163 | SEAT133A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 3180052 | 2001-11-14 | 4.8181 | 4.79 | 100.5863 | 0.58628 | 0.014402 | 2.6 | 2163 |  |  |  | µg/L | 50161-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1300024 | 2002-05-17 | 4.4 | 4.79 | 91.858 | -8.142 | -0.26 | 2 | 2163 |  |  |  | µg/L | 50161-50DIW | SEAT137A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 3180056 | 2001-11-14 | 5.9263 | 6.338 | 93.5047 | -6.4953 | -0.21112 | 2.6 | 2163 |  |  |  | µg/L | 25163-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 3330011 | 2001-11-29 | 6.8764 | 6.338 | 108.4953 | 8.4953 | 0.27612 | 2.6 | 2163 |  |  |  | µg/L | 25163-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1330103 | 2002-05-29 | 6.372 | 6.338 | 100.5365 | 0.5365 | 0.022669 | 2 | 2163 |  |  |  | µg/L | 25163-75159 | SEAT149A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1490008 | 2002-06-07 | 6.5187 | 6.338 | 102.8504 | 2.8504 | 0.06022 | 4 | 2163 |  |  |  | µg/L | 25163-75159 | SEAT158A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0430023 | 2002-03-04 | 4.4604 | 4.79 | 93.118 | -6.882 | -0.21976 | 2 | 2163 |  |  |  | µg/L | 50161-50DIW | SEAT063A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2250066 | 2002-08-29 | 4.7159 | 4.79 | 98.4534 | -1.5466 | -0.049388 | 2 | 2163 |  |  |  | µg/L | 50161-50DIW | SEAT241C
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0440002 | 2002-03-04 | 5.2752 | 6.338 | 83.2307 | -16.7693 | -0.70856 | 2 | 2163 |  |  |  | µg/L | 25163-75159 | SEAT063A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0590014 | 2002-03-11 | 6.7811 | 6.338 | 106.9911 | 6.9911 | 0.2954 | 2 | 2163 |  |  |  | µg/L | 25163-75159 | SEAT070A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2270223 | 2002-08-29 | 7.0788 | 6.338 | 111.6882 | 11.6882 | 0.49387 | 2 | 2163 |  |  |  | µg/L | 25163-75159 | SEAT241C
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2420164 | 2002-09-23 | 6.2613 | 6.338 | 98.79 | -1.21 | -0.051127 | 2 | 2163 |  |  |  | µg/L | 25163-75159 | SEAT259C
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0110019 | 2002-01-11 | 4.9132 | 4.44 | 110.6583 | 10.6583 | 0.24268 | 2.6 | 2163 |  |  |  | µg/L | 50163-50DIW
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1930145 | 2002-07-23 | 4.9883 | 4.44 | 112.3483 | 12.3483 | 0.36551 | 2 | 2163 |  |  |  | µg/L | 50163-50DIW | SEAT204A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0160028 | 2002-01-28 | 6.9787 | 6.66 | 104.7857 | 4.7857 | 0.21249 | 2 | 2163 |  |  |  | µg/L | 25DIW-75163 | SEAT023A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0300033 | 2002-02-05 | 6.965 | 6.66 | 104.5801 | 4.5801 | 0.20336 | 2 | 2163 |  |  |  | µg/L | 25DIW-75163 | SEAT036A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1970106 | 2002-07-31 | 7.3 | 6.66 | 109.6096 | 9.6096 | 0.42667 | 2 | 2163 |  |  |  | µg/L | 25DIW-75163 | SEAT211A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2110238 | 2002-08-22 | 7.0926 | 6.66 | 106.4953 | 6.4953 | 0.28839 | 2 | 2163 |  |  |  | µg/L | 25DIW-75163 | SEAT227C
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0720161 | 2002-03-25 | 6.4552 | 6.513 | 99.1119 | -0.88809 | -0.038561 | 2 | 2163 |  |  |  | µg/L | 25161-75159 | SEAT084A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2560317 | 2002-10-02 | 7.217 | 6.513 | 110.8091 | 10.8091 | 0.46933 | 2 | 2163 |  |  |  | µg/L | 25161-75159 | SEAT275A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0740014 | 2002-03-25 | 9.204 | 8.558 | 107.5479 | 7.5479 | 0.43064 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT084A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0870220 | 2002-04-11 | 10.0929 | 8.558 | 117.9357 | 17.9357 | 1.0233 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT100A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2600106 | 2002-10-02 | 10.1848 | 8.558 | 119.009 | 19.009 | 1.0845 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT275C
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 2740174 | 2002-10-08 | 9.1697 | 8.558 | 107.1478 | 7.1478 | 0.40781 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT281A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 3470012 | 2001-12-13 | 7.7993 | 6.513 | 119.7493 | 19.7493 | 0.65963 | 2.6 | 2163 |  |  |  | µg/L | 25161-75159
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1620159 | 2002-06-24 | 6.9522 | 6.513 | 106.744 | 6.744 | 0.29282 | 2 | 2163 |  |  |  | µg/L | 25161-75159 | SEAT175A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 3520048 | 2002-01-07 | 8.186 | 8.558 | 95.6534 | -4.3466 | -0.24799 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT007A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 0020016 | 2002-01-07 | 6.9152 | 8.558 | 80.8034 | -19.1966 | -1.0952 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT007A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1630047 | 2002-06-24 | 8.9449 | 8.558 | 104.5214 | 4.5214 | 0.25796 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT175A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2002 | 1790031 | 2002-07-09 | 10.1445 | 8.558 | 118.5381 | 18.5381 | 1.0577 | 2 | 2163 |  |  |  | µg/L | 25159-75161 | SEAT190A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2800033 | 2002-10-15 | 2.0577 | 2.205 | 93.3186 | -6.6814 | -0.075552 | 2.6 | 2163 |  |  |  | µg/L | 75169-25DIW | SEAT288A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2940107 | 2002-11-13 | 1.8803 | 2.205 | 85.2725 | -14.7275 | -0.16653 | 2.6 | 2163 |  |  |  | µg/L | 75169-25DIW | SEAT316A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 3260093 | 2002-12-09 | 4.6611 | 5.27 | 88.4465 | -11.5535 | -0.31224 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT343A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 1280125 | 2003-05-20 | 4.9286 | 5.27 | 93.5228 | -6.4772 | -0.17505 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT140A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 1420131 | 2003-06-02 | 5.1644 | 5.27 | 97.9962 | -2.0038 | -0.054154 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT149A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 0370069 | 2003-02-20 | 5.6021 | 5.27 | 106.3013 | 6.3013 | 0.1703 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT050A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 0550130 | 2003-03-06 | 4.9758 | 5.27 | 94.4181 | -5.5819 | -0.15085 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT062A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2190295 | 2003-08-20 | 4.5718 | 5.27 | 86.7515 | -13.2485 | -0.35805 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT03231A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2370104 | 2003-11-05 | 6.0871 | 5.27 | 115.505 | 15.505 | 0.41903 | 2.6 | 2163 |  |  |  | µg/L | 50165-50169 | SEAT03309A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 0090081 | 2003-01-22 | 1.4257 | 2.205 | 64.6571 | -35.3429 | -0.39965 | 2.6 | 2163 |  |  |  | µg/L | 75169-25DIW | SEAT021A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 0240110 | 2003-02-04 | 1.7871 | 2.205 | 81.0467 | -18.9533 | -0.21432 | 2.6 | 2163 |  |  |  | µg/L | 75169-25DIW | SEAT034B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 1910189 | 2003-07-17 | 2.9065 | 2.205 | 131.8137 | 31.8137 | 0.35974 | 2.6 | 2163 |  |  |  | µg/L | 75169-25DIW | SEAT03197A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2050308 | 2003-08-08 | 1.8484 | 2.205 | 83.8286 | -16.1714 | -0.18286 | 2.6 | 2163 |  |  |  | µg/L | 75169-25DIW | SEAT03220A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 0660192 | 2003-03-24 | 5.2395 | 5.635 | 92.9812 | -7.0188 | -0.20283 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT076A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 0800097 | 2003-04-16 | 5.539 | 5.635 | 98.2968 | -1.7032 | -0.049217 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT106A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2520125 | 2003-10-27 | 11.1038 | 5.635 | 197.0512 | 97.0512 | 1.4023 | 5.2 | 2163 | Sample was diluted |  |  | µg/L | 50165-50167 | SEAT03296A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 2650128 | 2003-12-11 | 5.0851 | 5.635 | 90.2416 | -9.7584 | -0.28199 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT03345A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 3400088 | 2002-12-16 | 5.2399 | 5.635 | 92.9892 | -7.0108 | -0.20259 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT350A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 3540046 | 2003-01-08 | 6.299 | 5.635 | 111.7841 | 11.7841 | 0.34053 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT007A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 1570333 | 2003-06-12 | 5.8421 | 5.635 | 103.6745 | 3.6745 | 0.10618 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT162A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2003 | 1740037 | 2003-07-07 | 5.5 | 5.635 | 97.6043 | -2.3957 | -0.069231 | 2.6 | 2163 |  |  |  | µg/L | 50165-50167 | SEAT03184A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2830157 | 2003-12-11 | 2.9162 | 3.4875 | 83.6201 | -16.3799 | -0.5859 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT03345A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2930066 | 2003-11-05 | 7.57 | 3.4875 | 217.0609 | 117.0609 | 2.0936 | 5.2 | 2163 | Sample was diluted | See result laboratory comment |  | µg/L | 25169-75167 | SEAT03309A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3000110 | 2003-11-05 | 3.6636 | 3.4875 | 105.0486 | 5.0486 | 0.090292 | 5.2 | 2163 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | 25169-75167 | SEAT03309A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3070098 | 2003-11-20 | 2.6746 | 3.4875 | 76.6919 | -23.3081 | -0.83371 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT03323B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1030047 | 2004-04-21 | 2.7108 | 3.4875 | 77.73 | -22.27 | -0.79658 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04110B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1100106 | 2004-04-27 | 3.2502 | 3.4875 | 93.197 | -6.803 | -0.24334 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04118A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1170095 | 2004-05-03 | 3.2089 | 3.4875 | 92.0105 | -7.9895 | -0.28578 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04124A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1240073 | 2004-05-10 | 3.2128 | 3.4875 | 92.1238 | -7.8762 | -0.28173 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04131A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3110125 | 2003-12-01 | 1.8035 | 2.53 | 71.2842 | -28.7158 | -0.74514 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT03324A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3210079 | 2003-12-01 | 2.2233 | 2.53 | 87.879 | -12.121 | -0.31453 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT03335A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3350068 | 2003-12-15 | 2.0899 | 2.53 | 82.6047 | -17.3953 | -0.45138 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT03349B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1310151 | 2004-05-20 | 1.7863 | 2.53 | 70.6054 | -29.3946 | -0.76275 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04140B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1380194 | 2004-05-24 | 2.5271 | 2.53 | 99.884 | -0.11603 | -0.0030108 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04145A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1450201 | 2004-06-01 | 2.8111 | 2.53 | 111.11 | 11.11 | 0.28829 | 2.6 | 2163 |  |  |  | µg/L | 50167-50171 | SEAT04153A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1480239 | 2004-06-07 | 1.5295 | 2.53 | 60.4533 | -39.5467 | -1.0262 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04159A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0400041 | 2004-02-09 | 2.4 | 2.53 | 94.8617 | -5.1383 | -0.13333 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0480046 | 2004-03-08 | 2.1586 | 2.53 | 85.3194 | -14.6806 | -0.38094 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04064B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0550021 | 2004-03-08 | 2.3008 | 2.53 | 90.942 | -9.058 | -0.23504 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04068A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0610096 | 2004-03-17 | 1.9018 | 2.53 | 75.169 | -24.831 | -0.64433 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04075A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2230162 | 2004-08-17 | 2.4707 | 2.53 | 97.6548 | -2.3452 | -0.060854 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50167-50171 | SEAT04229B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2310192 | 2004-08-25 | 2.8755 | 2.53 | 113.6566 | 13.6566 | 0.35437 | 2.6 | 2163 |  |  |  | µg/L | 50167-50171 | SEAT04238A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2370249 | 2004-09-14 | 5.8354 | 2.53 | 230.6488 | 130.6488 | 3.3902 | 2.6 | 2163 |  |  |  | µg/L | 50167-50171 | SEAT04251A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2450031 | 2004-09-17 | 3.1009 | 2.53 | 122.5639 | 22.5639 | 0.5855 | 2.6 | 2163 |  |  |  | µg/L | 50167-50171 | SEAT04261A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0090099 | 2004-01-29 | 3.3 | 3.4875 | 94.6237 | -5.3763 | -0.19231 | 2.6 | 2163 | See result laboratory comment |  |  | µg/L | 25169-75167 | SEAT04029A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0160108 | 2004-02-03 | 4.4688 | 3.4875 | 128.1365 | 28.1365 | 1.0064 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04033A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0260156 | 2004-03-03 | 1.8358 | 3.4875 | 52.6403 | -47.3597 | -1.694 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25169-75167 | SEAT04063A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0330060 | 2004-02-13 | 2.4 | 3.4875 | 68.8172 | -31.1828 | -1.1154 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25169-75167 | SEAT04044A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 1940079 | 2004-07-20 | 3.1328 | 3.4875 | 89.8304 | -10.1696 | -0.36376 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04202B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2010329 | 2004-07-28 | 3.0718 | 3.4875 | 88.0811 | -11.9189 | -0.42633 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04210A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2090126 | 2004-08-03 | 3.6056 | 3.4875 | 103.3853 | 3.3853 | 0.12109 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04215B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2150100 | 2004-08-11 | 3.2832 | 3.4875 | 94.1429 | -5.8571 | -0.2095 | 2.6 | 2163 |  |  |  | µg/L | 25169-75167 | SEAT04224A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0750067 | 2004-03-31 | 1.5985 | 0.695 | 230.0049 | 130.0049 | 0.9267 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | SEAT04090B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 0890094 | 2004-04-12 | 1.3344 | 0.695 | 192.0064 | 92.0064 | 0.65584 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | SEAT04103A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 2530302 | 2004-09-28 | 3.2848 | 0.695 | 472.626 | 372.626 | 2.6562 | 2.6 | 2163 |  |  |  | µg/L | 50171-50DIW | SEAT04272A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3570149 | 2004-01-16 | 1.6 | 0.695 | 230.2158 | 130.2158 | 0.92821 | 2.6 | 2163 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 50171-50DIW | SEAT04014A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2004 | 3650050 | 2004-01-29 | 1.4 | 0.695 | 201.4388 | 101.4388 | 0.72308 | 2.6 | 2163 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 50171-50DIW | SEAT04029A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 2790158 | 2004-10-14 | 1.4583 | 0.695 | 209.8222 | 109.8222 | 0.78284 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | SEAT04288A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 2870067 | 2004-10-26 | 1.8947 | 0.695 | 272.6152 | 172.6152 | 1.2304 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | SEAT04299A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 2890202 | 2004-11-01 | 1.4086 | 0.695 | 202.6777 | 102.6777 | 0.73191 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | SEAT04306A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3080119 | 2004-12-02 | 1.4908 | 1.9225 | 77.5448 | -22.4552 | -0.44277 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT04337A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3100045 | 2004-11-17 | 1.5292 | 1.9225 | 79.5444 | -20.4556 | -0.40334 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT04321A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3150133 | 2004-12-02 | 1.516 | 1.9225 | 78.8546 | -21.1454 | -0.41694 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT04337A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3270047 | 2004-12-07 | 1.7926 | 1.9225 | 93.2416 | -6.7584 | -0.13326 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT04342A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3270055 | 2004-12-07 | 1.9876 | 1.9225 | 103.3841 | 3.3841 | 0.066727 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT04342A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3310073 | 2004-12-07 | 1.5377 | 1.9225 | 79.9849 | -20.0151 | -0.39466 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT04342A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1240240 | 2005-05-11 | 1.6797 | 1.9225 | 87.3717 | -12.6283 | -0.249 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT05131A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1260177 | 2005-05-11 | 1.919 | 1.9225 | 99.818 | -0.18196 | -0.0035879 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT05131A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1310147 | 2005-05-25 | 1.5605 | 1.9225 | 81.1698 | -18.8302 | -0.37129 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT05144B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1330244 | 2005-05-31 | 2.4067 | 1.9225 | 125.1852 | 25.1852 | 0.4966 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT05146A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1400211 | 2005-06-06 | 1.548 | 1.9225 | 80.5213 | -19.4787 | -0.38408 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT05157A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1450132 | 2005-06-07 | 1.8322 | 1.9225 | 95.3025 | -4.6975 | -0.092626 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 25171-75175 | SEAT05158A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 2170141 | 2005-08-17 | 1.3889 | 1.235 | 112.4602 | 12.4602 | 0.15783 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50173-50DIW | SEAT05229A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 0070093 | 2005-01-25 | 3.6325 | 2.285 | 158.9732 | 58.9732 | 1.3821 | 2.6 | 2163 |  |  |  | µg/L | 50175-50173 | SEAT05025A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 0240052 | 2005-02-03 | 2.713 | 2.285 | 118.7309 | 18.7309 | 0.43898 | 2.6 | 2163 |  |  |  | µg/L | 50175-50173 | SEAT05034A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 0310045 | 2005-02-15 | 1.5003 | 2.285 | 65.6592 | -34.3408 | -0.80481 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50175-50173 | SEAT05045A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1890262 | 2005-07-25 | 1.9214 | 2.285 | 84.0889 | -15.9111 | -0.37289 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50175-50173 | SEAT05206A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1940291 | 2005-07-27 | 1.5073 | 2.285 | 65.9643 | -34.0357 | -0.79766 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50175-50173 | SEAT05208A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1960084 | 2005-08-02 | 1.7304 | 2.285 | 75.7276 | -24.2724 | -0.56885 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50175-50173 | SEAT05213A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 2080322 | 2005-08-02 | 1.6506 | 2.285 | 72.2379 | -27.7621 | -0.65063 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50175-50173 | SEAT05213A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 2100063 | 2005-08-10 | 5.4032 | 2.285 | 236.4627 | 136.4627 | 3.1981 | 2.6 | 2163 |  |  |  | µg/L | 50175-50173 | SEAT05221A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 3640101 | 2005-01-10 | 1.3142 | 1.93 | 68.0912 | -31.9088 | -0.63163 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50173 | SEAT05006A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1600261 | 2005-07-12 | 1.9529 | 1.93 | 101.1867 | 1.1867 | 0.02349 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50173 | SEAT05193A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1650165 | 2005-07-12 | 1.444 | 1.93 | 74.8174 | -25.1826 | -0.49849 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50173 | SEAT05193B
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1670215 | 2005-07-13 | 1.7101 | 1.93 | 88.6044 | -11.3956 | -0.22557 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50173 | SEAT05194A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1740229 | 2005-07-20 | 1.5815 | 1.93 | 81.9426 | -18.0574 | -0.35744 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50173 | SEAT05200A
Selenium, UNF, GFAA | 01147 | GF102 | UNF | 2005 | 1800017 | 2005-07-21 | 1.618 | 1.93 | 83.8368 | -16.1632 | -0.31995 | 2.6 | 2163 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50173 | SEAT05202A