## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2790155 | 2004-10-08 |  | 0.223 | 0.22 | 101.3636 | 1.3636 | 0.021464 | 0.13977 | 0.04 | 2188 |  |  |  | mg/L | N83 | NUTA282A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2890201 | 2004-10-22 |  | 0.223 | 0.22 | 101.3636 | 1.3636 | 0.021464 | 0.13977 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA296A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2950150 | 2004-10-22 |  | 0.012 | 0.22 | 5.4545 | -94.5455 | 0.021464 | -9.6906 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA296A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 3030014 | 2004-10-29 |  | 0.228 | 0.22 | 103.6364 | 3.6364 | 0.021464 | 0.37272 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA303A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 3100008 | 2004-11-09 |  | 1.213 | 0.967 | 125.4395 | 25.4395 | 0.05971 | 4.1199 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA314A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 3170168 | 2004-11-24 |  | 0.994 | 0.967 | 102.7921 | 2.7921 | 0.05971 | 0.45218 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA328A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 3270044 | 2004-12-03 |  | 1.003 | 0.967 | 103.7229 | 3.7229 | 0.05971 | 0.60291 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA338A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 3340009 | 2004-12-03 |  | 1.001 | 0.967 | 103.516 | 3.516 | 0.05971 | 0.56942 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA338A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0060066 | 2005-01-14 |  | 1.006 | 0.967 | 104.0331 | 4.0331 | 0.05971 | 0.65315 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA014A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0130110 | 2005-01-14 |  | 1.015 | 0.967 | 104.9638 | 4.9638 | 0.05971 | 0.80388 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA014A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0210117 | 2005-02-02 |  | 1.026 | 0.967 | 106.1013 | 6.1013 | 0.05971 | 0.9881 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA033A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0280056 | 2005-02-02 |  | 1.028 | 0.967 | 106.3082 | 6.3082 | 0.05971 | 1.0216 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA033A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0380087 | 2005-02-15 |  | 0.228 | 0.22 | 103.6364 | 3.6364 | 0.021464 | 0.37272 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA046A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0420136 | 2005-02-18 |  | 0.231 | 0.22 | 105 | 5 | 0.021464 | 0.51249 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA049A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0530107 | 2005-03-02 |  | 0.226 | 0.22 | 102.7273 | 2.7273 | 0.021464 | 0.27954 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA061A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0560031 | 2005-03-02 |  | 0.227 | 0.22 | 103.1818 | 3.1818 | 0.021464 | 0.32613 | 0.01 | 2188 |  |  |  | mg/L as N | N83 | NUTA061A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0630098 | 2005-03-11 |  | 1.016 | 0.967 | 105.0672 | 5.0672 | 0.05971 | 0.82063 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA070A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 0770127 | 2005-03-25 |  | 1.028 | 0.967 | 106.3082 | 6.3082 | 0.05971 | 1.0216 | 0.01 | 2188 |  |  |  | mg/L as N | N84 | NUTA084A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 1590164 | 2005-06-22 |  | 0.166 | 0.16 | 103.75 | 3.75 | 0.018392 | 0.32623 | 0.04 | 2188 |  |  |  | mg/L | N85 | NUTA173A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 1660203 | 2005-06-22 |  | 0.163 | 0.16 | 101.875 | 1.875 | 0.018392 | 0.16311 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA173A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 1730157 | 2005-06-30 |  | 0.163 | 0.16 | 101.875 | 1.875 | 0.018392 | 0.16311 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA181A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 1800226 | 2005-06-30 |  | 0.159 | 0.16 | 99.375 | -0.625 | 0.018392 | -0.054371 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA181A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2160219 | 2005-08-10 |  | 0.16 | 0.16 | 100 | 0 | 0.018392 | 0 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA222A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2230293 | 2005-08-31 |  | 0.158 | 0.16 | 98.75 | -1.25 | 0.018392 | -0.10874 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA243A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2300260 | 2005-08-31 |  | 0.148 | 0.16 | 92.5 | -7.5 | 0.018392 | -0.65246 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA243A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2005 | 2370195 | 2005-09-09 |  | 0.159 | 0.16 | 99.375 | -0.625 | 0.018392 | -0.054371 | 0.04 | 2188 |  |  |  | mg/L as N | N85 | NUTA250A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2790067 | 2005-10-07 |  | 0.276 | 0.264 | 104.5455 | 4.5455 | 0.023717 | 0.50597 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA280A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2870116 | 2005-11-01 |  | 0.267 | 0.264 | 101.1364 | 1.1364 | 0.023717 | 0.12649 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA305A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2970033 | 2005-11-01 |  | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.023717 | 0.16866 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA305A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3010127 | 2005-11-01 |  | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.023717 | 0.16866 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA305A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3080096 | 2005-11-10 |  | 1.222 | 1.17 | 104.4444 | 4.4444 | 0.070104 | 0.74176 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA314A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3180040 | 2005-11-16 |  | 1.219 | 1.17 | 104.188 | 4.188 | 0.070104 | 0.69896 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA320A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3250052 | 2005-12-02 |  | 1.228 | 1.17 | 104.9573 | 4.9573 | 0.070104 | 0.82734 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA336A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3340014 | 2005-12-02 |  | 1.239 | 1.17 | 105.8974 | 5.8974 | 0.070104 | 0.98425 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA336A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3400171 | 2005-12-12 |  | 0.267 | 0.264 | 101.1364 | 1.1364 | 0.023717 | 0.12649 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA346A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3480004 | 2005-12-23 |  | 0.283 | 0.264 | 107.197 | 7.197 | 0.023717 | 0.80112 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA357A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3550003 | 2005-12-23 |  | 0.278 | 0.264 | 105.303 | 5.303 | 0.023717 | 0.5903 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA357A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0060010 | 2006-01-11 |  | 1.2 | 1.17 | 102.5641 | 2.5641 | 0.070104 | 0.42794 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA010A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 3630003 | 2006-01-11 |  | 0.275 | 0.264 | 104.1667 | 4.1667 | 0.023717 | 0.46381 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA010A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0130007 | 2006-02-03 |  | 1.251 | 1.17 | 106.9231 | 6.9231 | 0.070104 | 1.1554 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA034A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0250061 | 2006-02-03 |  | 1.24 | 1.17 | 105.9829 | 5.9829 | 0.070104 | 0.99852 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA034A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0300056 | 2006-02-03 |  | 1.238 | 1.17 | 105.812 | 5.812 | 0.070104 | 0.96999 | 0.04 | 2188 |  |  |  | mg/L as N | N88 | NUTA034A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0370020 | 2006-02-10 |  | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.023717 | 0.084328 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA041A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0440050 | 2006-02-15 |  | 0.269 | 0.264 | 101.8939 | 1.8939 | 0.023717 | 0.21082 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA046A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0520090 | 2006-02-24 |  | 0.275 | 0.264 | 104.1667 | 4.1667 | 0.023717 | 0.46381 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA055A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0590097 | 2006-03-09 |  | 0.269 | 0.264 | 101.8939 | 1.8939 | 0.023717 | 0.21082 | 0.04 | 2188 |  |  |  | mg/L as N | N87 | NUTA068A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 0960079 | 2006-05-05 |  | 0.277 | 0.274 | 101.0949 | 1.0949 | 0.024229 | 0.12382 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1030092 | 2006-05-05 |  | 0.275 | 0.274 | 100.365 | 0.36496 | 0.024229 | 0.041273 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1100072 | 2006-05-05 |  | 0.311 | 0.274 | 113.5036 | 13.5036 | 0.024229 | 1.5271 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1170185 | 2006-05-05 |  | 0.273 | 0.274 | 99.635 | -0.36496 | 0.024229 | -0.041273 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1240139 | 2006-05-05 |  | 0.45 | 0.45 | 100 | 0 | 0.03324 | 0 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA125A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1310141 | 2006-05-18 |  | 0.455 | 0.45 | 101.1111 | 1.1111 | 0.03324 | 0.15042 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA138A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1380007 | 2006-06-08 |  | 0.462 | 0.45 | 102.6667 | 2.6667 | 0.03324 | 0.36101 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA159A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1460014 | 2006-06-08 |  | 0.464 | 0.45 | 103.1111 | 3.1111 | 0.03324 | 0.42118 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA159A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1590159 | 2006-06-27 |  | 0.274 | 0.274 | 100 | 0 | 0.024229 | 0 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA178A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1660142 | 2006-06-27 |  | 0.274 | 0.274 | 100 | 0 | 0.024229 | 0 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA178A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1740207 | 2006-06-27 |  | 0.287 | 0.274 | 104.7445 | 4.7445 | 0.024229 | 0.53655 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA178A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1800256 | 2006-07-26 |  | 0.272 | 0.274 | 99.2701 | -0.72993 | 0.024229 | -0.082546 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA207A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1910087 | 2006-07-26 |  | 0.448 | 0.45 | 99.5556 | -0.44444 | 0.03324 | -0.060168 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA207A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 1940288 | 2006-07-26 |  | 0.445 | 0.45 | 98.8889 | -1.1111 | 0.03324 | -0.15042 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA207A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2010014 | 2006-07-26 |  | 0.456 | 0.45 | 101.3333 | 1.3333 | 0.03324 | 0.18051 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA207A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2080103 | 2006-08-03 |  | 0.445 | 0.45 | 98.8889 | -1.1111 | 0.03324 | -0.15042 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA215A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2190168 | 2006-08-30 |  | 0.275 | 0.274 | 100.365 | 0.36496 | 0.024229 | 0.041273 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA242A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2230254 | 2006-08-30 |  | 0.21 | 0.274 | 76.6423 | -23.3577 | 0.024229 | -2.6415 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA242A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2300084 | 2006-08-30 |  | 0.263 | 0.274 | 95.9854 | -4.0146 | 0.024229 | -0.45401 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA242A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2370428 | 2006-08-30 |  | 0.251 | 0.274 | 91.6058 | -8.3942 | 0.024229 | -0.94928 | 0.04 | 2188 |  |  |  | mg/L as N | N89 | NUTA242A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2500163 | 2006-09-27 |  | 0.446 | 0.45 | 99.1111 | -0.88889 | 0.03324 | -0.12034 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA270A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2580203 | 2006-09-27 |  | 0.442 | 0.45 | 98.2222 | -1.7778 | 0.03324 | -0.24067 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA270A
Ammonia (NH3 as N), UNF, CFA, Acidified | 00610 | CL017 | UNF | 2006 | 2650114 | 2006-09-27 |  | 0.443 | 0.45 | 98.4444 | -1.5556 | 0.03324 | -0.21059 | 0.04 | 2188 |  |  |  | mg/L as N | N90 | NUTA270A