## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1500068 | 2006-06-02 |  | 0.84618 | 0.8425 | 100.4368 | 0.4368 | 0.042125 | 0.087359 | 0.006 | 3118 | Sample was diluted |  |  | mg/L | NS16 | KONE06153A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1570197 | 2006-06-13 |  | 0.47557 | 0.454 | 104.7511 | 4.7511 | 0.0227 | 0.95022 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06163A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1570196 | 2006-06-13 |  | 0.3237 | 0.275 | 117.7091 | 17.7091 | 0.01375 | 3.5418 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06163A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1590161 | 2006-06-15 |  | 0.04762 | 0.0454 | 104.8899 | 4.8899 | 0.00227 | 0.97797 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06166B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1630152 | 2006-06-20 |  | 0.87569 | 0.8425 | 103.9395 | 3.9395 | 0.042125 | 0.78789 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06171A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1600197 | 2006-06-20 |  | 0.27624 | 0.275 | 100.4509 | 0.45091 | 0.01375 | 0.090182 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06171A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1650115 | 2006-06-21 |  | 0.46613 | 0.454 | 102.6718 | 2.6718 | 0.0227 | 0.53436 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06171B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1660144 | 2006-06-21 |  | 0.2669 | 0.275 | 97.0545 | -2.9455 | 0.01375 | -0.58909 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06171B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1660143 | 2006-06-21 |  | 0.0455 | 0.0454 | 100.2203 | 0.22026 | 0.00227 | 0.044053 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06171B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1650114 | 2006-06-22 |  | 0.27056 | 0.275 | 98.3855 | -1.6145 | 0.01375 | -0.32291 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06171C
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1670251 | 2006-06-22 |  | 0.26627 | 0.275 | 96.8255 | -3.1745 | 0.01375 | -0.63491 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06171C
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1590160 | 2006-06-23 |  | 0.26985 | 0.275 | 98.1273 | -1.8727 | 0.01375 | -0.37455 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06174A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1730121 | 2006-06-28 |  | 0.46012 | 0.454 | 101.348 | 1.348 | 0.0227 | 0.2696 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06179A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1730119 | 2006-06-28 |  | 0.83981 | 0.8425 | 99.6807 | -0.31929 | 0.042125 | -0.063858 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06179A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1730122 | 2006-06-28 |  | 0.27354 | 0.275 | 99.4691 | -0.53091 | 0.01375 | -0.10618 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06179A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1740205 | 2006-06-29 |  | 0.28132 | 0.275 | 102.2982 | 2.2982 | 0.01375 | 0.45964 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06180A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1740232 | 2006-06-29 |  | 0.28184 | 0.275 | 102.4873 | 2.4873 | 0.01375 | 0.49745 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06180A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1740206 | 2006-06-29 |  | 0.04672 | 0.0454 | 102.9075 | 2.9075 | 0.00227 | 0.5815 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06180A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1780110 | 2006-06-30 |  | 0.84734 | 0.8425 | 100.5745 | 0.57448 | 0.042125 | 0.1149 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06181A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1790177 | 2006-07-12 |  | 0.4607 | 0.454 | 101.4758 | 1.4758 | 0.0227 | 0.29515 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06191A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1800255 | 2006-07-12 |  | 0.26807 | 0.275 | 97.48 | -2.52 | 0.01375 | -0.504 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06191A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1800254 | 2006-07-12 |  | 0.04447 | 0.0454 | 97.9515 | -2.0485 | 0.00227 | -0.40969 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06191A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1790176 | 2006-07-13 |  | 0.2825 | 0.275 | 102.7273 | 2.7273 | 0.01375 | 0.54545 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06194A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1810352 | 2006-07-13 |  | 0.27729 | 0.275 | 100.8327 | 0.83273 | 0.01375 | 0.16655 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06194A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1860008 | 2006-07-14 |  | 0.83552 | 0.8425 | 99.1715 | -0.82849 | 0.042125 | -0.1657 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06194B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1860012 | 2006-07-14 |  | 0.27364 | 0.275 | 99.5055 | -0.49455 | 0.01375 | -0.098909 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06194B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1860013 | 2006-07-14 |  | 0.04666 | 0.0454 | 102.7753 | 2.7753 | 0.00227 | 0.55507 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06194B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1930117 | 2006-07-18 |  | 0.27296 | 0.275 | 99.2582 | -0.74182 | 0.01375 | -0.14836 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06198A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1910089 | 2006-07-18 |  | 0.46135 | 0.454 | 101.6189 | 1.6189 | 0.0227 | 0.32379 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06198A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1910075 | 2006-07-18 |  | 0.82594 | 0.8425 | 98.0344 | -1.9656 | 0.042125 | -0.39312 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06198A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1910082 | 2006-07-18 |  | 0.04582 | 0.0454 | 100.9251 | 0.92511 | 0.00227 | 0.18502 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06198A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1930116 | 2006-07-18 |  | 0.04509 | 0.0454 | 99.3172 | -0.68282 | 0.00227 | -0.13656 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06198A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1910088 | 2006-07-18 |  | 0.27403 | 0.275 | 99.6473 | -0.35273 | 0.01375 | -0.070545 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06198A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1940286 | 2006-07-19 |  | 0.46075 | 0.454 | 101.4868 | 1.4868 | 0.0227 | 0.29736 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06200A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1950018 | 2006-07-19 |  | 0.04612 | 0.0454 | 101.5859 | 1.5859 | 0.00227 | 0.31718 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06200A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1940287 | 2006-07-19 |  | 0.27773 | 0.275 | 100.9927 | 0.99273 | 0.01375 | 0.19855 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06200A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1990012 | 2006-07-21 |  | 0.82997 | 0.8425 | 98.5128 | -1.4872 | 0.042125 | -0.29745 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06201B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1990160 | 2006-07-26 |  | 0.27704 | 0.275 | 100.7418 | 0.74182 | 0.01375 | 0.14836 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06207A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2010013 | 2006-07-26 |  | 0.45338 | 0.454 | 99.8634 | -0.13656 | 0.0227 | -0.027313 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06207A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 1990161 | 2006-07-26 |  | 0.04572 | 0.0454 | 100.7048 | 0.70485 | 0.00227 | 0.14097 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06207A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2010012 | 2006-07-26 |  | 0.27368 | 0.275 | 99.52 | -0.48 | 0.01375 | -0.096 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06207A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2060032 | 2006-08-04 |  | 0.28123 | 0.275 | 102.2655 | 2.2655 | 0.01375 | 0.45309 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06216B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2060033 | 2006-08-04 |  | 0.04589 | 0.0454 | 101.0793 | 1.0793 | 0.00227 | 0.21586 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06216B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2020228 | 2006-08-07 |  | 0.04558 | 0.0454 | 100.3965 | 0.39648 | 0.00227 | 0.079295 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06216A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2080102 | 2006-08-10 |  | 0.45974 | 0.454 | 101.2643 | 1.2643 | 0.0227 | 0.25286 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06221A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2050122 | 2006-08-10 |  | 0.82916 | 0.8425 | 98.4166 | -1.5834 | 0.042125 | -0.31668 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06221A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2080101 | 2006-08-10 |  | 0.27561 | 0.275 | 100.2218 | 0.22182 | 0.01375 | 0.044364 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06221A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2090269 | 2006-08-11 |  | 0.04551 | 0.0454 | 100.2423 | 0.24229 | 0.00227 | 0.048458 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06222A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2120204 | 2006-08-14 |  | 0.84041 | 0.8425 | 99.7519 | -0.24807 | 0.042125 | -0.049614 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06222C
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2150118 | 2006-08-16 |  | 0.45599 | 0.454 | 100.4383 | 0.43833 | 0.0227 | 0.087665 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06227A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2150119 | 2006-08-16 |  | 0.27071 | 0.275 | 98.44 | -1.56 | 0.01375 | -0.312 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06227A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2190167 | 2006-08-17 |  | 0.27466 | 0.275 | 99.8764 | -0.12364 | 0.01375 | -0.024727 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06227B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2200105 | 2006-08-17 |  | 0.82399 | 0.8425 | 97.803 | -2.197 | 0.042125 | -0.43941 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06227B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2190169 | 2006-08-17 |  | 0.27533 | 0.275 | 100.12 | 0.12 | 0.01375 | 0.024 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06227B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2190166 | 2006-08-17 |  | 0.04592 | 0.0454 | 101.1454 | 1.1454 | 0.00227 | 0.22907 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06227B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2210200 | 2006-08-18 |  | 0.45806 | 0.454 | 100.8943 | 0.89427 | 0.0227 | 0.17885 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06229A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2210201 | 2006-08-18 |  | 0.2764 | 0.275 | 100.5091 | 0.50909 | 0.01375 | 0.10182 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06229A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2230255 | 2006-08-23 |  | 0.2809 | 0.275 | 102.1455 | 2.1455 | 0.01375 | 0.42909 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06233A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2260053 | 2006-08-23 |  | 0.28074 | 0.275 | 102.0873 | 2.0873 | 0.01375 | 0.41745 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06233A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2230256 | 2006-08-23 |  | 0.04754 | 0.0454 | 104.7137 | 4.7137 | 0.00227 | 0.94273 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06233A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2270192 | 2006-08-24 |  | 0.83872 | 0.8425 | 99.5513 | -0.44866 | 0.042125 | -0.089733 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06235A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2280129 | 2006-08-25 |  | 0.46404 | 0.454 | 102.2115 | 2.2115 | 0.0227 | 0.44229 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06235B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2280130 | 2006-08-25 |  | 0.28365 | 0.275 | 103.1455 | 3.1455 | 0.01375 | 0.62909 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06235B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2300085 | 2006-08-28 |  | 0.26587 | 0.275 | 96.68 | -3.32 | 0.01375 | -0.664 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06236A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2300083 | 2006-08-28 |  | 0.04567 | 0.0454 | 100.5947 | 0.59471 | 0.00227 | 0.11894 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06236A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2340038 | 2006-09-07 |  | 0.81746 | 0.8425 | 97.0279 | -2.9721 | 0.042125 | -0.59442 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06249A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2330214 | 2006-09-07 |  | 0.27381 | 0.275 | 99.5673 | -0.43273 | 0.01375 | -0.086545 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06249A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2360203 | 2006-09-12 |  | 0.43708 | 0.454 | 96.2731 | -3.7269 | 0.0227 | -0.74537 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06250A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2360202 | 2006-09-12 |  | 0.25254 | 0.275 | 91.8327 | -8.1673 | 0.01375 | -1.6335 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06250A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2370427 | 2006-09-13 |  | 0.26694 | 0.275 | 97.0691 | -2.9309 | 0.01375 | -0.58618 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06250B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2400119 | 2006-09-13 |  | 0.2711 | 0.275 | 98.5818 | -1.4182 | 0.01375 | -0.28364 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06250B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2370426 | 2006-09-13 |  | 0.04445 | 0.0454 | 97.9075 | -2.0925 | 0.00227 | -0.4185 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06250B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2410040 | 2006-09-19 |  | 0.81643 | 0.8425 | 96.9056 | -3.0944 | 0.042125 | -0.61887 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06261A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2480069 | 2006-09-20 |  | 0.2778 | 0.275 | 101.0182 | 1.0182 | 0.01375 | 0.20364 | 0.006 | 3118 | Sample was diluted |  |  | mg/L | N89 | KONE06261C
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2480068 | 2006-09-20 |  | 0.04576 | 0.0454 | 100.793 | 0.79295 | 0.00227 | 0.15859 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06261C
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2500165 | 2006-09-21 |  | 0.45221 | 0.454 | 99.6057 | -0.39427 | 0.0227 | -0.078855 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N90 | KONE06264A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2500164 | 2006-09-21 |  | 0.27469 | 0.275 | 99.8873 | -0.11273 | 0.01375 | -0.022545 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06264A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2540004 | 2006-09-25 |  | 0.82632 | 0.8425 | 98.0795 | -1.9205 | 0.042125 | -0.38409 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | NS16 | KONE06264B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2510399 | 2006-09-25 |  | 0.0455 | 0.0454 | 100.2203 | 0.22026 | 0.00227 | 0.044053 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06264B
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2560147 | 2006-09-26 |  | 0.27573 | 0.275 | 100.2655 | 0.26545 | 0.01375 | 0.053091 | 0.006 | 3118 | Sample was diluted |  |  | mg/L as P | N89 | KONE06268A
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | 2006 | 2560148 | 2006-09-26 |  | 0.04633 | 0.0454 | 102.0485 | 2.0485 | 0.00227 | 0.40969 | 0.006 | 3118 |  |  |  | mg/L as P | N90X | KONE06268A