## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 2870154 | 2003-10-23 |  | 0.1773 | 0.1788 | 99.1611 | -0.83893 | 0.012319 | -0.12176 | 0.008 | 2332 |  |  |  | mg/L | N79c | PELF296A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 3010024 | 2003-10-30 |  | 0.1811 | 0.1788 | 101.2864 | 1.2864 | 0.012319 | 0.1867 | 0.004 | 2332 |  |  |  | mg/L as P | N79c | PELF303A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 3160065 | 2003-11-25 |  | 0.1493 | 0.149 | 100.2013 | 0.20134 | 0.010266 | 0.029222 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF329A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 3290164 | 2003-12-08 |  | 0.152 | 0.149 | 102.0134 | 2.0134 | 0.010266 | 0.29222 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF342A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 3440155 | 2003-12-23 |  | 0.1516 | 0.149 | 101.745 | 1.745 | 0.010266 | 0.25326 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF356A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 0120097 | 2004-01-16 |  | 0.1499 | 0.149 | 100.604 | 0.60403 | 0.010266 | 0.087667 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF015A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 0270019 | 2004-01-30 |  | 0.1509 | 0.149 | 101.2752 | 1.2752 | 0.010266 | 0.18508 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF029A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 0410081 | 2004-02-12 |  | 0.152 | 0.149 | 102.0134 | 2.0134 | 0.010266 | 0.29222 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF043A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 0560015 | 2004-03-02 |  | 0.1496 | 0.149 | 100.4027 | 0.40268 | 0.010266 | 0.058445 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF062A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 0700090 | 2004-03-19 |  | 0.1477 | 0.149 | 99.1275 | -0.87248 | 0.010266 | -0.12663 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF077A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 0840045 | 2004-03-26 |  | 0.1516 | 0.149 | 101.745 | 1.745 | 0.010266 | 0.25326 | 0.004 | 2332 |  |  |  | mg/L as P | N79 | PELF086A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1040082 | 2004-04-21 |  | 0.0878 | 0.085 | 103.2941 | 3.2941 | 0.0058565 | 0.4781 | 0.004 | 2332 |  |  |  | mg/L | N81 | PELF111A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1180090 | 2004-04-29 |  | 0.0843 | 0.085 | 99.1765 | -0.82353 | 0.0058565 | -0.11953 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF119A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1320093 | 2004-05-20 |  | 0.0852 | 0.085 | 100.2353 | 0.23529 | 0.0058565 | 0.03415 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF140A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1470157 | 2004-06-24 |  | 0.089 | 0.085 | 104.7059 | 4.7059 | 0.0058565 | 0.683 | 0.004 | 2332 | See result laboratory comment |  |  | mg/L as P | N81 | PELF174A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1660233 | 2004-06-24 |  | 0.0885 | 0.085 | 104.1176 | 4.1176 | 0.0058565 | 0.59763 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF174A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1950102 | 2004-07-22 |  | 0.0843 | 0.085 | 99.1765 | -0.82353 | 0.0058565 | -0.11953 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF196A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 1800057 | 2004-07-22 |  | 0.0839 | 0.085 | 98.7059 | -1.2941 | 0.0058565 | -0.18783 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF196A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 2090248 | 2004-08-05 |  | 0.0875 | 0.085 | 102.9412 | 2.9412 | 0.0058565 | 0.42688 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF211A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 2240198 | 2004-08-30 |  | 0.0871 | 0.085 | 102.4706 | 2.4706 | 0.0058565 | 0.35858 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF232A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 2380235 | 2004-09-15 |  | 0.0849 | 0.085 | 99.8824 | -0.11765 | 0.0058565 | -0.017075 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF253A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 2530306 | 2004-09-15 |  | 0.0851 | 0.085 | 100.1176 | 0.11765 | 0.0058565 | 0.017075 | 0.004 | 2332 |  |  |  | mg/L as P | N81 | PELF253B
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2004 | 2710007 | 2004-11-10 | E | 0.0853 | 0.085 | 100.3529 | 0.35294 | 0.0058565 | 0.051225 | 0.004 | 2332 | See result laboratory comment |  |  | mg/L as P | N81 | PELF295A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2820221 | 2004-11-10 |  | 0.1504 | 0.155 | 97.0323 | -2.9677 | 0.010679 | -0.43073 | 0.004 | 2332 |  |  |  | mg/L as P | N83 | PELF295A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2890206 | 2004-11-10 |  | 0.1503 | 0.155 | 96.9677 | -3.0323 | 0.010679 | -0.4401 | 0.004 | 2332 |  |  |  | mg/L as P | N83 | PELF295A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2960269 | 2004-11-17 |  | 0.1566 | 0.155 | 101.0323 | 1.0323 | 0.010679 | 0.14982 | 0.004 | 2332 |  |  |  | mg/L as P | N83 | PELF308A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 3060020 | 2004-11-17 |  | 0.1549 | 0.155 | 99.9355 | -0.064516 | 0.010679 | -0.0093637 | 0.004 | 2332 |  |  |  | mg/L as P | N83 | PELF314A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 0980173 | 2005-05-05 |  | 0.1897 | 0.178 | 106.573 | 6.573 | 0.012264 | 0.954 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF108A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1050227 | 2005-05-12 |  | 0.189 | 0.178 | 106.1798 | 6.1798 | 0.012264 | 0.89692 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF117A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1120322 | 2005-05-12 |  | 0.1867 | 0.178 | 104.8876 | 4.8876 | 0.012264 | 0.70938 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF117A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1190258 | 2005-05-12 |  | 0.1888 | 0.178 | 106.0674 | 6.0674 | 0.012264 | 0.88061 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF117A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1260179 | 2005-05-24 |  | 0.1331 | 0.13 | 102.3846 | 2.3846 | 0.008957 | 0.3461 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1330240 | 2005-06-09 |  | 0.132 | 0.13 | 101.5385 | 1.5385 | 0.008957 | 0.22329 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF146A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1400207 | 2005-06-09 |  | 0.1301 | 0.13 | 100.0769 | 0.076923 | 0.008957 | 0.011164 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF146B
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1510150 | 2005-06-22 |  | 0.1321 | 0.13 | 101.6154 | 1.6154 | 0.008957 | 0.23445 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF152A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1600263 | 2005-06-30 |  | 0.1802 | 0.178 | 101.236 | 1.236 | 0.012264 | 0.17938 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF179A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1670203 | 2005-06-30 |  | 0.1792 | 0.178 | 100.6742 | 0.67416 | 0.012264 | 0.097846 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF179A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1740225 | 2005-07-21 |  | 0.1825 | 0.178 | 102.5281 | 2.5281 | 0.012264 | 0.36692 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF188A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1810181 | 2005-07-21 |  | 0.1794 | 0.178 | 100.7865 | 0.78652 | 0.012264 | 0.11415 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF188A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1890258 | 2005-07-21 |  | 0.1332 | 0.13 | 102.4615 | 2.4615 | 0.008957 | 0.35726 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF188A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 1960086 | 2005-07-21 |  | 0.1343 | 0.13 | 103.3077 | 3.3077 | 0.008957 | 0.48007 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF188A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2030275 | 2005-08-18 |  | 0.1346 | 0.13 | 103.5385 | 3.5385 | 0.008957 | 0.51356 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF216B
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2100066 | 2005-08-18 |  | 0.1354 | 0.13 | 104.1538 | 4.1538 | 0.008957 | 0.60288 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF216B
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2170138 | 2005-08-25 |  | 0.1867 | 0.178 | 104.8876 | 4.8876 | 0.012264 | 0.70938 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF228A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2230291 | 2005-08-25 |  | 0.1894 | 0.178 | 106.4045 | 6.4045 | 0.012264 | 0.92953 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF228A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2310005 | 2005-09-09 |  | 0.1884 | 0.178 | 105.8427 | 5.8427 | 0.012264 | 0.848 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF241A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2510184 | 2005-09-22 |  | 0.1344 | 0.13 | 103.3846 | 3.3846 | 0.008957 | 0.49124 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF263A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2580120 | 2005-09-22 |  | 0.1348 | 0.13 | 103.6923 | 3.6923 | 0.008957 | 0.53589 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF263A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2380169 | 2005-09-22 |  | 0.1837 | 0.178 | 103.2022 | 3.2022 | 0.012264 | 0.46477 | 0.004 | 2332 |  |  |  | mg/L as P | N85 | PELF263A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2005 | 2720018 | 2005-10-27 |  | 0.131 | 0.13 | 100.7692 | 0.76923 | 0.008957 | 0.11164 | 0.004 | 2332 |  |  |  | mg/L as P | N86X | PELF284A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2800168 | 2005-10-27 |  | 0.1954 | 0.188 | 103.9362 | 3.9362 | 0.012953 | 0.57129 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF284A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2900081 | 2005-10-27 |  | 0.1949 | 0.188 | 103.6702 | 3.6702 | 0.012953 | 0.53269 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF284A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2970040 | 2005-10-27 |  | 0.198 | 0.188 | 105.3191 | 5.3191 | 0.012953 | 0.77201 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF284A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3040131 | 2005-11-16 |  | 0.1927 | 0.188 | 102.5 | 2.5 | 0.012953 | 0.36284 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF318A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3110080 | 2005-11-16 |  | 0.1205 | 0.113 | 106.6372 | 6.6372 | 0.0077857 | 0.9633 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF318A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3190015 | 2005-11-30 |  | 0.1206 | 0.113 | 106.7257 | 6.7257 | 0.0077857 | 0.97615 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF333A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3260099 | 2005-11-30 |  | 0.1226 | 0.113 | 108.4956 | 8.4956 | 0.0077857 | 1.233 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF333A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3340004 | 2005-12-15 |  | 0.1196 | 0.113 | 105.8407 | 5.8407 | 0.0077857 | 0.84771 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF346A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3420001 | 2005-12-15 |  | 0.1941 | 0.188 | 103.2447 | 3.2447 | 0.012953 | 0.47093 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF346A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3490153 | 2005-12-28 |  | 0.1845 | 0.188 | 98.1383 | -1.8617 | 0.012953 | -0.2702 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF356A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3560001 | 2005-12-28 |  | 0.1865 | 0.188 | 99.2021 | -0.79787 | 0.012953 | -0.1158 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF356A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0090004 | 2006-01-12 |  | 0.1196 | 0.113 | 105.8407 | 5.8407 | 0.0077857 | 0.84771 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF009A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 3640073 | 2006-01-12 |  | 0.1975 | 0.188 | 105.0532 | 5.0532 | 0.012953 | 0.73341 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF009A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0170064 | 2006-01-19 |  | 0.111 | 0.113 | 98.2301 | -1.7699 | 0.0077857 | -0.25688 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF019A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0240046 | 2006-01-25 |  | 0.1166 | 0.113 | 103.1858 | 3.1858 | 0.0077857 | 0.46239 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF025A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0380039 | 2006-02-24 |  | 0.1829 | 0.188 | 97.2872 | -2.7128 | 0.012953 | -0.39373 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF040A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0310084 | 2006-02-24 |  | 0.1118 | 0.113 | 98.9381 | -1.0619 | 0.0077857 | -0.15413 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF040A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0450027 | 2006-03-09 |  | 0.1964 | 0.188 | 104.4681 | 4.4681 | 0.012953 | 0.64849 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF067A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0530043 | 2006-03-09 |  | 0.1912 | 0.188 | 101.7021 | 1.7021 | 0.012953 | 0.24704 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF058A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0600080 | 2006-03-09 | < | 0.004 | 0.188 | 2.1277 | -97.8723 | 0.012953 | -14.205 | 0.004 | 2332 |  |  |  | mg/L as P | N87 | PELF067A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0660031 | 2006-03-09 |  | 0.1154 | 0.113 | 102.1239 | 2.1239 | 0.0077857 | 0.30826 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF067A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0730042 | 2006-03-16 |  | 0.1172 | 0.113 | 103.7168 | 3.7168 | 0.0077857 | 0.53945 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF074A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0800043 | 2006-03-30 |  | 0.115 | 0.113 | 101.7699 | 1.7699 | 0.0077857 | 0.25688 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF087A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 0870030 | 2006-03-30 |  | 0.1154 | 0.113 | 102.1239 | 2.1239 | 0.0077857 | 0.30826 | 0.004 | 2332 |  |  |  | mg/L as P | N88X | PELF087A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 1250139 | 2006-05-10 |  | 0.0466 | 0.046 | 101.3043 | 1.3043 | 0.0031694 | 0.18931 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF129A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 1320170 | 2006-05-24 |  | 0.053 | 0.046 | 115.2174 | 15.2174 | 0.0031694 | 2.2086 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 1390233 | 2006-06-01 |  | 0.0464 | 0.046 | 100.8696 | 0.86957 | 0.0031694 | 0.12621 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF144A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 1460010 | 2006-06-02 |  | 0.0465 | 0.046 | 101.087 | 1.087 | 0.0031694 | 0.15776 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF152A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 1910080 | 2006-07-20 |  | 0.0491 | 0.046 | 106.7391 | 6.7391 | 0.0031694 | 0.9781 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 1950015 | 2006-07-20 |  | 0.0484 | 0.046 | 105.2174 | 5.2174 | 0.0031694 | 0.75724 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2020232 | 2006-07-27 |  | 0.0464 | 0.046 | 100.8696 | 0.86957 | 0.0031694 | 0.12621 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF206A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2090268 | 2006-08-11 |  | 0.0481 | 0.046 | 104.5652 | 4.5652 | 0.0031694 | 0.66259 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF221A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2510400 | 2006-09-27 |  | 0.0436 | 0.046 | 94.7826 | -5.2174 | 0.0031694 | -0.75724 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF269A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2620201 | 2006-09-27 |  | 0.0431 | 0.046 | 93.6957 | -6.3043 | 0.0031694 | -0.915 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF269A