## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2790110 | 2003-10-21 |  | 0.179 | 0.1788 | 100.1119 | 0.11186 | 0.010902 | 0.018345 | 0.02 | 2759 |  |  |  | mg/L | N79c | PTNP293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2820084 | 2003-10-21 |  | 0.182 | 0.1788 | 101.7897 | 1.7897 | 0.010902 | 0.29353 | 0.01 | 2759 |  |  |  | mg/L as P | N79c | PTNP293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2880035 | 2003-10-21 |  | 0.184 | 0.1788 | 102.9083 | 2.9083 | 0.010902 | 0.47698 | 0.01 | 2759 |  |  |  | mg/L as P | N79c | PTNP293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2890048 | 2003-10-21 |  | 1.036 | 1 | 103.6 | 3.6 | 0.04104 | 0.87719 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2950088 | 2003-10-29 |  | 0.943 | 1 | 94.3 | -5.7 | 0.04104 | -1.3889 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP300A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3000113 | 2003-10-30 |  | 0.948 | 1 | 94.8 | -5.2 | 0.04104 | -1.2671 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP301A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2940230 | 2003-11-04 |  | 0.175 | 0.1788 | 97.8747 | -2.1253 | 0.010902 | -0.34856 | 0.01 | 2759 |  |  |  | mg/L as P | N79c | PTNP303A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3040005 | 2003-11-13 |  | 0.997 | 1 | 99.7 | -0.3 | 0.04104 | -0.073099 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP316A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3100090 | 2003-11-17 |  | 0.967 | 1 | 96.7 | -3.3 | 0.04104 | -0.80409 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP318A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3100091 | 2003-11-17 |  | 0.992 | 1 | 99.2 | -0.8 | 0.04104 | -0.19493 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP318A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3160063 | 2003-11-17 |  | 1.006 | 1 | 100.6 | 0.6 | 0.04104 | 0.1462 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP318A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3170132 | 2003-11-20 |  | 0.152 | 0.149 | 102.0134 | 2.0134 | 0.0098083 | 0.30586 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP323A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3230184 | 2003-12-03 |  | 0.138 | 0.149 | 92.6174 | -7.3826 | 0.0098083 | -1.1215 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP329A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3280195 | 2003-12-03 |  | 0.138 | 0.149 | 92.6174 | -7.3826 | 0.0098083 | -1.1215 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP336A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3220121 | 2003-12-03 |  | 0.972 | 1 | 97.2 | -2.8 | 0.04104 | -0.68226 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP329A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3350065 | 2003-12-09 |  | 0.152 | 0.149 | 102.0134 | 2.0134 | 0.0098083 | 0.30586 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP342A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3370088 | 2003-12-09 |  | 0.148 | 0.149 | 99.3289 | -0.67114 | 0.0098083 | -0.10195 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP342A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3420097 | 2003-12-15 |  | 0.14 | 0.149 | 93.9597 | -6.0403 | 0.0098083 | -0.91759 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP346A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3490027 | 2003-12-17 |  | 0.984 | 1 | 98.4 | -1.6 | 0.04104 | -0.38986 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP350A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 3450144 | 2003-12-17 |  | 0.148 | 0.149 | 99.3289 | -0.67114 | 0.0098083 | -0.10195 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP350A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0050040 | 2004-01-20 |  | 0.984 | 1 | 98.4 | -1.6 | 0.04104 | -0.38986 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP016A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0080049 | 2004-01-20 |  | 1.007 | 1 | 100.7 | 0.7 | 0.04104 | 0.17057 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP016A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0130117 | 2004-01-20 |  | 0.967 | 1 | 96.7 | -3.3 | 0.04104 | -0.80409 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP016A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0140071 | 2004-01-20 |  | 0.137 | 0.149 | 91.9463 | -8.0537 | 0.0098083 | -1.2235 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP016A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0210223 | 2004-01-29 |  | 1.201 | 1 | 120.1 | 20.1 | 0.04104 | 4.8977 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP027A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0210233 | 2004-01-29 |  | 0.14 | 0.149 | 93.9597 | -6.0403 | 0.0098083 | -0.91759 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP027A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0260160 | 2004-01-29 |  | 0.133 | 0.149 | 89.2617 | -10.7383 | 0.0098083 | -1.6313 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP027A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0290100 | 2004-02-03 |  | 0.144 | 0.149 | 96.6443 | -3.3557 | 0.0098083 | -0.50977 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP033A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0350007 | 2004-02-06 |  | 0.141 | 0.149 | 94.6309 | -5.3691 | 0.0098083 | -0.81564 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP036A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0370116 | 2004-02-12 |  | 0.145 | 0.149 | 97.3154 | -2.6846 | 0.0098083 | -0.40782 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP042A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0430001 | 2004-02-18 |  | 1.01 | 1 | 101 | 1 | 0.04104 | 0.24366 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP048A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0420059 | 2004-02-18 |  | 0.141 | 0.149 | 94.6309 | -5.3691 | 0.0098083 | -0.81564 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP048A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0500107 | 2004-02-25 |  | 1.02 | 1 | 102 | 2 | 0.04104 | 0.48733 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP051A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0490049 | 2004-02-25 |  | 0.147 | 0.149 | 98.6577 | -1.3423 | 0.0098083 | -0.20391 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP051A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0550023 | 2004-03-05 |  | 0.987 | 1 | 98.7 | -1.3 | 0.04104 | -0.31676 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP061A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0610092 | 2004-03-05 |  | 0.985 | 1 | 98.5 | -1.5 | 0.04104 | -0.3655 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP063A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0620100 | 2004-03-05 |  | 1.023 | 1 | 102.3 | 2.3 | 0.04104 | 0.56043 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP063A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0650013 | 2004-03-17 |  | 0.973 | 1 | 97.3 | -2.7 | 0.04104 | -0.65789 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP071A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0700105 | 2004-03-18 |  | 0.993 | 1 | 99.3 | -0.7 | 0.04104 | -0.17057 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP075A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0710094 | 2004-03-18 |  | 0.141 | 0.149 | 94.6309 | -5.3691 | 0.0098083 | -0.81564 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP075A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0760004 | 2004-03-26 |  | 1.01 | 1 | 101 | 1 | 0.04104 | 0.24366 | 0.01 | 2759 |  |  |  | mg/L as P | N80 | PTNP083A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0770121 | 2004-03-26 |  | 0.151 | 0.149 | 101.3423 | 1.3423 | 0.0098083 | 0.20391 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP083A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0820089 | 2004-03-26 |  | 0.149 | 0.149 | 100 | 0 | 0.0098083 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP083B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0850131 | 2004-03-30 |  | 0.152 | 0.149 | 102.0134 | 2.0134 | 0.0098083 | 0.30586 | 0.01 | 2759 |  |  |  | mg/L as P | N79 | PTNP089A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 0970088 | 2004-04-15 |  | 0.08 | 0.085 | 94.1176 | -5.8824 | 0.0074595 | -0.67029 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP103A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1000231 | 2004-04-16 |  | 0.082 | 0.085 | 96.4706 | -3.5294 | 0.0074595 | -0.40217 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP106A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1050150 | 2004-04-16 |  | 0.081 | 0.085 | 95.2941 | -4.7059 | 0.0074595 | -0.53623 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP106A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1060213 | 2004-04-27 |  | 0.839 | 0.856 | 98.014 | -1.986 | 0.035755 | -0.47546 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP113A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1110137 | 2004-04-30 |  | 0.082 | 0.085 | 96.4706 | -3.5294 | 0.0074595 | -0.40217 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP113B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1120112 | 2004-04-30 |  | 0.851 | 0.856 | 99.4159 | -0.58411 | 0.035755 | -0.13984 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP113B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1140199 | 2004-05-05 |  | 0.84 | 0.856 | 98.1308 | -1.8692 | 0.035755 | -0.44749 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP124A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1250054 | 2004-05-06 |  | 0.827 | 0.856 | 96.6121 | -3.3879 | 0.035755 | -0.81107 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP127A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1200123 | 2004-05-06 |  | 0.812 | 0.856 | 94.8598 | -5.1402 | 0.035755 | -1.2306 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP127A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1280295 | 2004-05-14 |  | 0.82 | 0.856 | 95.7944 | -4.2056 | 0.035755 | -1.0068 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP134A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1330107 | 2004-05-14 |  | 0.831 | 0.856 | 97.0794 | -2.9206 | 0.035755 | -0.6992 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP134A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1340011 | 2004-05-19 |  | 0.089 | 0.085 | 104.7059 | 4.7059 | 0.0074595 | 0.53623 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP139A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1390169 | 2004-05-26 |  | 0.838 | 0.856 | 97.8972 | -2.1028 | 0.035755 | -0.50342 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP145A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1410031 | 2004-06-01 |  | 0.085 | 0.085 | 100 | 0 | 0.0074595 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP145B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1450204 | 2004-06-17 |  | 0.086 | 0.085 | 101.1765 | 1.1765 | 0.0074595 | 0.13406 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP166A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1530025 | 2004-06-17 |  | 0.089 | 0.085 | 104.7059 | 4.7059 | 0.0074595 | 0.53623 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP166B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1610178 | 2004-06-28 |  | 0.079 | 0.085 | 92.9412 | -7.0588 | 0.0074595 | -0.80434 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP176A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1670234 | 2004-06-29 |  | 0.825 | 0.856 | 96.3785 | -3.6215 | 0.035755 | -0.86701 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP181A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1560051 | 2004-06-29 |  | 0.079 | 0.085 | 92.9412 | -7.0588 | 0.0074595 | -0.80434 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP180A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1660225 | 2004-06-29 |  | 0.084 | 0.085 | 98.8235 | -1.1765 | 0.0074595 | -0.13406 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP181A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1700349 | 2004-06-30 |  | 0.079 | 0.085 | 92.9412 | -7.0588 | 0.0074595 | -0.80434 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP181C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1730131 | 2004-07-01 |  | 0.843 | 0.856 | 98.4813 | -1.5187 | 0.035755 | -0.36358 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP183A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1760284 | 2004-07-12 |  | 0.841 | 0.856 | 98.2477 | -1.7523 | 0.035755 | -0.41952 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP194A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1800055 | 2004-07-14 |  | 0.809 | 0.856 | 94.5093 | -5.4907 | 0.035755 | -1.3145 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP195A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1880083 | 2004-07-15 |  | 0.845 | 0.856 | 98.715 | -1.285 | 0.035755 | -0.30765 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP196A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1910173 | 2004-07-19 |  | 0.904 | 0.856 | 105.6075 | 5.6075 | 0.035755 | 1.3425 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP197A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1960108 | 2004-07-19 |  | 0.849 | 0.856 | 99.1822 | -0.81776 | 0.035755 | -0.19578 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP198A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 1980049 | 2004-07-20 |  | 0.083 | 0.085 | 97.6471 | -2.3529 | 0.0074595 | -0.26811 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP201A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2030080 | 2004-07-23 |  | 0.855 | 0.856 | 99.8832 | -0.11682 | 0.035755 | -0.027968 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP204C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2030200 | 2004-07-23 |  | 0.081 | 0.085 | 95.2941 | -4.7059 | 0.0074595 | -0.53623 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP204C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2090127 | 2004-08-03 |  | 0.09 | 0.085 | 105.8824 | 5.8824 | 0.0074595 | 0.67029 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP215B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2110280 | 2004-08-04 |  | 0.089 | 0.085 | 104.7059 | 4.7059 | 0.0074595 | 0.53623 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP216A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2170214 | 2004-08-09 |  | 0.088 | 0.085 | 103.5294 | 3.5294 | 0.0074595 | 0.40217 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP222A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2220152 | 2004-08-12 |  | 0.082 | 0.085 | 96.4706 | -3.5294 | 0.0074595 | -0.40217 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP224A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2250112 | 2004-08-18 |  | 0.085 | 0.085 | 100 | 0 | 0.0074595 | 0 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP230B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2290111 | 2004-08-20 |  | 0.846 | 0.856 | 98.8318 | -1.1682 | 0.035755 | -0.27968 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP232C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2310187 | 2004-08-24 |  | 0.082 | 0.085 | 96.4706 | -3.5294 | 0.0074595 | -0.40217 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP236B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2360311 | 2004-09-02 |  | 0.854 | 0.856 | 99.7664 | -0.23364 | 0.035755 | -0.055936 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP243A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2370251 | 2004-09-02 |  | 0.855 | 0.856 | 99.8832 | -0.11682 | 0.035755 | -0.027968 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP243A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2400253 | 2004-09-03 |  | 0.831 | 0.856 | 97.0794 | -2.9206 | 0.035755 | -0.6992 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP246B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2360310 | 2004-09-14 |  | 0.082 | 0.0856 | 95.7944 | -4.2056 | 0.0074815 | -0.48119 | 0.01 | 2759 | o | See result laboratory comment |  | mg/L as P | N82X | PTNP257A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2470059 | 2004-09-14 |  | 0.851 | 0.856 | 99.4159 | -0.58411 | 0.035755 | -0.13984 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP253A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2520137 | 2004-09-15 |  | 0.832 | 0.856 | 97.1963 | -2.8037 | 0.035755 | -0.67123 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP257B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2570018 | 2004-09-15 |  | 0.846 | 0.856 | 98.8318 | -1.1682 | 0.035755 | -0.27968 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP258A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2580136 | 2004-09-16 |  | 0.086 | 0.085 | 101.1765 | 1.1765 | 0.0074595 | 0.13406 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP260A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2610103 | 2004-09-28 |  | 0.825 | 0.856 | 96.3785 | -3.6215 | 0.035755 | -0.86701 | 0.01 | 2759 |  |  |  | mg/L as P | N82 | PTNP271A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2640148 | 2004-09-28 |  | 0.087 | 0.085 | 102.3529 | 2.3529 | 0.0074595 | 0.26811 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP272A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2390384 | 2004-09-30 |  | 0.079 | 0.0856 | 92.2897 | -7.7103 | 0.0074815 | -0.88217 | 0.01 | 2759 | o | See result laboratory comment |  | mg/L as P | N82X | PTNP273A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2710022 | 2004-09-30 |  | 0.092 | 0.085 | 108.2353 | 8.2353 | 0.0074595 | 0.9384 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP274A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2004 | 2720113 | 2004-09-30 |  | 0.087 | 0.085 | 102.3529 | 2.3529 | 0.0074595 | 0.26811 | 0.01 | 2759 |  |  |  | mg/L as P | N81 | PTNP274A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2790150 | 2004-10-13 |  | 0.686 | 0.693 | 98.9899 | -1.0101 | 0.03465 | -0.20202 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP286B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2790155 | 2004-10-13 |  | 0.156 | 0.155 | 100.6452 | 0.64516 | 0.010029 | 0.099716 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP286B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2820226 | 2004-10-13 |  | 0.476 | 0.507 | 93.8856 | -6.1144 | 0.02535 | -1.2229 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP286B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2870063 | 2004-10-19 |  | 0.734 | 0.693 | 105.9163 | 5.9163 | 0.03465 | 1.1833 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP292A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2890201 | 2004-10-19 |  | 0.144 | 0.155 | 92.9032 | -7.0968 | 0.010029 | -1.0969 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP292A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2940028 | 2004-10-27 |  | 0.666 | 0.693 | 96.1039 | -3.8961 | 0.03465 | -0.77922 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP300A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2950150 | 2004-10-27 |  | 0.318 | 0.155 | 205.1613 | 105.1613 | 0.010029 | 16.2537 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP300B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2920029 | 2004-10-27 |  | 0.508 | 0.507 | 100.1972 | 0.19724 | 0.02535 | 0.039448 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP300A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3000183 | 2004-11-02 |  | 0.706 | 0.693 | 101.8759 | 1.8759 | 0.03465 | 0.37518 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP306A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2990110 | 2004-11-02 |  | 0.512 | 0.507 | 100.9862 | 0.98619 | 0.02535 | 0.19724 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP306A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3030014 | 2004-11-03 |  | 0.14 | 0.155 | 90.3226 | -9.6774 | 0.010029 | -1.4957 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP306B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3060114 | 2004-11-10 |  | 0.535 | 0.507 | 105.5227 | 5.5227 | 0.02535 | 1.1045 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP314A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3080004 | 2004-11-10 |  | 0.154 | 0.155 | 99.3548 | -0.64516 | 0.010029 | -0.099716 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP314A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3140102 | 2004-11-16 |  | 0.154 | 0.155 | 99.3548 | -0.64516 | 0.010029 | -0.099716 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP320B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3100008 | 2004-11-16 |  | 0.728 | 0.693 | 105.0505 | 5.0505 | 0.03465 | 1.0101 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP320A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3170168 | 2004-11-16 |  | 0.679 | 0.693 | 97.9798 | -2.0202 | 0.03465 | -0.40404 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP320B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3130197 | 2004-11-16 |  | 0.529 | 0.507 | 104.3393 | 4.3393 | 0.02535 | 0.86785 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP320B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3220114 | 2004-11-23 |  | 0.157 | 0.155 | 101.2903 | 1.2903 | 0.010029 | 0.19943 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP327B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3210082 | 2004-11-23 |  | 0.519 | 0.507 | 102.3669 | 2.3669 | 0.02535 | 0.47337 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP327A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3270044 | 2004-11-26 |  | 0.703 | 0.693 | 101.443 | 1.443 | 0.03465 | 0.2886 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP329A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3290014 | 2004-12-01 |  | 0.152 | 0.155 | 98.0645 | -1.9355 | 0.010029 | -0.29915 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP335A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3340009 | 2004-12-01 |  | 0.662 | 0.693 | 95.5267 | -4.4733 | 0.03465 | -0.89466 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP335A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3280099 | 2004-12-01 |  | 0.5 | 0.507 | 98.6193 | -1.3807 | 0.02535 | -0.27613 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP335A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3360082 | 2004-12-10 |  | 0.523 | 0.507 | 103.1558 | 3.1558 | 0.02535 | 0.63116 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP343A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3410094 | 2004-12-15 |  | 0.673 | 0.693 | 97.114 | -2.886 | 0.03465 | -0.5772 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP348A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3450287 | 2004-12-21 |  | 0.718 | 0.693 | 103.6075 | 3.6075 | 0.03465 | 0.7215 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP355A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3520151 | 2004-12-21 |  | 0.655 | 0.693 | 94.5166 | -5.4834 | 0.03465 | -1.0967 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP355B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3440141 | 2004-12-21 |  | 0.496 | 0.507 | 97.8304 | -2.1696 | 0.02535 | -0.43393 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP355A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3510147 | 2004-12-21 |  | 0.507 | 0.507 | 100 | 0 | 0.02535 | 0 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP355B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3620020 | 2005-01-07 |  | 0.663 | 0.693 | 95.671 | -4.329 | 0.03465 | -0.8658 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP003A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3620023 | 2005-01-07 |  | 0.504 | 0.507 | 99.4083 | -0.59172 | 0.02535 | -0.11834 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP003A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0040021 | 2005-01-11 |  | 0.156 | 0.155 | 100.6452 | 0.64516 | 0.010029 | 0.099716 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP007A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 3650037 | 2005-01-11 |  | 0.525 | 0.507 | 103.5503 | 3.5503 | 0.02535 | 0.71006 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP007A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0110022 | 2005-01-12 |  | 0.147 | 0.155 | 94.8387 | -5.1613 | 0.010029 | -0.79773 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP012A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0100089 | 2005-01-12 |  | 0.521 | 0.507 | 102.7613 | 2.7613 | 0.02535 | 0.55227 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP012A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0060066 | 2005-01-20 |  | 0.69 | 0.693 | 99.5671 | -0.4329 | 0.03465 | -0.08658 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP018A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0190083 | 2005-01-25 |  | 0.148 | 0.155 | 95.4839 | -4.5161 | 0.010029 | -0.69801 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP021B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0130110 | 2005-01-25 |  | 0.673 | 0.693 | 97.114 | -2.886 | 0.03465 | -0.5772 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP021B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0210117 | 2005-01-25 |  | 0.664 | 0.693 | 95.8153 | -4.1847 | 0.03465 | -0.83694 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP021B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0180071 | 2005-01-25 |  | 0.512 | 0.507 | 100.9862 | 0.98619 | 0.02535 | 0.19724 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP021B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0260059 | 2005-01-27 |  | 0.073 | 0.155 | 47.0968 | -52.9032 | 0.010029 | -8.1767 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP026A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0250042 | 2005-01-27 |  | 0.523 | 0.507 | 103.1558 | 3.1558 | 0.02535 | 0.63116 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP026A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0330050 | 2005-02-14 |  | 0.714 | 0.693 | 103.0303 | 3.0303 | 0.03465 | 0.60606 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP040B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0380087 | 2005-02-14 |  | 0.146 | 0.155 | 94.1935 | -5.8065 | 0.010029 | -0.89744 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP040B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0390055 | 2005-02-14 |  | 0.523 | 0.507 | 103.1558 | 3.1558 | 0.02535 | 0.63116 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP040B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0280056 | 2005-02-14 |  | 0.697 | 0.693 | 100.5772 | 0.5772 | 0.03465 | 0.11544 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP040B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0320098 | 2005-02-14 |  | 0.517 | 0.507 | 101.9724 | 1.9724 | 0.02535 | 0.39448 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP040B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0410189 | 2005-02-16 |  | 0.702 | 0.693 | 101.2987 | 1.2987 | 0.03465 | 0.25974 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP046A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0420136 | 2005-02-18 |  | 0.15 | 0.155 | 96.7742 | -3.2258 | 0.010029 | -0.49858 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP048A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0470021 | 2005-02-18 |  | 0.511 | 0.507 | 100.789 | 0.78895 | 0.02535 | 0.15779 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP048A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0480104 | 2005-02-24 |  | 0.696 | 0.693 | 100.4329 | 0.4329 | 0.03465 | 0.08658 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP049A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0530107 | 2005-03-03 |  | 0.146 | 0.155 | 94.1935 | -5.8065 | 0.010029 | -0.89744 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP061A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0540037 | 2005-03-03 |  | 0.498 | 0.507 | 98.2249 | -1.7751 | 0.02535 | -0.35503 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP061A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0550083 | 2005-03-04 |  | 0.708 | 0.693 | 102.1645 | 2.1645 | 0.03465 | 0.4329 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP061B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0600111 | 2005-03-04 |  | 0.521 | 0.507 | 102.7613 | 2.7613 | 0.02535 | 0.55227 | 0.02 | 2759 |  |  |  | mg/L as P | NS13 | PTNP061B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0560031 | 2005-03-08 |  | 0.161 | 0.155 | 103.871 | 3.871 | 0.010029 | 0.59829 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP063A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0610084 | 2005-03-08 |  | 0.148 | 0.155 | 95.4839 | -4.5161 | 0.010029 | -0.69801 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP063A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0680055 | 2005-03-17 |  | 0.145 | 0.155 | 93.5484 | -6.4516 | 0.010029 | -0.99716 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP073A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0630098 | 2005-03-17 |  | 0.689 | 0.693 | 99.4228 | -0.5772 | 0.03465 | -0.11544 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP073A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0670095 | 2005-03-17 |  | 0.222 | 0.221 | 100.4525 | 0.45249 | 0.012451 | 0.080317 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP073A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0750086 | 2005-03-18 |  | 0.147 | 0.155 | 94.8387 | -5.1613 | 0.010029 | -0.79773 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP077A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0750088 | 2005-03-18 |  | 0.225 | 0.221 | 101.81 | 1.81 | 0.012451 | 0.32127 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP077A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0770127 | 2005-03-23 |  | 0.692 | 0.693 | 99.8557 | -0.1443 | 0.03465 | -0.02886 | 0.02 | 2759 |  |  |  | mg/L as P | N84 | PTNP081A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0820100 | 2005-03-30 |  | 0.143 | 0.155 | 92.2581 | -7.7419 | 0.010029 | -1.1966 | 0.02 | 2759 |  |  |  | mg/L as P | N83 | PTNP087A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0810032 | 2005-03-30 |  | 0.224 | 0.221 | 101.3575 | 1.3575 | 0.012451 | 0.24095 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP087A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0890101 | 2005-04-05 |  | 0.218 | 0.221 | 98.6425 | -1.3575 | 0.012451 | -0.24095 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP094A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 0950129 | 2005-04-12 |  | 1.315 | 1.3 | 101.1538 | 1.1538 | 0.065 | 0.23077 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP101B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1030090 | 2005-04-14 |  | 1.293 | 1.3 | 99.4615 | -0.53846 | 0.065 | -0.10769 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP104A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1010111 | 2005-04-14 |  | 0.235 | 0.221 | 106.3348 | 6.3348 | 0.012451 | 1.1244 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP103B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1090063 | 2005-04-29 |  | 1.306 | 1.3 | 100.4615 | 0.46154 | 0.065 | 0.092308 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP118B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1090068 | 2005-04-29 |  | 0.235 | 0.221 | 106.3348 | 6.3348 | 0.012451 | 1.1244 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP118B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1160121 | 2005-05-06 |  | 1.31 | 1.3 | 100.7692 | 0.76923 | 0.065 | 0.15385 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP125B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1150100 | 2005-05-06 |  | 0.241 | 0.221 | 109.0498 | 9.0498 | 0.012451 | 1.6063 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP125B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1220042 | 2005-05-06 |  | 0.238 | 0.221 | 107.6923 | 7.6923 | 0.012451 | 1.3654 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP125B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1230136 | 2005-05-11 |  | 0.167 | 0.178 | 93.8202 | -6.1798 | 0.010873 | -1.0117 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP130A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1250138 | 2005-05-11 |  | 1.315 | 1.3 | 101.1538 | 1.1538 | 0.065 | 0.23077 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP130A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1300123 | 2005-05-13 |  | 0.175 | 0.178 | 98.3146 | -1.6854 | 0.010873 | -0.27592 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP132A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1290084 | 2005-05-13 |  | 0.239 | 0.221 | 108.1448 | 8.1448 | 0.012451 | 1.4457 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP132A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1320176 | 2005-05-18 |  | 1.298 | 1.3 | 99.8462 | -0.15385 | 0.065 | -0.030769 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP137C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1360167 | 2005-05-20 |  | 0.241 | 0.221 | 109.0498 | 9.0498 | 0.012451 | 1.6063 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP140A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1370184 | 2005-05-23 |  | 0.171 | 0.178 | 96.0674 | -3.9326 | 0.010873 | -0.64382 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP140B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1390140 | 2005-05-23 |  | 1.347 | 1.3 | 103.6154 | 3.6154 | 0.065 | 0.72308 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP140B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1430068 | 2005-05-24 |  | 0.238 | 0.221 | 107.6923 | 7.6923 | 0.012451 | 1.3654 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP143A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1440187 | 2005-05-27 |  | 0.18 | 0.178 | 101.1236 | 1.1236 | 0.010873 | 0.18395 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP145A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1460183 | 2005-06-03 |  | 1.294 | 1.3 | 99.5385 | -0.46154 | 0.065 | -0.092308 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP152A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1510157 | 2005-06-03 |  | 0.226 | 0.221 | 102.2624 | 2.2624 | 0.012451 | 0.40158 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP152A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1570138 | 2005-06-14 |  | 1.329 | 1.3 | 102.2308 | 2.2308 | 0.065 | 0.44615 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP165A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1590164 | 2005-06-14 |  | 0.175 | 0.178 | 98.3146 | -1.6854 | 0.010873 | -0.27592 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP165A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1610161 | 2005-06-14 |  | 0.221 | 0.221 | 100 | 0 | 0.012451 | 0 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP165A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1640120 | 2005-06-17 |  | 1.273 | 1.3 | 97.9231 | -2.0769 | 0.065 | -0.41538 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP166A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1660203 | 2005-06-21 |  | 0.177 | 0.178 | 99.4382 | -0.5618 | 0.010873 | -0.091974 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP168B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1710121 | 2005-06-24 |  | 1.291 | 1.3 | 99.3077 | -0.69231 | 0.065 | -0.13846 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP174A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1680214 | 2005-06-24 |  | 0.224 | 0.221 | 101.3575 | 1.3575 | 0.012451 | 0.24095 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP173A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1730157 | 2005-06-30 |  | 0.178 | 0.178 | 100 | 0 | 0.010873 | 0 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP179A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1780128 | 2005-07-06 |  | 1.321 | 1.3 | 101.6154 | 1.6154 | 0.065 | 0.32308 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP182A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1750350 | 2005-07-06 |  | 0.231 | 0.221 | 104.5249 | 4.5249 | 0.012451 | 0.80317 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP182A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1800226 | 2005-07-08 |  | 0.174 | 0.178 | 97.7528 | -2.2472 | 0.010873 | -0.3679 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP188A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1820054 | 2005-07-08 |  | 0.227 | 0.221 | 102.7149 | 2.7149 | 0.012451 | 0.4819 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP188A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1860036 | 2005-07-08 |  | 0.171 | 0.178 | 96.0674 | -3.9326 | 0.010873 | -0.64382 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP188A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1880192 | 2005-07-12 |  | 1.304 | 1.3 | 100.3077 | 0.30769 | 0.065 | 0.061538 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP189A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1920129 | 2005-07-14 |  | 0.225 | 0.221 | 101.81 | 1.81 | 0.012451 | 0.32127 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP194A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1930206 | 2005-07-18 |  | 0.175 | 0.178 | 98.3146 | -1.6854 | 0.010873 | -0.27592 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP199A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1950048 | 2005-07-18 |  | 1.317 | 1.3 | 101.3077 | 1.3077 | 0.065 | 0.26154 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP199A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2000158 | 2005-07-21 |  | 0.176 | 0.178 | 98.8764 | -1.1236 | 0.010873 | -0.18395 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP202A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 1990213 | 2005-07-21 |  | 0.226 | 0.221 | 102.2624 | 2.2624 | 0.012451 | 0.40158 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP202A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2070088 | 2005-08-02 |  | 0.174 | 0.178 | 97.7528 | -2.2472 | 0.010873 | -0.3679 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP213B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2030278 | 2005-08-02 |  | 1.339 | 1.3 | 103 | 3 | 0.065 | 0.6 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP213B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2060108 | 2005-08-02 |  | 0.233 | 0.221 | 105.4299 | 5.4299 | 0.012451 | 0.9638 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP213B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2090140 | 2005-08-03 |  | 1.323 | 1.3 | 101.7692 | 1.7692 | 0.065 | 0.35385 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP214B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2140082 | 2005-08-04 |  | 1.309 | 1.3 | 100.6923 | 0.69231 | 0.065 | 0.13846 | 0.02 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N86 | PTNP215A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2130140 | 2005-08-04 |  | 0.22 | 0.221 | 99.5475 | -0.45249 | 0.012451 | -0.080317 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP215A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2160219 | 2005-08-12 |  | 0.174 | 0.178 | 97.7528 | -2.2472 | 0.010873 | -0.3679 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP221B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2210147 | 2005-08-16 |  | 1.329 | 1.3 | 102.2308 | 2.2308 | 0.065 | 0.44615 | 0.02 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N86 | PTNP227A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2210149 | 2005-08-16 |  | 0.204 | 0.221 | 92.3077 | -7.6923 | 0.012451 | -1.3654 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP227A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2230293 | 2005-08-17 |  | 0.182 | 0.178 | 102.2472 | 2.2472 | 0.010873 | 0.3679 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP228A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2280038 | 2005-08-19 |  | 1.278 | 1.3 | 98.3077 | -1.6923 | 0.065 | -0.33846 | 0.02 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N86 | PTNP229A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2280035 | 2005-08-19 |  | 0.212 | 0.221 | 95.9276 | -4.0724 | 0.012451 | -0.72285 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP229A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2300260 | 2005-08-24 |  | 0.171 | 0.178 | 96.0674 | -3.9326 | 0.010873 | -0.64382 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP235B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2350072 | 2005-08-29 |  | 1.337 | 1.3 | 102.8462 | 2.8462 | 0.065 | 0.56923 | 0.02 | 2759 | Improper Preservation | See result laboratory comment |  | mg/L as P | N86 | PTNP238B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2370195 | 2005-08-29 |  | 0.173 | 0.178 | 97.191 | -2.809 | 0.010873 | -0.45987 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP238B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2340042 | 2005-08-29 |  | 0.224 | 0.221 | 101.3575 | 1.3575 | 0.012451 | 0.24095 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP238B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2410126 | 2005-08-31 |  | 0.215 | 0.221 | 97.2851 | -2.7149 | 0.012451 | -0.4819 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP242A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2450117 | 2005-09-13 |  | 0.185 | 0.178 | 103.9326 | 3.9326 | 0.010873 | 0.64382 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP255A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2500115 | 2005-09-14 |  | 1.34 | 1.3 | 103.0769 | 3.0769 | 0.065 | 0.61538 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP256A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2520044 | 2005-09-14 |  | 0.234 | 0.221 | 105.8824 | 5.8824 | 0.012451 | 1.0441 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP256A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2550025 | 2005-09-22 |  | 0.183 | 0.178 | 102.809 | 2.809 | 0.010873 | 0.45987 | 0.02 | 2759 | See result laboratory comment |  |  | mg/L as P | N85 | PTNP263A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2570002 | 2005-09-22 |  | 1.322 | 1.3 | 101.6923 | 1.6923 | 0.065 | 0.33846 | 0.02 | 2759 | See result laboratory comment |  |  | mg/L as P | N86 | PTNP263A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2590321 | 2005-09-26 |  | 0.228 | 0.221 | 103.1674 | 3.1674 | 0.012451 | 0.56222 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP265B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2690054 | 2005-09-29 |  | 0.183 | 0.178 | 102.809 | 2.809 | 0.010873 | 0.45987 | 0.02 | 2759 |  |  |  | mg/L as P | N85 | PTNP271B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2710076 | 2005-10-05 |  | 1.312 | 1.3 | 100.9231 | 0.92308 | 0.065 | 0.18462 | 0.02 | 2759 |  |  |  | mg/L as P | N86 | PTNP277B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2005 | 2730267 | 2005-10-05 |  | 0.203 | 0.221 | 91.8552 | -8.1448 | 0.012451 | -1.4457 | 0.02 | 2759 |  |  |  | mg/L as P | NS15 | PTNP277B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2790067 | 2005-10-07 |  | 0.181 | 0.188 | 96.2766 | -3.7234 | 0.01124 | -0.6228 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP280A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2850129 | 2005-10-20 |  | 1.15 | 1.13 | 101.7699 | 1.7699 | 0.0565 | 0.35398 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP292A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2910147 | 2005-10-21 |  | 1.129 | 1.13 | 99.9115 | -0.088496 | 0.0565 | -0.017699 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP293A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2870116 | 2005-10-26 |  | 0.183 | 0.188 | 97.3404 | -2.6596 | 0.01124 | -0.44486 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP298B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2970033 | 2005-10-26 |  | 0.192 | 0.188 | 102.1277 | 2.1277 | 0.01124 | 0.35588 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP298B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2980102 | 2005-11-01 |  | 1.163 | 1.13 | 102.9204 | 2.9204 | 0.0565 | 0.58407 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP301A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3050054 | 2005-11-10 |  | 1.103 | 1.13 | 97.6106 | -2.3894 | 0.0565 | -0.47788 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP311B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3080096 | 2005-11-10 |  | 1.108 | 1.13 | 98.0531 | -1.9469 | 0.0565 | -0.38938 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP311B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3120062 | 2005-11-10 |  | 0.189 | 0.188 | 100.5319 | 0.53191 | 0.01124 | 0.088971 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP313A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3010127 | 2005-11-14 |  | 0.183 | 0.188 | 97.3404 | -2.6596 | 0.01124 | -0.44486 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP318A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3180040 | 2005-12-01 |  | 1.16 | 1.13 | 102.6549 | 2.6549 | 0.0565 | 0.53097 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP334A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3200107 | 2005-12-01 |  | 0.177 | 0.188 | 94.1489 | -5.8511 | 0.01124 | -0.97868 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP334B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3250052 | 2005-12-07 |  | 1.116 | 1.13 | 98.7611 | -1.2389 | 0.0565 | -0.24779 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP336A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3340014 | 2005-12-08 |  | 1.178 | 1.13 | 104.2478 | 4.2478 | 0.0565 | 0.84956 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP341A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3270113 | 2005-12-08 |  | 0.188 | 0.188 | 100 | 0 | 0.01124 | 0 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP341A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3350104 | 2005-12-08 |  | 0.18 | 0.188 | 95.7447 | -4.2553 | 0.01124 | -0.71177 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP341A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3400171 | 2005-12-16 |  | 0.183 | 0.188 | 97.3404 | -2.6596 | 0.01124 | -0.44486 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP348B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3480004 | 2005-12-20 |  | 0.18 | 0.188 | 95.7447 | -4.2553 | 0.01124 | -0.71177 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP350A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3430072 | 2005-12-20 |  | 1.112 | 1.13 | 98.4071 | -1.5929 | 0.0565 | -0.31858 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP350A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3500077 | 2005-12-20 |  | 1.156 | 1.13 | 102.3009 | 2.3009 | 0.0565 | 0.46018 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP350B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3550003 | 2006-01-05 |  | 0.197 | 0.188 | 104.7872 | 4.7872 | 0.01124 | 0.80074 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP364B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3570004 | 2006-01-05 |  | 1.183 | 1.13 | 104.6903 | 4.6903 | 0.0565 | 0.93805 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP364B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0060010 | 2006-01-12 |  | 1.152 | 1.13 | 101.9469 | 1.9469 | 0.0565 | 0.38938 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP010A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0100025 | 2006-01-12 |  | 0.188 | 0.188 | 100 | 0 | 0.01124 | 0 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP010A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 3630003 | 2006-01-12 |  | 0.174 | 0.188 | 92.5532 | -7.4468 | 0.01124 | -1.2456 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP010A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0030022 | 2006-01-12 |  | 1.099 | 1.13 | 97.2566 | -2.7434 | 0.0565 | -0.54867 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP010A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0130007 | 2006-01-25 |  | 1.091 | 1.13 | 96.5487 | -3.4513 | 0.0565 | -0.69027 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP024A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0180052 | 2006-01-26 |  | 0.173 | 0.188 | 92.0213 | -7.9787 | 0.01124 | -1.3346 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP025A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0250061 | 2006-01-31 |  | 1.157 | 1.13 | 102.3894 | 2.3894 | 0.0565 | 0.47788 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0250060 | 2006-01-31 |  | 0.183 | 0.188 | 97.3404 | -2.6596 | 0.01124 | -0.44486 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP030A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0300056 | 2006-02-03 |  | 1.09 | 1.13 | 96.4602 | -3.5398 | 0.0565 | -0.70796 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP034A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0320022 | 2006-02-03 |  | 0.181 | 0.188 | 96.2766 | -3.7234 | 0.01124 | -0.6228 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP034A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0370020 | 2006-02-10 |  | 0.184 | 0.188 | 97.8723 | -2.1277 | 0.01124 | -0.35588 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP039A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0390041 | 2006-02-14 |  | 1.17 | 1.13 | 103.5398 | 3.5398 | 0.0565 | 0.70796 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP044A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0440050 | 2006-02-23 |  | 0.185 | 0.188 | 98.4043 | -1.5957 | 0.01124 | -0.26691 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP053A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0470072 | 2006-02-23 |  | 1.158 | 1.13 | 102.4779 | 2.4779 | 0.0565 | 0.49558 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP053A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0540071 | 2006-02-27 |  | 1.111 | 1.13 | 98.3186 | -1.6814 | 0.0565 | -0.33628 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP055A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0520090 | 2006-03-22 |  | 0.183 | 0.188 | 97.3404 | -2.6596 | 0.01124 | -0.44486 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP080A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0610052 | 2006-03-23 |  | 1.122 | 1.13 | 99.292 | -0.70796 | 0.0565 | -0.14159 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP080C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0670051 | 2006-03-23 |  | 0.177 | 0.188 | 94.1489 | -5.8511 | 0.01124 | -0.97868 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP080C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0590097 | 2006-03-31 |  | 0.185 | 0.188 | 98.4043 | -1.5957 | 0.01124 | -0.26691 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP088A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0600079 | 2006-03-31 |  | 1.151 | 1.13 | 101.8584 | 1.8584 | 0.0565 | 0.37168 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP088A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0530042 | 2006-03-31 |  | 0.177 | 0.188 | 94.1489 | -5.8511 | 0.01124 | -0.97868 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N87 | PTNP088A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0720062 | 2006-03-31 |  | 1.136 | 1.13 | 100.531 | 0.53097 | 0.0565 | 0.10619 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP088B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0740104 | 2006-03-31 |  | 0.182 | 0.188 | 96.8085 | -3.1915 | 0.01124 | -0.53383 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP088B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0810064 | 2006-04-06 |  | 0.19 | 0.188 | 101.0638 | 1.0638 | 0.01124 | 0.17794 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP094A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1030092 | 2006-04-27 |  | 0.287 | 0.282 | 101.773 | 1.773 | 0.014689 | 0.34038 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP117C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0960079 | 2006-04-28 |  | 0.287 | 0.282 | 101.773 | 1.773 | 0.014689 | 0.34038 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP117A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1100072 | 2006-04-28 |  | 0.27 | 0.282 | 95.7447 | -4.2553 | 0.014689 | -0.81692 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP117D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1000126 | 2006-04-28 |  | 0.444 | 0.46 | 96.5217 | -3.4783 | 0.023 | -0.69565 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP117B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1070044 | 2006-04-28 |  | 0.441 | 0.46 | 95.8696 | -4.1304 | 0.023 | -0.82609 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP117D
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0930082 | 2006-04-28 |  | 0.284 | 0.282 | 100.7092 | 0.70922 | 0.014689 | 0.13615 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP117A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0970087 | 2006-04-28 |  | 0.267 | 0.282 | 94.6809 | -5.3191 | 0.014689 | -1.0211 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP117B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1010015 | 2006-04-28 |  | 0.269 | 0.282 | 95.3901 | -4.6099 | 0.014689 | -0.88499 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP117B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1040009 | 2006-05-03 |  | 0.263 | 0.282 | 93.2624 | -6.7376 | 0.014689 | -1.2934 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP121A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1110232 | 2006-05-03 |  | 0.272 | 0.282 | 96.4539 | -3.5461 | 0.014689 | -0.68076 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP121A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0800048 | 2006-05-04 |  | 1.137 | 1.13 | 100.6195 | 0.61947 | 0.0565 | 0.12389 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP122A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1210048 | 2006-05-08 |  | 0.451 | 0.46 | 98.0435 | -1.9565 | 0.023 | -0.3913 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP125B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1170185 | 2006-05-09 |  | 0.274 | 0.282 | 97.1631 | -2.8369 | 0.014689 | -0.54461 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP125A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1160103 | 2006-05-09 |  | 0.271 | 0.282 | 96.0993 | -3.9007 | 0.014689 | -0.74884 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP125A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0860076 | 2006-05-09 |  | 1.095 | 1.13 | 96.9027 | -3.0973 | 0.0565 | -0.61947 | 0.02 | 2759 |  |  |  | mg/L as P | N88 | PTNP125A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 0880040 | 2006-05-09 |  | 0.178 | 0.188 | 94.6809 | -5.3191 | 0.01124 | -0.88971 | 0.02 | 2759 |  |  |  | mg/L as P | N87 | PTNP125A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1150095 | 2006-05-12 |  | 0.443 | 0.46 | 96.3043 | -3.6957 | 0.023 | -0.73913 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP131A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1240139 | 2006-05-15 |  | 0.493 | 0.46 | 107.1739 | 7.1739 | 0.023 | 1.4348 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP131C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1210049 | 2006-05-19 |  | 0.293 | 0.282 | 103.9007 | 3.9007 | 0.014689 | 0.74884 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP137A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1310141 | 2006-05-22 |  | 0.441 | 0.46 | 95.8696 | -4.1304 | 0.023 | -0.82609 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP137C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1280104 | 2006-05-31 |  | 0.276 | 0.282 | 97.8723 | -2.1277 | 0.014689 | -0.40846 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP150A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1310140 | 2006-05-31 |  | 0.274 | 0.282 | 97.1631 | -2.8369 | 0.014689 | -0.54461 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP150B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1460014 | 2006-06-05 |  | 0.447 | 0.46 | 97.1739 | -2.8261 | 0.023 | -0.56522 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP153C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1380009 | 2006-06-05 |  | 0.293 | 0.282 | 103.9007 | 3.9007 | 0.014689 | 0.74884 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP153A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1380007 | 2006-06-07 |  | 0.435 | 0.46 | 94.5652 | -5.4348 | 0.023 | -1.087 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP158A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1350228 | 2006-06-07 |  | 0.263 | 0.282 | 93.2624 | -6.7376 | 0.014689 | -1.2934 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP158A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1500069 | 2006-06-08 |  | 0.296 | 0.282 | 104.9645 | 4.9645 | 0.014689 | 0.95307 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP158B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1460015 | 2006-06-08 |  | 0.283 | 0.282 | 100.3546 | 0.35461 | 0.014689 | 0.068076 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP158B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1590159 | 2006-06-26 |  | 0.277 | 0.282 | 98.227 | -1.773 | 0.014689 | -0.34038 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP172B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1420086 | 2006-06-26 |  | 0.288 | 0.282 | 102.1277 | 2.1277 | 0.014689 | 0.40846 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP172A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1660142 | 2006-06-27 |  | 0.276 | 0.282 | 97.8723 | -2.1277 | 0.014689 | -0.40846 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP173A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1630151 | 2006-06-27 |  | 0.475 | 0.46 | 103.2609 | 3.2609 | 0.023 | 0.65217 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP172C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1600197 | 2006-06-27 |  | 0.289 | 0.282 | 102.4823 | 2.4823 | 0.014689 | 0.47653 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP172C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1650114 | 2006-06-27 |  | 0.284 | 0.282 | 100.7092 | 0.70922 | 0.014689 | 0.13615 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP173A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1670251 | 2006-06-30 |  | 0.287 | 0.282 | 101.773 | 1.773 | 0.014689 | 0.34038 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP178A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1730118 | 2006-07-10 |  | 0.457 | 0.46 | 99.3478 | -0.65217 | 0.023 | -0.13043 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP186B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1730122 | 2006-07-10 |  | 0.312 | 0.282 | 110.6383 | 10.6383 | 0.014689 | 2.0423 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP186B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1740207 | 2006-07-12 |  | 0.269 | 0.282 | 95.3901 | -4.6099 | 0.014689 | -0.88499 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP186C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1800256 | 2006-07-12 |  | 0.274 | 0.282 | 97.1631 | -2.8369 | 0.014689 | -0.54461 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP191A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1780109 | 2006-07-12 |  | 0.431 | 0.46 | 93.6957 | -6.3043 | 0.023 | -1.2609 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP186C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1740232 | 2006-07-12 |  | 0.287 | 0.282 | 101.773 | 1.773 | 0.014689 | 0.34038 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP186C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1790176 | 2006-07-12 |  | 0.273 | 0.282 | 96.8085 | -3.1915 | 0.014689 | -0.61269 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP191A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1860011 | 2006-07-17 |  | 0.46 | 0.46 | 100 | 0 | 0.023 | 0 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP194B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1570196 | 2006-07-17 |  | 0.274 | 0.282 | 97.1631 | -2.8369 | 0.014689 | -0.54461 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP194A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1810352 | 2006-07-17 |  | 0.276 | 0.282 | 97.8723 | -2.1277 | 0.014689 | -0.40846 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP194A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1910087 | 2006-07-17 |  | 0.447 | 0.46 | 97.1739 | -2.8261 | 0.023 | -0.56522 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP194C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1910074 | 2006-07-17 |  | 0.28 | 0.282 | 99.2908 | -0.70922 | 0.014689 | -0.13615 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP194C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1910088 | 2006-07-24 |  | 0.274 | 0.282 | 97.1631 | -2.8369 | 0.014689 | -0.54461 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP200B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2010014 | 2006-07-26 |  | 0.462 | 0.46 | 100.4348 | 0.43478 | 0.023 | 0.086957 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP206B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1990011 | 2006-07-26 |  | 0.273 | 0.282 | 96.8085 | -3.1915 | 0.014689 | -0.61269 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP206B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1940288 | 2006-07-27 |  | 0.436 | 0.46 | 94.7826 | -5.2174 | 0.023 | -1.0435 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP206A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 1940287 | 2006-07-27 |  | 0.27 | 0.282 | 95.7447 | -4.2553 | 0.014689 | -0.81692 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP206A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2010012 | 2006-08-01 |  | 0.277 | 0.282 | 98.227 | -1.773 | 0.014689 | -0.34038 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP209A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2050123 | 2006-08-08 |  | 0.275 | 0.282 | 97.5177 | -2.4823 | 0.014689 | -0.47653 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP215C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2120203 | 2006-08-09 |  | 0.271 | 0.282 | 96.0993 | -3.9007 | 0.014689 | -0.74884 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP219B
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2080101 | 2006-08-09 |  | 0.27 | 0.282 | 95.7447 | -4.2553 | 0.014689 | -0.81692 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP219A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2190168 | 2006-08-16 |  | 0.276 | 0.282 | 97.8723 | -2.1277 | 0.014689 | -0.40846 | 0.02 | 2759 |  |  |  | mg/L as P | N89 | PTNP222A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2200102 | 2006-08-16 |  | 0.44 | 0.46 | 95.6522 | -4.3478 | 0.023 | -0.86957 | 0.02 | 2759 |  |  |  | mg/L as P | N90 | PTNP226A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2150119 | 2006-08-16 |  | 0.284 | 0.282 | 100.7092 | 0.70922 | 0.014689 | 0.13615 | 0.02 | 2759 | o | See result laboratory comment |  | mg/L as P | N89 | PTNP226A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2190169 | 2006-09-19 |  | 0.273 | 0.282 | 96.8085 | -3.1915 | 0.014689 | -0.61269 | 0.02 | 2759 | Holding time exceeded | o | See result laboratory comment | mg/L as P | N89 | PTNP257A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2300084 | 2006-09-27 |  | 0.269 | 0.282 | 95.3901 | -4.6099 | 0.014689 | -0.88499 | 0.02 | 2759 | Holding time exceeded |  |  | mg/L as P | N89 | PTNP269A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2270191 | 2006-09-27 |  | 0.357 | 0.46 | 77.6087 | -22.3913 | 0.023 | -4.4783 | 0.02 | 2759 | Holding time exceeded |  |  | mg/L as P | N90 | PTNP250C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2340036 | 2006-09-27 |  | 0.462 | 0.46 | 100.4348 | 0.43478 | 0.023 | 0.086957 | 0.02 | 2759 | Holding time exceeded |  |  | mg/L as P | N90 | PTNP269C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2260053 | 2006-09-27 |  | 0.296 | 0.282 | 104.9645 | 4.9645 | 0.014689 | 0.95307 | 0.02 | 2759 | Holding time exceeded | o | See result laboratory comment | mg/L as P | N89 | PTNP250C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2280130 | 2006-09-27 |  | 0.279 | 0.282 | 98.9362 | -1.0638 | 0.014689 | -0.20423 | 0.02 | 2759 | Holding time exceeded | o | See result laboratory comment | mg/L as P | N89 | PTNP269A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2330214 | 2006-09-27 |  | 0.289 | 0.282 | 102.4823 | 2.4823 | 0.014689 | 0.47653 | 0.02 | 2759 | Holding time exceeded | o | See result laboratory comment | mg/L as P | N89 | PTNP269C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2370428 | 2006-09-29 |  | 0.312 | 0.282 | 110.6383 | 10.6383 | 0.014689 | 2.0423 | 0.02 | 2759 | Holding time exceeded |  |  | mg/L as P | N89 | PTNP270C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2410039 | 2006-09-29 |  | 0.462 | 0.46 | 100.4348 | 0.43478 | 0.023 | 0.086957 | 0.02 | 2759 | Holding time exceeded |  |  | mg/L as P | N90 | PTNP270C
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2360202 | 2006-09-29 |  | 0.29 | 0.282 | 102.8369 | 2.8369 | 0.014689 | 0.54461 | 0.02 | 2759 | Holding time exceeded | o | See result laboratory comment | mg/L as P | N89 | PTNP270A
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | 2006 | 2400119 | 2006-09-29 |  | 0.315 | 0.282 | 111.7021 | 11.7021 | 0.014689 | 2.2465 | 0.02 | 2759 | Holding time exceeded | o | See result laboratory comment | mg/L as P | N89 | PTNP270C