## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date (>=2001); Logged in Date (<2001) | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1000120 | 1998-04-10 | 0.213 | 0.201 | 105.9701 | 5.9701 | 0.74836 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1910241 | 1998-07-10 | 0.208 | 0.201 | 103.4826 | 3.4826 | 0.43655 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0090088 | 1998-01-09 | 0.627 | 0.601 | 104.3261 | 4.3261 | 0.86566 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0160088 | 1998-01-16 | 0.622 | 0.601 | 103.4942 | 3.4942 | 0.69918 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 3080083 | 1997-11-04 | 0.591 | 0.601 | 98.3361 | -1.6639 | -0.33294 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 3180087 | 1997-11-14 | 0.634 | 0.601 | 105.4908 | 5.4908 | 1.0987 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1320084 | 1998-05-12 | 0.207 | 0.201 | 102.9851 | 2.9851 | 0.37418 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1420204 | 1998-05-22 | 0.206 | 0.201 | 102.4876 | 2.4876 | 0.31182 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1530214 | 1998-06-02 | 0.001 | 0.201 | 0.49751 | -99.5025 | -12.4727 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1530224 | 1998-06-02 | 0.208 | 0.201 | 103.4826 | 3.4826 | 0.43655 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1630124 | 1998-06-12 | 0.212 | 0.201 | 105.4726 | 5.4726 | 0.686 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 3360032 | 1997-12-02 | 0.594 | 0.601 | 98.8353 | -1.1647 | -0.23306 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 3460127 | 1997-12-12 | 0.585 | 0.601 | 97.3378 | -2.6622 | -0.53271 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 3250329 | 1997-11-21 | 0.638 | 0.601 | 106.1564 | 6.1564 | 1.2319 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1070126 | 1998-04-17 | 0.211 | 0.201 | 104.9751 | 4.9751 | 0.62364 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1180174 | 1998-04-28 | 0.21 | 0.201 | 104.4776 | 4.4776 | 0.56127 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0370164 | 1998-02-06 | 0.618 | 0.601 | 102.8286 | 2.8286 | 0.56601 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2190050 | 1998-08-07 | 0.129 | 0.201 | 64.1791 | -35.8209 | -4.4902 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0650043 | 1998-03-06 | 0.614 | 0.601 | 102.1631 | 2.1631 | 0.43283 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0760022 | 1998-03-17 | 0.631 | 0.601 | 104.9917 | 4.9917 | 0.99883 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0860118 | 1998-03-27 | 0.635 | 0.601 | 105.6572 | 5.6572 | 1.132 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2540090 | 1998-09-11 | 0.218 | 0.201 | 108.4577 | 8.4577 | 1.0602 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2610107 | 1998-09-18 | 0.216 | 0.201 | 107.4627 | 7.4627 | 0.93545 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2720083 | 1998-09-29 | 0.197 | 0.201 | 98.01 | -1.99 | -0.24945 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0270118 | 1998-01-27 | 0.593 | 0.601 | 98.6689 | -1.3311 | -0.26636 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1980301 | 1998-07-17 | 0.19 | 0.201 | 94.5274 | -5.4726 | -0.686 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2090138 | 1998-07-28 | 0.21 | 0.201 | 104.4776 | 4.4776 | 0.56127 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 1700283 | 1998-06-19 | 0.206 | 0.201 | 102.4876 | 2.4876 | 0.31182 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 3530141 | 1997-12-19 | 0.616 | 0.601 | 102.4958 | 2.4958 | 0.49942 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2300136 | 1998-08-18 | 0.13 | 0.201 | 64.6766 | -35.3234 | -4.4278 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 2400212 | 1998-08-28 | 0.206 | 0.201 | 102.4876 | 2.4876 | 0.31182 | 0.001 | 1981 |  |  |  | mg/L | N57
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0510063 | 1998-02-20 | 0.124 | 0.601 | 20.6323 | -79.3677 | -15.8815 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1998 | 0580058 | 1998-02-27 | 0.61 | 0.601 | 101.4975 | 1.4975 | 0.29965 | 0.001 | 1981 |  |  |  | mg/L | N55
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2750040 | 1998-10-02 | 0.423 | 0.412 | 102.6699 | 2.6699 | 0.48552 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2800067 | 1998-10-07 | 0.417 | 0.412 | 101.2136 | 1.2136 | 0.22069 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2820174 | 1998-10-09 | 0.421 | 0.412 | 102.1845 | 2.1845 | 0.39725 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2870041 | 1998-10-14 | 0.415 | 0.412 | 100.7282 | 0.72816 | 0.13242 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3130127 | 1998-11-09 | 0.421 | 0.412 | 102.1845 | 2.1845 | 0.39725 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3140160 | 1998-11-10 | 0.415 | 0.412 | 100.7282 | 0.72816 | 0.13242 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3200024 | 1998-11-16 | 0.429 | 0.412 | 104.1262 | 4.1262 | 0.75035 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3220058 | 1998-11-18 | 0.415 | 0.412 | 100.7282 | 0.72816 | 0.13242 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3380074 | 1998-12-04 | 0.45 | 0.412 | 109.2233 | 9.2233 | 1.6773 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3430049 | 1998-12-09 | 0.432 | 0.412 | 104.8544 | 4.8544 | 0.88277 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3450162 | 1998-12-11 | 0.43 | 0.412 | 104.3689 | 4.3689 | 0.79449 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3500072 | 1998-12-16 | 0.433 | 0.412 | 105.0971 | 5.0971 | 0.92691 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3240060 | 1998-11-20 | 0.417 | 0.412 | 101.2136 | 1.2136 | 0.22069 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3290035 | 1998-11-25 | 0.438 | 0.412 | 106.3107 | 6.3107 | 1.1476 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3350082 | 1998-12-01 | 0.439 | 0.412 | 106.5534 | 6.5534 | 1.1917 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2890143 | 1998-10-16 | 0.419 | 0.412 | 101.699 | 1.699 | 0.30897 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2940061 | 1998-10-21 | 0.417 | 0.412 | 101.2136 | 1.2136 | 0.22069 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 2960087 | 1998-10-23 | 0.429 | 0.412 | 104.1262 | 4.1262 | 0.75035 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3520051 | 1998-12-18 | 0.429 | 0.412 | 104.1262 | 4.1262 | 0.75035 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3570082 | 1998-12-23 | 0.424 | 0.412 | 102.9126 | 2.9126 | 0.52966 | 0.001 | 1981 |  |  |  | mg/L | N59
Phosphorus (as P), FIL, COL, LL | 00666 | CL060 | FIL | 1999 | 3640038 | 1998-12-30 | 0.417 | 0.412 | 101.2136 | 1.2136 | 0.22069 | 0.001 | 1981 |  |  |  | mg/L | N59