## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2190176 | 2006-11-03 |  | 6.055 | 5.88 | 102.9762 | 2.9762 | 0.294 | 0.59524 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P41 | ICLL06269A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2260050 | 2006-11-03 |  | 6.062 | 5.88 | 103.0952 | 3.0952 | 0.294 | 0.61905 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P41 | ICLL06269A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2330213 | 2006-11-03 |  | 6.087 | 5.88 | 103.5204 | 3.5204 | 0.294 | 0.70408 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P41 | ICLL06269A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2400120 | 2006-11-03 |  | 6.063 | 5.88 | 103.1122 | 3.1122 | 0.294 | 0.62245 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P41 | ICLL06269A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2750051 | 2006-11-15 |  | 5.037 | 4.9 | 102.7959 | 2.7959 | 0.245 | 0.27959 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL06312A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2790129 | 2006-11-15 |  | 5.03 | 4.9 | 102.6531 | 2.6531 | 0.245 | 0.26531 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL06312A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2510398 | 2006-12-08 |  | 4.982 | 4.9 | 101.6735 | 1.6735 | 0.245 | 0.16735 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL06340A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2620210 | 2006-12-08 |  | 4.959 | 4.9 | 101.2041 | 1.2041 | 0.245 | 0.12041 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL06340A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2006 | 2680089 | 2006-12-08 |  | 4.967 | 4.9 | 101.3673 | 1.3673 | 0.245 | 0.13673 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL06340A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2900097 | 2007-01-25 |  | 4.95 | 4.9 | 101.0204 | 1.0204 | 0.245 | 0.10204 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07023A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3120090 | 2007-01-25 |  | 0.277 | 0.28 | 98.9286 | -1.0714 | 0.1873 | -0.016017 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07024A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3190080 | 2007-01-25 |  | 0.282 | 0.28 | 100.7143 | 0.71429 | 0.1873 | 0.010678 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07024A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3260058 | 2007-01-25 |  | 0.286 | 0.28 | 102.1429 | 2.1429 | 0.1873 | 0.032034 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07024A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3350044 | 2007-01-31 |  | 0.274 | 0.28 | 97.8571 | -2.1429 | 0.1873 | -0.032034 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07025A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3490024 | 2007-01-31 |  | 2.429 | 2.33 | 104.2489 | 4.2489 | 0.1873 | 0.52856 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07025A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3600106 | 2007-01-31 |  | 2.437 | 2.33 | 104.5923 | 4.5923 | 0.1873 | 0.57128 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07025A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0030018 | 2007-01-31 |  | 2.456 | 2.33 | 105.4077 | 5.4077 | 0.1873 | 0.67272 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07025A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2970232 | 2007-02-06 |  | 4.988 | 4.9 | 101.7959 | 1.7959 | 0.245 | 0.17959 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07033A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 3040112 | 2007-02-06 |  | 4.931 | 4.9 | 100.6327 | 0.63265 | 0.245 | 0.063265 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07033A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0080060 | 2007-02-08 |  | 4.899 | 4.9 | 99.9796 | -0.020408 | 0.245 | -0.0020408 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07038A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0160026 | 2007-02-08 |  | 4.98 | 4.9 | 101.6327 | 1.6327 | 0.245 | 0.16327 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07038A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0400062 | 2007-02-15 |  | 0.026 | 0.28 | 9.2857 | -90.7143 | 0.1873 | -1.3561 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07046A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0230064 | 2007-02-15 |  | 4.92 | 4.9 | 100.4082 | 0.40816 | 0.245 | 0.040816 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07046A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0310052 | 2007-02-15 |  | 4.944 | 4.9 | 100.898 | 0.89796 | 0.245 | 0.089796 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07046A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0460097 | 2007-02-27 |  | 0.277 | 0.28 | 98.9286 | -1.0714 | 0.1873 | -0.016017 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07057A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0540160 | 2007-03-26 |  | 0.273 | 0.28 | 97.5 | -2.5 | 0.1873 | -0.037373 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07081A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0610078 | 2007-03-26 |  | 0.275 | 0.28 | 98.2143 | -1.7857 | 0.1873 | -0.026695 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07081A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0710057 | 2007-03-26 |  | 2.432 | 2.33 | 104.3777 | 4.3777 | 0.1873 | 0.54458 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07081A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0750056 | 2007-03-26 |  | 2.458 | 2.33 | 105.4936 | 5.4936 | 0.1873 | 0.6834 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07081A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0820085 | 2007-04-25 |  | 2.432 | 2.33 | 104.3777 | 4.3777 | 0.1873 | 0.54458 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07095A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0890062 | 2007-04-25 |  | 2.429 | 2.33 | 104.2489 | 4.2489 | 0.1873 | 0.52856 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07115A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 0990034 | 2007-05-11 |  | 4.824 | 4.9 | 98.449 | -1.551 | 0.245 | -0.1551 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07129A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1030172 | 2007-05-11 |  | 4.831 | 4.9 | 98.5918 | -1.4082 | 0.245 | -0.14082 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07129A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1100067 | 2007-05-21 |  | 4.883 | 4.9 | 99.6531 | -0.34694 | 0.245 | -0.034694 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07137A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1170014 | 2007-05-21 |  | 4.85 | 4.9 | 98.9796 | -1.0204 | 0.245 | -0.10204 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07137A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1280111 | 2007-05-21 |  | 0.268 | 0.28 | 95.7143 | -4.2857 | 0.1873 | -0.064068 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07137A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1340048 | 2007-05-21 |  | 0.272 | 0.28 | 97.1429 | -2.8571 | 0.1873 | -0.042712 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07137A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1410062 | 2007-06-08 |  | 0.279 | 0.28 | 99.6429 | -0.35714 | 0.1873 | -0.005339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07156A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1490131 | 2007-06-08 |  | 0.271 | 0.28 | 96.7857 | -3.2143 | 0.1873 | -0.048051 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07156A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1690157 | 2007-07-12 |  | 2.447 | 2.33 | 105.0215 | 5.0215 | 0.1873 | 0.62467 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07192A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1770172 | 2007-07-24 |  | 2.503 | 2.33 | 107.4249 | 7.4249 | 0.1873 | 0.92365 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07201A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1830173 | 2007-08-03 |  | 2.483 | 2.33 | 106.5665 | 6.5665 | 0.1873 | 0.81687 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07213A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1910139 | 2007-09-05 |  | 4.807 | 4.9 | 98.102 | -1.898 | 0.245 | -0.1898 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07242A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 1980196 | 2007-09-14 |  | 5.042 | 4.9 | 102.898 | 2.898 | 0.245 | 0.2898 | 0.01 | 1259 |  |  |  | mg/L | P43 | ICLL07256A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2260055 | 2007-10-02 |  | 0.322 | 0.28 | 115 | 15 | 0.1873 | 0.22424 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07270A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2040169 | 2007-10-02 |  | 5.066 | 4.9 | 103.3878 | 3.3878 | 0.245 | 0.33878 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07270A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2140093 | 2007-10-02 |  | 5.099 | 4.9 | 104.0612 | 4.0612 | 0.245 | 0.40612 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P43 | ICLL07270A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2320030 | 2007-10-24 |  | 0.187 | 0.28 | 66.7857 | -33.2143 | 0.1873 | -0.49653 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07285A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2390135 | 2007-10-24 |  | 0.291 | 0.28 | 103.9286 | 3.9286 | 0.1873 | 0.058729 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07285A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2470024 | 2007-10-24 |  | 0.279 | 0.28 | 99.6429 | -0.35714 | 0.1873 | -0.005339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07285A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2600103 | 2007-10-24 |  | 2.491 | 2.33 | 106.9099 | 6.9099 | 0.1873 | 0.85958 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07291A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2670033 | 2007-10-24 |  | 2.488 | 2.33 | 106.7811 | 6.7811 | 0.1873 | 0.84357 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07291A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2740044 | 2007-10-24 |  | 2.488 | 2.33 | 106.7811 | 6.7811 | 0.1873 | 0.84357 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07291A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2750042 | 2007-11-07 |  | 2.482 | 2.33 | 106.5236 | 6.5236 | 0.1873 | 0.81153 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07305A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2830035 | 2007-11-07 |  | 2.493 | 2.33 | 106.9957 | 6.9957 | 0.1873 | 0.87026 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07305A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2890042 | 2007-11-07 |  | 2.5 | 2.33 | 107.2961 | 7.2961 | 0.1873 | 0.90763 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07305A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2960090 | 2007-11-07 |  | 2.515 | 2.33 | 107.9399 | 7.9399 | 0.1873 | 0.98772 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL07305A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 3100046 | 2007-11-09 |  | 0.287 | 0.28 | 102.5 | 2.5 | 0.1873 | 0.037373 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07311A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2007 | 2540002 | 2007-12-21 |  | 2.463 | 2.33 | 105.7082 | 5.7082 | 0.1873 | 0.71009 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P44 | ICLL07331A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 3180058 | 2007-12-21 |  | 0.281 | 0.28 | 100.3571 | 0.35714 | 0.1873 | 0.005339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07331A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 3240046 | 2007-12-31 |  | 0.28 | 0.28 | 100 | 0 | 0.1873 | 0 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07354A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 3310018 | 2007-12-31 |  | 0.282 | 0.28 | 100.7143 | 0.71429 | 0.1873 | 0.010678 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL07354A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0090004 | 2008-01-15 |  | 2.484 | 2.33 | 106.6094 | 6.6094 | 0.1873 | 0.82221 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 3380040 | 2008-01-15 |  | 4.635 | 4.38 | 105.8219 | 5.8219 | 0.219 | 0.58219 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 3520006 | 2008-01-15 |  | 4.659 | 4.38 | 106.3699 | 6.3699 | 0.219 | 0.63699 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0360060 | 2008-03-04 |  | 0.351 | 0.28 | 125.3571 | 25.3571 | 0.1873 | 0.37907 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08060A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0230101 | 2008-03-04 |  | 2.48 | 2.33 | 106.4378 | 6.4378 | 0.1873 | 0.80085 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08060A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0510071 | 2008-03-21 |  | 0.365 | 0.28 | 130.3571 | 30.3571 | 0.1873 | 0.45382 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08077A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0640053 | 2008-05-21 |  | 4.627 | 4.38 | 105.6393 | 5.6393 | 0.219 | 0.56393 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08140A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0710045 | 2008-05-21 |  | 4.627 | 4.38 | 105.6393 | 5.6393 | 0.219 | 0.56393 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08140A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0790008 | 2008-05-21 |  | 4.635 | 4.38 | 105.8219 | 5.8219 | 0.219 | 0.58219 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08140A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0930079 | 2008-05-27 |  | 2.486 | 2.33 | 106.6953 | 6.6953 | 0.1873 | 0.83289 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08142A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1000062 | 2008-05-27 |  | 2.486 | 2.33 | 106.6953 | 6.6953 | 0.1873 | 0.83289 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08142A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1070169 | 2008-05-27 |  | 2.485 | 2.33 | 106.6524 | 6.6524 | 0.1873 | 0.82755 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08142A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1140029 | 2008-05-27 |  | 2.485 | 2.33 | 106.6524 | 6.6524 | 0.1873 | 0.82755 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08142A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1270107 | 2008-06-05 |  | 0.278 | 0.28 | 99.2857 | -0.71429 | 0.1873 | -0.010678 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08154A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1340118 | 2008-06-05 |  | 0.281 | 0.28 | 100.3571 | 0.35714 | 0.1873 | 0.005339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08154A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 0850014 | 2008-06-05 |  | 4.562 | 4.38 | 104.1553 | 4.1553 | 0.219 | 0.41553 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08154A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1420060 | 2008-06-16 |  | 0.263 | 0.28 | 93.9286 | -6.0714 | 0.1873 | -0.090763 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08164A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1490058 | 2008-06-16 |  | 0.281 | 0.28 | 100.3571 | 0.35714 | 0.1873 | 0.005339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08165A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1490058 | 2008-06-16 |  | 0.281 | 0.28 | 100.3571 | 0.35714 | 0.1873 | 0.005339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08165A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1550061 | 2008-06-27 |  | 4.603 | 4.38 | 105.0913 | 5.0913 | 0.219 | 0.50913 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08177A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1620113 | 2008-06-27 |  | 4.572 | 4.38 | 104.3836 | 4.3836 | 0.219 | 0.43836 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08177A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1900017 | 2008-08-20 |  | 2.443 | 2.33 | 104.8498 | 4.8498 | 0.1873 | 0.60331 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P44 | ICLL08226A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1970082 | 2008-08-20 |  | 2.478 | 2.33 | 106.3519 | 6.3519 | 0.1873 | 0.79018 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08226A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1690051 | 2008-08-20 |  | 4.607 | 4.38 | 105.1826 | 5.1826 | 0.219 | 0.51826 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08226A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 1760086 | 2008-08-20 |  | 4.636 | 4.38 | 105.8447 | 5.8447 | 0.219 | 0.58447 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08226A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2190166 | 2008-10-09 |  | 0.298 | 0.28 | 106.4286 | 6.4286 | 0.1873 | 0.096103 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08263C
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2250172 | 2008-10-09 |  | 0.299 | 0.28 | 106.7857 | 6.7857 | 0.1873 | 0.10144 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08263C
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2320004 | 2008-10-09 |  | 0.302 | 0.28 | 107.8571 | 7.8571 | 0.1873 | 0.11746 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08263C
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2110089 | 2008-10-09 |  | 2.468 | 2.33 | 105.9227 | 5.9227 | 0.1873 | 0.73679 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08263C
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2390245 | 2008-10-10 |  | 0.29 | 0.28 | 103.5714 | 3.5714 | 0.1873 | 0.05339 | 0.01 | 1259 |  |  |  | mg/L | P45 | ICLL08282A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2040258 | 2008-10-16 |  | 2.478 | 2.33 | 106.3519 | 6.3519 | 0.1873 | 0.79018 | 0.01 | 1259 |  |  |  | mg/L | P44 | ICLL08289A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2470131 | 2008-10-16 |  | 4.624 | 4.38 | 105.5708 | 5.5708 | 0.219 | 0.55708 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08289A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2550115 | 2008-10-16 |  | 4.537 | 4.38 | 103.5845 | 3.5845 | 0.219 | 0.35845 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08289A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2620149 | 2008-10-16 |  | 4.65 | 4.38 | 106.1644 | 6.1644 | 0.219 | 0.61644 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08289A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2008 | 2690204 | 2008-10-16 |  | 4.596 | 4.38 | 104.9315 | 4.9315 | 0.219 | 0.49315 | 0.01 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08289A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2810087 | 2008-10-31 |  | 4.588 | 4.38 | 104.7489 | 4.7489 | 0.219 | 0.47489 | 0.02 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08305A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2900089 | 2008-12-01 |  | 4.564 | 4.38 | 104.2009 | 4.2009 | 0.219 | 0.42009 | 0.02 | 1259 | Sample was diluted |  |  | mg/L | P46 | ICLL08326A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 3110159 | 2008-12-11 |  | 3.6196 | 3.63 | 99.7135 | -0.2865 | 0.1873 | -0.055526 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW08351A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 3190059 | 2008-12-12 |  | 3.6162 | 3.63 | 99.6198 | -0.38017 | 0.1873 | -0.073679 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW08351A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 3250132 | 2008-12-12 |  | 3.6254 | 3.63 | 99.8733 | -0.12672 | 0.1873 | -0.02456 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW08351A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 3370050 | 2008-12-12 |  | 3.6286 | 3.63 | 99.9614 | -0.038567 | 0.1873 | -0.0074746 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW08351A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 3380123 | 2008-12-12 |  | 2.5121 | 2.56 | 98.1289 | -1.8711 | 0.1873 | -0.25574 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW08351A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 3520222 | 2008-12-18 |  | 2.5155 | 2.56 | 98.2617 | -1.7383 | 0.1873 | -0.23759 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW08353A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0060003 | 2009-01-22 |  | 4.473 | 4.38 | 102.1233 | 2.1233 | 0.219 | 0.21233 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09022A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0200055 | 2009-01-23 |  | 0.1516 | 4.38 | 3.4612 | -96.5388 | 0.219 | -9.6539 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09023A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0340055 | 2009-02-24 |  | 3.6713 | 3.63 | 101.1377 | 1.1377 | 0.1873 | 0.2205 | 0.02 | 1259 | See result laboratory comment |  |  | mg/L | P47 | ICLOW09055A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0490037 | 2009-02-24 |  | 3.6873 | 3.63 | 101.5785 | 1.5785 | 0.1873 | 0.30593 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09055A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0630003 | 2009-03-05 |  | 2.5789 | 2.56 | 100.7383 | 0.73828 | 0.1873 | 0.10091 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09064A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0690010 | 2009-03-25 |  | 2.5717 | 2.56 | 100.457 | 0.45703 | 0.1873 | 0.062467 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09084A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0760077 | 2009-03-25 |  | 2.5449 | 2.56 | 99.4102 | -0.58984 | 0.1873 | -0.080619 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09084A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0830098 | 2009-03-25 |  | 2.5434 | 2.56 | 99.3516 | -0.64844 | 0.1873 | -0.088628 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09084A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 0970126 | 2009-05-14 |  | 4.4538 | 4.38 | 101.6849 | 1.6849 | 0.219 | 0.16849 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09134A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1040070 | 2009-05-14 |  | 4.4644 | 4.38 | 101.9269 | 1.9269 | 0.219 | 0.19269 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09134A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1120018 | 2009-05-14 |  | 4.4301 | 4.38 | 101.1438 | 1.1438 | 0.219 | 0.11438 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09134A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1180080 | 2009-05-14 |  | 4.4492 | 4.38 | 101.5799 | 1.5799 | 0.219 | 0.15799 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09134A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1250011 | 2009-05-14 |  | 3.61 | 3.63 | 99.449 | -0.55096 | 0.1873 | -0.10678 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09134A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1330129 | 2009-05-15 |  | 3.6163 | 3.63 | 99.6226 | -0.37741 | 0.1873 | -0.073145 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09134A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1390139 | 2009-05-21 |  | 3.6516 | 3.63 | 100.595 | 0.59504 | 0.1873 | 0.11532 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09140A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1540101 | 2009-06-25 |  | 2.5134 | 2.56 | 98.1797 | -1.8203 | 0.1873 | -0.2488 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09176A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1490254 | 2009-06-25 |  | 3.6681 | 3.63 | 101.0496 | 1.0496 | 0.1873 | 0.20342 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09175A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1600136 | 2009-06-26 |  | 2.526 | 2.56 | 98.6719 | -1.3281 | 0.1873 | -0.18153 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09176A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1680149 | 2009-07-02 |  | 2.5282 | 2.56 | 98.7578 | -1.2422 | 0.1873 | -0.16978 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09182A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1740112 | 2009-07-02 |  | 2.5152 | 2.56 | 98.25 | -1.75 | 0.1873 | -0.23919 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09182A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1880156 | 2009-07-15 |  | 4.4946 | 4.38 | 102.6164 | 2.6164 | 0.219 | 0.26164 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09195A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 1950081 | 2009-07-28 |  | 4.4883 | 4.38 | 102.4726 | 2.4726 | 0.219 | 0.24726 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09209A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2020251 | 2009-07-28 |  | 4.4722 | 4.38 | 102.105 | 2.105 | 0.219 | 0.2105 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09209A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2100062 | 2009-08-04 |  | 4.5124 | 4.38 | 103.0228 | 3.0228 | 0.219 | 0.30228 | 0.02 | 1259 |  |  |  | mg/L | P46 | ICLOW09216A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2160045 | 2009-08-19 |  | 3.6659 | 3.63 | 100.989 | 0.98898 | 0.1873 | 0.19167 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09231A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2240114 | 2009-08-20 |  | 3.6632 | 3.63 | 100.9146 | 0.9146 | 0.1873 | 0.17726 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09231A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2310149 | 2009-09-04 |  | 3.6389 | 3.63 | 100.2452 | 0.24518 | 0.1873 | 0.047517 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09247A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2380064 | 2009-09-04 |  | 3.6358 | 3.63 | 100.1598 | 0.15978 | 0.1873 | 0.030966 | 0.02 | 1259 |  |  |  | mg/L | P47 | ICLOW09247A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2460241 | 2009-09-05 |  | 2.5191 | 2.56 | 98.4023 | -1.5977 | 0.1873 | -0.21837 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09247A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2530059 | 2009-09-29 |  | 2.5065 | 2.56 | 97.9102 | -2.0898 | 0.1873 | -0.28564 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09268A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2590008 | 2009-09-29 |  | 2.5163 | 2.56 | 98.293 | -1.707 | 0.1873 | -0.23332 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09268A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2009 | 2660208 | 2009-09-30 |  | 2.5158 | 2.56 | 98.2734 | -1.7266 | 0.1873 | -0.23599 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09268A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2800005 | 2009-10-24 |  | 2.5083 | 2.56 | 97.9805 | -2.0195 | 0.1873 | -0.27603 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09296A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2880091 | 2009-10-24 |  | 2.5116 | 2.56 | 98.1094 | -1.8906 | 0.1873 | -0.25841 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09296A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2940098 | 2009-10-24 |  | 2.4986 | 2.56 | 97.6016 | -2.3984 | 0.1873 | -0.32782 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09296A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3010068 | 2009-11-13 |  | 2.5109 | 2.56 | 98.082 | -1.918 | 0.1873 | -0.26215 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW09317A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3080152 | 2009-11-13 |  | 1.081 | 1.12 | 96.5179 | -3.4821 | 0.1873 | -0.20822 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW09317A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3160022 | 2009-11-13 |  | 1.0789 | 1.12 | 96.3304 | -3.6696 | 0.1873 | -0.21943 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW09317A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3230020 | 2009-12-11 |  | 1.0827 | 1.12 | 96.6696 | -3.3304 | 0.1873 | -0.19915 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW09345A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3280028 | 2009-12-11 |  | 1.0716 | 1.12 | 95.6786 | -4.3214 | 0.1873 | -0.25841 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW09345A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3420126 | 2009-12-11 |  | 1.5595 | 1.58 | 98.7025 | -1.2975 | 0.1873 | -0.10945 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW09345A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0050056 | 2010-01-15 |  | 2.517 | 2.56 | 98.3203 | -1.6797 | 0.1873 | -0.22958 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3490062 | 2010-01-15 |  | 1.5918 | 1.58 | 100.7468 | 0.74684 | 0.1873 | 0.063001 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3560087 | 2010-01-15 |  | 1.6102 | 1.58 | 101.9114 | 1.9114 | 0.1873 | 0.16124 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 3640017 | 2010-01-15 |  | 1.5871 | 1.58 | 100.4494 | 0.44937 | 0.1873 | 0.037907 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0130072 | 2010-01-16 |  | 2.5381 | 2.56 | 99.1445 | -0.85547 | 0.1873 | -0.11692 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10015A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0330031 | 2010-02-03 |  | 1.1985 | 1.12 | 107.0089 | 7.0089 | 0.1873 | 0.41911 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10034A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0200103 | 2010-02-03 |  | 2.4692 | 2.56 | 96.4531 | -3.5469 | 0.1873 | -0.48478 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10034A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0260006 | 2010-02-03 |  | 2.477 | 2.56 | 96.7578 | -3.2422 | 0.1873 | -0.44314 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10034A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0400006 | 2010-02-26 |  | 1.232 | 1.12 | 110 | 99999999999999840 | 0.1873 | 0.59797 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10057A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0480099 | 2010-02-26 |  | 1.2487 | 1.12 | 111.4911 | 11.4911 | 0.1873 | 0.68713 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10057A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0540033 | 2010-02-26 |  | 1.235 | 1.12 | 110.2679 | 10.2679 | 0.1873 | 0.61399 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10057A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0620054 | 2010-03-17 |  | 1.573 | 1.58 | 99.557 | -0.44304 | 0.1873 | -0.037373 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10076A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0680116 | 2010-03-17 |  | 1.6937 | 1.58 | 107.1962 | 7.1962 | 0.1873 | 0.60705 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10076A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0750188 | 2010-03-25 |  | 1.6661 | 1.58 | 105.4494 | 5.4494 | 0.1873 | 0.45969 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10084A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0850051 | 2010-04-30 |  | 1.6125 | 1.58 | 102.057 | 2.057 | 0.1873 | 0.17352 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10113A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 0970007 | 2010-05-12 |  | 2.5443 | 2.56 | 99.3867 | -0.61328 | 0.1873 | -0.083823 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10125A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1030052 | 2010-05-12 |  | 2.5911 | 2.56 | 101.2148 | 1.2148 | 0.1873 | 0.16604 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10125A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1110124 | 2010-05-13 |  | 2.519 | 2.56 | 98.3984 | -1.6016 | 0.1873 | -0.2189 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10125A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1170066 | 2010-05-13 |  | 2.5344 | 2.56 | 99 | -99999999999998592 | 0.1873 | -0.13668 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10125A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1240152 | 2010-05-21 |  | 1.1092 | 1.12 | 99.0357 | -0.96429 | 0.1873 | -0.057662 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10141A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1320111 | 2010-05-21 |  | 1.1148 | 1.12 | 99.5357 | -0.46429 | 0.1873 | -0.027763 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10141A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1390048 | 2010-05-21 |  | 1.1091 | 1.12 | 99.0268 | -0.97321 | 0.1873 | -0.058195 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10141A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1530117 | 2010-06-04 |  | 1.6272 | 1.58 | 102.9873 | 2.9873 | 0.1873 | 0.252 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10155A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1460124 | 2010-06-04 |  | 1.1203 | 1.12 | 100.0268 | 0.026786 | 0.1873 | 0.0016017 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10155A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1590100 | 2010-06-17 |  | 1.7481 | 1.58 | 110.6392 | 10.6392 | 0.1873 | 0.89749 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10168A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1660185 | 2010-06-18 |  | 1.6991 | 1.58 | 107.538 | 7.538 | 0.1873 | 0.63588 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10168A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1730146 | 2010-07-02 |  | 1.6358 | 1.58 | 103.5316 | 3.5316 | 0.1873 | 0.29792 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10183A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1880010 | 2010-07-16 |  | 2.5582 | 2.56 | 99.9297 | -0.070313 | 0.1873 | -0.0096103 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10197A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 1940125 | 2010-07-16 |  | 2.6089 | 2.56 | 101.9102 | 1.9102 | 0.1873 | 0.26108 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10197A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2010162 | 2010-07-30 |  | 2.5831 | 2.56 | 100.9023 | 0.90234 | 0.1873 | 0.12333 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10203A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2080060 | 2010-08-02 |  | 2.5697 | 2.56 | 100.3789 | 0.37891 | 0.1873 | 0.051789 | 0.02 | 1259 |  |  |  | mg/L | P48 | ICLOW10211A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2150151 | 2010-08-06 |  | 1.1084 | 1.12 | 98.9643 | -1.0357 | 0.1873 | -0.061933 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10217A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2230027 | 2010-08-20 |  | 1.0958 | 1.12 | 97.8393 | -2.1607 | 0.1873 | -0.1292 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10232A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2290203 | 2010-08-20 |  | 1.0949 | 1.12 | 97.7589 | -2.2411 | 0.1873 | -0.13401 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10232A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2370238 | 2010-09-09 |  | 1.1016 | 1.12 | 98.3571 | -1.6429 | 0.1873 | -0.098238 | 0.02 | 1259 |  |  |  | mg/L | P49 | ICLOW10244A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2570123 | 2010-09-16 |  | 1.6154 | 1.58 | 102.2405 | 2.2405 | 0.1873 | 0.189 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10259A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2600191 | 2010-12-20 |  | 1.582 | 1.58 | 100.1266 | 0.12658 | 0.1873 | 0.010678 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10354A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2660115 | 2010-12-20 |  | 1.601 | 1.58 | 101.3291 | 1.3291 | 0.1873 | 0.11212 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10354A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2010 | 2730105 | 2010-12-20 |  | 1.588 | 1.58 | 100.5063 | 0.50633 | 0.1873 | 0.042712 | 0.02 | 1259 |  |  |  | mg/L | P50 | ICLOW10354A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2790097 | 2010-12-20 |  | 1.591 | 1.58 | 100.6962 | 0.6962 | 0.1873 | 0.058729 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW10354A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3130094 | 2010-12-22 |  | 1.147 | 1.12 | 102.4107 | 2.4107 | 0.1873 | 0.14415 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW10356A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3210134 | 2010-12-22 |  | 1.139 | 1.12 | 101.6964 | 1.6964 | 0.1873 | 0.10144 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW10356A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3330027 | 2010-12-23 |  | 1.044 | 1.12 | 93.2143 | -6.7857 | 0.1873 | -0.40577 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW10356A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3420083 | 2010-12-23 |  | 1.182 | 1.24 | 95.3226 | -4.6774 | 0.1873 | -0.30966 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW10356A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3480063 | 2010-12-23 |  | 1.196 | 1.24 | 96.4516 | -3.5484 | 0.1873 | -0.23492 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW10356A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3550007 | 2010-12-23 |  | 1.196 | 1.24 | 96.4516 | -3.5484 | 0.1873 | -0.23492 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW10356A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2870143 | 2011-01-03 |  | 1.582 | 1.58 | 100.1266 | 0.12658 | 0.1873 | 0.010678 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11003A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2930127 | 2011-01-03 |  | 1.593 | 1.58 | 100.8228 | 0.82278 | 0.1873 | 0.069407 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11003A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2990176 | 2011-01-04 |  | 1.603 | 1.58 | 101.4557 | 1.4557 | 0.1873 | 0.1228 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11003A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3060129 | 2011-01-04 |  | 1.087 | 1.12 | 97.0536 | -2.9464 | 0.1873 | -0.17619 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11003A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 3640030 | 2011-01-04 |  | 1.231 | 1.24 | 99.2742 | -0.72581 | 0.1873 | -0.048051 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11003A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0050064 | 2011-03-25 |  | 1.654 | 1.58 | 104.6835 | 4.6835 | 0.1873 | 0.39509 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11075A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0110048 | 2011-03-25 |  | 1.632 | 1.58 | 103.2911 | 3.2911 | 0.1873 | 0.27763 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11075A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0400094 | 2011-03-26 |  | 1.131 | 1.12 | 100.9821 | 0.98214 | 0.1873 | 0.058729 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11075A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0470057 | 2011-03-26 |  | 1.14 | 1.12 | 101.7857 | 1.7857 | 0.1873 | 0.10678 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11075A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0200048 | 2011-03-26 |  | 1.633 | 1.58 | 103.3544 | 3.3544 | 0.1873 | 0.28297 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11075A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0270094 | 2011-03-26 |  | 1.668 | 1.58 | 105.5696 | 5.5696 | 0.1873 | 0.46983 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11075A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0540116 | 2011-03-29 |  | 1.068 | 1.12 | 95.3571 | -4.6429 | 0.1873 | -0.27763 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11088B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0600063 | 2011-03-29 |  | 1.076 | 1.12 | 96.0714 | -3.9286 | 0.1873 | -0.23492 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11088B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0670041 | 2011-03-29 |  | 1.207 | 1.24 | 97.3387 | -2.6613 | 0.1873 | -0.17619 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11088B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0740122 | 2011-03-29 |  | 1.206 | 1.24 | 97.2581 | -2.7419 | 0.1873 | -0.18153 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11088B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0820092 | 2011-03-30 |  | 1.22 | 1.24 | 98.3871 | -1.6129 | 0.1873 | -0.10678 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11088B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0960108 | 2011-04-07 |  | 1.63 | 1.58 | 103.1646 | 3.1646 | 0.1873 | 0.26695 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11097A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 0890090 | 2011-04-07 |  | 1.219 | 1.24 | 98.3065 | -1.6935 | 0.1873 | -0.11212 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11097A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1020037 | 2011-05-10 |  | 1.593 | 1.58 | 100.8228 | 0.82278 | 0.1873 | 0.069407 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11130A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1110010 | 2011-05-10 |  | 1.595 | 1.58 | 100.9494 | 0.94937 | 0.1873 | 0.080085 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11130A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1180028 | 2011-05-10 |  | 1.595 | 1.58 | 100.9494 | 0.94937 | 0.1873 | 0.080085 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11130A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1230161 | 2011-05-10 |  | 1.108 | 1.12 | 98.9286 | -1.0714 | 0.1873 | -0.064068 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11130A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1380124 | 2011-05-20 |  | 1.084 | 1.12 | 96.7857 | -3.2143 | 0.1873 | -0.19221 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11139A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1440153 | 2011-07-14 |  | 1.142 | 1.12 | 101.9643 | 1.9643 | 0.1873 | 0.11746 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11166A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1580109 | 2011-07-15 |  | 1.238 | 1.24 | 99.8387 | -0.16129 | 0.1873 | -0.010678 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11166A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1670007 | 2011-08-19 |  | 1.266 | 1.24 | 102.0968 | 2.0968 | 0.1873 | 0.13881 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11231A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1730007 | 2011-08-19 |  | 1.264 | 1.24 | 101.9355 | 1.9355 | 0.1873 | 0.12814 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11231A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1800140 | 2011-08-20 |  | 1.262 | 1.24 | 101.7742 | 1.7742 | 0.1873 | 0.11746 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11231A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1890149 | 2011-08-22 |  | 1.648 | 1.58 | 104.3038 | 4.3038 | 0.1873 | 0.36305 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11231B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 1950181 | 2011-08-22 |  | 1.649 | 1.58 | 104.3671 | 4.3671 | 0.1873 | 0.36839 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11231B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2010130 | 2011-08-22 |  | 1.652 | 1.58 | 104.557 | 4.557 | 0.1873 | 0.38441 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11231B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2080106 | 2011-08-22 |  | 1.646 | 1.58 | 104.1772 | 4.1772 | 0.1873 | 0.35238 | 0.01 | 1259 |  |  |  | mg/L | P50 | ICLOW11231B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2150107 | 2011-08-23 |  | 1.134 | 1.12 | 101.25 | 1.25 | 0.1873 | 0.074746 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11231B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2210098 | 2011-08-23 |  | 1.14 | 1.12 | 101.7857 | 1.7857 | 0.1873 | 0.10678 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11231B
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2360213 | 2011-09-03 |  | 1.127 | 1.12 | 100.625 | 0.625 | 0.1873 | 0.037373 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11244A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2290151 | 2011-09-21 |  | 1.13 | 1.12 | 100.8929 | 0.89286 | 0.1873 | 0.05339 | 0.01 | 1259 |  |  |  | mg/L | P49 | ICLOW11251A
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 2011 | 2500272 | 2011-09-22 |  | 1.269 | 1.24 | 102.3387 | 2.3387 | 0.1873 | 0.15483 | 0.01 | 1259 |  |  |  | mg/L | P51 | ICLOW11251A