## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 FPS | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2680092 | 2006-10-05 |  | 0.0472 | 0.046 | 102.6087 | 2.6087 | 0.0031694 | 0.37862 | 0.008 | 2332 |  |  |  | mg/L | N90X | PELF278A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2006 | 2750055 | 2006-10-05 |  | 0.0461 | 0.046 | 100.2174 | 0.21739 | 0.0031694 | 0.031552 | 0.004 | 2332 |  |  |  | mg/L as P | N90X | PELF278B
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2760032 | 2006-10-18 |  | 0.0376 | 0.04 | 94 | -6 | 0.003 | -0.8 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF290A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2840129 | 2006-10-18 |  | 0.0388 | 0.04 | 97 | -3 | 0.003 | -0.4 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF290A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2920090 | 2006-10-26 |  | 0.04 | 0.04 | 100 | 0 | 0.003 | 0 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF298A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2990121 | 2006-11-09 |  | 0.0375 | 0.04 | 93.75 | -6.25 | 0.003 | -0.83333 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF311A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3070104 | 2006-11-09 |  | 0.1461 | 0.148 | 98.7162 | -1.2838 | 0.010197 | -0.18633 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF311A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3170100 | 2006-11-29 |  | 0.1544 | 0.148 | 104.3243 | 4.3243 | 0.010197 | 0.62762 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF332A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3210245 | 2006-12-08 |  | 0.1473 | 0.148 | 99.527 | -0.47297 | 0.010197 | -0.068646 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF333A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3310030 | 2006-12-08 |  | 0.1477 | 0.148 | 99.7973 | -0.2027 | 0.010197 | -0.02942 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF333A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3390068 | 2006-12-14 |  | 0.042 | 0.04 | 105 | 5 | 0.003 | 0.66667 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF345A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3460031 | 2006-12-15 |  | 0.0401 | 0.04 | 100.25 | 0.25 | 0.003 | 0.033333 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF348A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3530033 | 2007-01-10 |  | 0.0441 | 0.04 | 110.25 | 10.25 | 0.003 | 1.3667 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF003A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 3610063 | 2007-01-10 |  | 0.0441 | 0.04 | 110.25 | 10.25 | 0.003 | 1.3667 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF003A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0040036 | 2007-01-17 |  | 0.1462 | 0.148 | 98.7838 | -1.2162 | 0.010197 | -0.17652 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF016A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0100036 | 2007-01-17 |  | 0.1496 | 0.148 | 101.0811 | 1.0811 | 0.010197 | 0.15691 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF016A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0190053 | 2007-01-24 |  | 0.1493 | 0.148 | 100.8784 | 0.87838 | 0.010197 | 0.12749 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF023A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0370104 | 2007-02-21 |  | 0.0399 | 0.04 | 99.75 | -0.25 | 0.003 | -0.033333 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF051A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0430023 | 2007-02-21 |  | 0.0388 | 0.04 | 97 | -3 | 0.003 | -0.4 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF051A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0260113 | 2007-02-21 |  | 0.1475 | 0.148 | 99.6622 | -0.33784 | 0.010197 | -0.049033 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF051A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0510064 | 2007-03-14 |  | 0.0384 | 0.04 | 96 | -4 | 0.003 | -0.53333 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF065A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0570080 | 2007-03-14 |  | 0.0403 | 0.04 | 100.75 | 0.75 | 0.003 | 0.1 | 0.008 | 2332 |  |  |  | mg/L as P | N91 | PELF065A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0650126 | 2007-03-27 |  | 0.1496 | 0.148 | 101.0811 | 1.0811 | 0.010197 | 0.15691 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF086A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0730115 | 2007-03-27 |  | 0.1507 | 0.148 | 101.8243 | 1.8243 | 0.010197 | 0.26478 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF086A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0790007 | 2007-03-27 |  | 0.1494 | 0.148 | 100.9459 | 0.94595 | 0.010197 | 0.13729 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF086A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0860201 | 2007-04-10 |  | 0.1475 | 0.148 | 99.6622 | -0.33784 | 0.010197 | -0.049033 | 0.008 | 2332 |  |  |  | mg/L as P | N92X | PELF092A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 0940071 | 2007-05-08 |  | 0.1898 | 0.191 | 99.3717 | -0.62827 | 0.01316 | -0.091186 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF127A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1000082 | 2007-05-08 |  | 0.1923 | 0.191 | 100.6806 | 0.68063 | 0.01316 | 0.098785 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF127A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1070150 | 2007-05-08 |  | 0.1906 | 0.191 | 99.7906 | -0.20942 | 0.01316 | -0.030395 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF127A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1140111 | 2007-05-08 |  | 0.1944 | 0.191 | 101.7801 | 1.7801 | 0.01316 | 0.25836 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF127A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1230075 | 2007-05-08 |  | 0.0758 | 0.075 | 101.0667 | 1.0667 | 0.0051675 | 0.15481 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF127A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1290127 | 2007-05-24 |  | 0.0763 | 0.075 | 101.7333 | 1.7333 | 0.0051675 | 0.25157 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF141A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1360122 | 2007-05-24 |  | 0.0778 | 0.075 | 103.7333 | 3.7333 | 0.0051675 | 0.54185 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF141A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1430020 | 2007-06-07 |  | 0.0766 | 0.075 | 102.1333 | 2.1333 | 0.0051675 | 0.30963 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF156A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1570097 | 2007-06-13 |  | 0.1904 | 0.191 | 99.6859 | -0.31414 | 0.01316 | -0.045593 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF162A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1650189 | 2007-07-18 |  | 0.1863 | 0.191 | 97.5393 | -2.4607 | 0.01316 | -0.35715 | 0.008 | 2332 | Holding time exceeded |  |  | mg/L as P | N93 | PELF197A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1780192 | 2007-07-18 |  | 0.1891 | 0.191 | 99.0052 | -0.99476 | 0.01316 | -0.14438 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF197A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1870121 | 2007-07-18 |  | 0.0775 | 0.075 | 103.3333 | 3.3333 | 0.0051675 | 0.48379 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF197A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1930322 | 2007-07-18 |  | 0.0755 | 0.075 | 100.6667 | 0.66667 | 0.0051675 | 0.096759 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF197A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 1990220 | 2007-08-08 |  | 0.0765 | 0.075 | 102 | 2 | 0.0051675 | 0.29028 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF219A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2060063 | 2007-08-08 |  | 0.078 | 0.075 | 104 | 4 | 0.0051675 | 0.58055 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF219A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2200115 | 2007-08-23 |  | 0.19 | 0.191 | 99.4764 | -0.52356 | 0.01316 | -0.075988 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF232A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2280058 | 2007-08-23 |  | 0.1931 | 0.191 | 101.0995 | 1.0995 | 0.01316 | 0.15958 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF232A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2340041 | 2007-09-11 |  | 0.1894 | 0.191 | 99.1623 | -0.8377 | 0.01316 | -0.12158 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF253A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2480032 | 2007-09-19 |  | 0.0791 | 0.075 | 105.4667 | 5.4667 | 0.0051675 | 0.79342 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF262A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2550051 | 2007-09-19 |  | 0.0757 | 0.075 | 100.9333 | 0.93333 | 0.0051675 | 0.13546 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF262A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2410204 | 2007-09-19 |  | 0.1921 | 0.191 | 100.5759 | 0.57592 | 0.01316 | 0.083587 | 0.008 | 2332 |  |  |  | mg/L as P | N93 | PELF262A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2620034 | 2007-10-10 |  | 0.0784 | 0.075 | 104.5333 | 4.5333 | 0.0051675 | 0.65796 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF282A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2007 | 2690066 | 2007-10-10 |  | 0.0785 | 0.075 | 104.6667 | 4.6667 | 0.0051675 | 0.67731 | 0.008 | 2332 |  |  |  | mg/L as P | N94X | PELF282A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2780068 | 2007-11-07 |  | 0.234 | 0.231 | 101.2987 | 1.2987 | 0.015916 | 0.18849 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF303A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2880054 | 2007-11-19 |  | 0.236 | 0.231 | 102.1645 | 2.1645 | 0.015916 | 0.31415 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF323A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2950068 | 2007-11-19 |  | 0.2336 | 0.231 | 101.1255 | 1.1255 | 0.015916 | 0.16336 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF323A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2990012 | 2007-11-19 |  | 0.2365 | 0.231 | 102.381 | 2.381 | 0.015916 | 0.34557 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF323A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3130102 | 2007-11-19 |  | 0.1291 | 0.12968 | 99.5566 | -0.44342 | 0.0089346 | -0.064356 | 0.008 | 2332 |  |  |  | mg/L as P | N96Xc | PELF323A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3340030 | 2007-12-04 |  | 0.1288 | 0.12968 | 99.3252 | -0.67476 | 0.0089346 | -0.097934 | 0.008 | 2332 |  |  |  | mg/L as P | N96Xc | PELF337A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3230086 | 2007-12-05 |  | 0.1267 | 0.12968 | 97.7058 | -2.2942 | 0.0089346 | -0.33297 | 0.008 | 2332 |  |  |  | mg/L as P | N96Xc | PELF339A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3300018 | 2007-12-05 |  | 0.1281 | 0.12968 | 98.7854 | -1.2146 | 0.0089346 | -0.17628 | 0.008 | 2332 |  |  |  | mg/L as P | N96Xc | PELF339A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3410117 | 2007-12-20 |  | 0.2194 | 0.231 | 94.9784 | -5.0216 | 0.015916 | -0.72883 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF353A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3480009 | 2008-01-10 |  | 0.2192 | 0.231 | 94.8918 | -5.1082 | 0.015916 | -0.7414 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF009A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3550037 | 2008-01-14 |  | 0.2241 | 0.231 | 97.013 | -2.987 | 0.015916 | -0.43353 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF010A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 3650023 | 2008-01-14 |  | 0.2232 | 0.231 | 96.6234 | -3.3766 | 0.015916 | -0.49008 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF010A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0110044 | 2008-02-04 |  | 0.0956 | 0.0975 | 98.0513 | -1.9487 | 0.0067178 | -0.28283 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF030A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0180065 | 2008-02-04 |  | 0.0952 | 0.0975 | 97.641 | -2.359 | 0.0067178 | -0.34238 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF030A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0280035 | 2008-02-04 |  | 0.0967 | 0.0975 | 99.1795 | -0.82051 | 0.0067178 | -0.11909 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF030A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0350027 | 2008-02-26 |  | 0.0985 | 0.0975 | 101.0256 | 1.0256 | 0.0067178 | 0.14886 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF056A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0420049 | 2008-03-06 |  | 0.2374 | 0.231 | 102.7706 | 2.7706 | 0.015916 | 0.40211 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF063A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0460042 | 2008-03-06 |  | 0.2329 | 0.231 | 100.8225 | 0.82251 | 0.015916 | 0.11938 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF063A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0590034 | 2008-03-11 |  | 0.236 | 0.231 | 102.1645 | 2.1645 | 0.015916 | 0.31415 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N95 | PELF070A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0670078 | 2008-03-11 |  | 0.0979 | 0.0975 | 100.4103 | 0.41026 | 0.0067178 | 0.059544 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF070A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0740040 | 2008-03-31 |  | 0.095 | 0.0975 | 97.4359 | -2.5641 | 0.0067178 | -0.37215 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF085A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0840036 | 2008-03-31 |  | 0.0957 | 0.0975 | 98.1538 | -1.8462 | 0.0067178 | -0.26795 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF085A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 0880042 | 2008-04-08 |  | 0.0955 | 0.0975 | 97.9487 | -2.0513 | 0.0067178 | -0.29772 | 0.008 | 2332 |  |  |  | mg/L as P | N96X | PELF098A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1330038 | 2008-05-21 |  | 0.0586 | 0.0601 | 97.5042 | -2.4958 | 0.0041409 | -0.36224 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF141A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1400089 | 2008-05-21 |  | 0.0568 | 0.0601 | 94.5092 | -5.4908 | 0.0041409 | -0.79693 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF141A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1120044 | 2008-05-27 |  | 0.4126 | 0.41 | 100.6341 | 0.63415 | 0.028249 | 0.092039 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N97 | PELF143A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1480039 | 2008-06-03 |  | 0.0579 | 0.0601 | 96.3394 | -3.6606 | 0.0041409 | -0.53129 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF154A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1510036 | 2008-06-03 |  | 0.0608 | 0.0601 | 101.1647 | 1.1647 | 0.0041409 | 0.16905 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF154A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1720007 | 2008-07-17 |  | 0.4146 | 0.41 | 101.122 | 1.122 | 0.028249 | 0.16284 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N97 | PELF198A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 1930222 | 2008-07-17 |  | 0.0601 | 0.0601 | 100 | 0 | 0.0041409 | 0 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF198A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2000130 | 2008-07-31 |  | 0.0601 | 0.0601 | 100 | 0 | 0.0041409 | 0 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF210A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2070160 | 2008-07-31 |  | 0.0603 | 0.0601 | 100.3328 | 0.33278 | 0.0041409 | 0.048299 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF210A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2170065 | 2008-08-13 |  | 0.0622 | 0.0601 | 103.4942 | 3.4942 | 0.0041409 | 0.50714 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF225A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2530078 | 2008-09-16 |  | 0.0589 | 0.0601 | 98.0033 | -1.9967 | 0.0041409 | -0.28979 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF259A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2600169 | 2008-09-30 |  | 0.0616 | 0.0601 | 102.4958 | 2.4958 | 0.0041409 | 0.36224 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF273A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2680130 | 2008-09-30 |  | 0.0597 | 0.0601 | 99.3344 | -0.66556 | 0.0041409 | -0.096598 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF273A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2008 | 2740095 | 2008-10-09 |  | 0.0603 | 0.0601 | 100.3328 | 0.33278 | 0.0041409 | 0.048299 | 0.008 | 2332 |  |  |  | mg/L as P | N98X | PELF282A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2810083 | 2008-10-22 |  | 0.2931 | 0.287 | 102.1254 | 2.1254 | 0.019774 | 0.30848 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF295A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2900086 | 2008-10-30 |  | 0.287 | 0.287 | 100 | 0 | 0.019774 | 0 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF301A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2970124 | 2008-11-13 |  | 0.2869 | 0.287 | 99.9652 | -0.034843 | 0.019774 | -0.0050571 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF315A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 3100016 | 2008-11-13 |  | 0.0635 | 0.0644 | 98.6025 | -1.3975 | 0.0044372 | -0.20283 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF315A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 3040079 | 2008-11-20 |  | 0.2798 | 0.287 | 97.4913 | -2.5087 | 0.019774 | -0.36411 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF323A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 3180090 | 2008-11-20 |  | 0.0728 | 0.0644 | 113.0435 | 13.0435 | 0.0044372 | 1.8931 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF323A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 3250105 | 2008-12-09 |  | 0.0654 | 0.0644 | 101.5528 | 1.5528 | 0.0044372 | 0.22537 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF343A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 3360009 | 2008-12-24 |  | 0.0643 | 0.0644 | 99.8447 | -0.15528 | 0.0044372 | -0.022537 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF357A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0060007 | 2009-01-22 |  | 0.0653 | 0.0644 | 101.3975 | 1.3975 | 0.0044372 | 0.20283 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF020A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0150039 | 2009-01-22 |  | 0.0638 | 0.0644 | 99.0683 | -0.93168 | 0.0044372 | -0.13522 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF020A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0200060 | 2009-01-22 |  | 0.0639 | 0.0644 | 99.2236 | -0.7764 | 0.0044372 | -0.11268 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF020A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 3580006 | 2009-01-22 |  | 0.2955 | 0.287 | 102.9617 | 2.9617 | 0.019774 | 0.42985 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF020A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0280073 | 2009-02-11 |  | 0.0663 | 0.0644 | 102.9503 | 2.9503 | 0.0044372 | 0.4282 | 0.008 | 2332 | See result laboratory comment |  |  | mg/L as P | N100X | PELF040A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0340054 | 2009-02-19 |  | 0.2847 | 0.287 | 99.1986 | -0.80139 | 0.019774 | -0.11631 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF049A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0420011 | 2009-03-05 |  | 0.2913 | 0.287 | 101.4983 | 1.4983 | 0.019774 | 0.21745 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF063A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0490041 | 2009-03-12 |  | 0.2894 | 0.287 | 100.8362 | 0.83624 | 0.019774 | 0.12137 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF071A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0550051 | 2009-03-12 |  | 0.2926 | 0.287 | 101.9512 | 1.9512 | 0.019774 | 0.2832 | 0.008 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N99 | PELF071A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0630006 | 2009-03-12 |  | 0.0658 | 0.0644 | 102.1739 | 2.1739 | 0.0044372 | 0.31552 | 0.008 | 2332 |  |  |  | mg/L as P | N100X | PELF071A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0690013 | 2009-03-12 |  | 0.0661 | 0.0644 | 102.6398 | 2.6398 | 0.0044372 | 0.38313 | 0.008 | 2332 |  |  |  | mg/L as P | N100X | PELF071A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0760083 | 2009-04-06 |  | 0.0641 | 0.0644 | 99.5342 | -0.46584 | 0.0044372 | -0.067611 | 0.008 | 2332 |  |  |  | mg/L as P | N100X | PELF090A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0830092 | 2009-04-06 |  | 0.0644 | 0.0644 | 100 | 0 | 0.0044372 | 0 | 0.008 | 2332 |  |  |  | mg/L as P | N100X | PELF090A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 0970132 | 2009-05-06 |  | 0.3549 | 0.349 | 101.6905 | 1.6905 | 0.024046 | 0.24536 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF125A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1250007 | 2009-05-20 |  | 0.1216 | 0.121 | 100.4959 | 0.49587 | 0.0083369 | 0.071969 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1330126 | 2009-05-20 |  | 0.1216 | 0.121 | 100.4959 | 0.49587 | 0.0083369 | 0.071969 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1390144 | 2009-06-03 |  | 0.1234 | 0.121 | 101.9835 | 1.9835 | 0.0083369 | 0.28788 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF153A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1490250 | 2009-06-11 |  | 0.1192 | 0.121 | 98.5124 | -1.4876 | 0.0083369 | -0.21591 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF160A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1540098 | 2009-06-25 |  | 0.3538 | 0.349 | 101.3754 | 1.3754 | 0.024046 | 0.19962 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF173A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1560197 | 2009-06-25 |  | 0.3594 | 0.349 | 102.9799 | 2.9799 | 0.024046 | 0.4325 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF173A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1600132 | 2009-06-30 |  | 0.3565 | 0.349 | 102.149 | 2.149 | 0.024046 | 0.3119 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF180A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1660113 | 2009-06-30 |  | 0.3551 | 0.349 | 101.7479 | 1.7479 | 0.024046 | 0.25368 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF180A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1680145 | 2009-06-30 |  | 0.3542 | 0.349 | 101.49 | 1.49 | 0.024046 | 0.21625 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF180A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1730161 | 2009-07-15 |  | 0.3487 | 0.349 | 99.914 | -0.08596 | 0.024046 | -0.012476 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1740117 | 2009-07-15 |  | 0.3447 | 0.349 | 98.7679 | -1.2321 | 0.024046 | -0.17882 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1880159 | 2009-07-15 |  | 0.1211 | 0.121 | 100.0826 | 0.082645 | 0.0083369 | 0.011995 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1810008 | 2009-07-30 |  | 0.3485 | 0.349 | 99.8567 | -0.14327 | 0.024046 | -0.020793 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF208A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1940069 | 2009-07-30 |  | 0.1236 | 0.121 | 102.1488 | 2.1488 | 0.0083369 | 0.31187 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF208A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1950076 | 2009-07-30 |  | 0.1249 | 0.121 | 103.2231 | 3.2231 | 0.0083369 | 0.4678 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF208A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 1980085 | 2009-07-30 |  | 0.1213 | 0.121 | 100.2479 | 0.24793 | 0.0083369 | 0.035985 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF208A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2020256 | 2009-07-30 |  | 0.1226 | 0.121 | 101.3223 | 1.3223 | 0.0083369 | 0.19192 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF208A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2080174 | 2009-08-14 |  | 0.1226 | 0.121 | 101.3223 | 1.3223 | 0.0083369 | 0.19192 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF224A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2100067 | 2009-08-14 |  | 0.1233 | 0.121 | 101.9008 | 1.9008 | 0.0083369 | 0.27588 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF224A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2120011 | 2009-08-14 |  | 0.124 | 0.121 | 102.4793 | 2.4793 | 0.0083369 | 0.35985 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF224A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2160039 | 2009-08-26 |  | 0.3529 | 0.349 | 101.1175 | 1.1175 | 0.024046 | 0.16219 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF237A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2220147 | 2009-08-26 |  | 0.3552 | 0.349 | 101.7765 | 1.7765 | 0.024046 | 0.25784 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF237A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2240111 | 2009-08-26 |  | 0.3512 | 0.349 | 100.6304 | 0.63037 | 0.024046 | 0.091491 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF237A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2290136 | 2009-09-10 |  | 0.349 | 0.349 | 100 | 0 | 0.024046 | 0 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF245A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2310144 | 2009-09-10 |  | 0.3432 | 0.349 | 98.3381 | -1.6619 | 0.024046 | -0.2412 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF245A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2360200 | 2009-09-10 |  | 0.347 | 0.349 | 99.4269 | -0.57307 | 0.024046 | -0.083174 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF245A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2460235 | 2009-09-23 |  | 0.1283 | 0.121 | 106.0331 | 6.0331 | 0.0083369 | 0.87563 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF265A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2530061 | 2009-09-23 |  | 0.1247 | 0.121 | 103.0579 | 3.0579 | 0.0083369 | 0.44381 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF265A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2590003 | 2009-09-23 |  | 0.1241 | 0.121 | 102.562 | 2.562 | 0.0083369 | 0.37184 | 0.008 | 2332 |  |  |  | mg/L as P | N102X | PELF265A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2380059 | 2009-09-23 |  | 0.3662 | 0.349 | 104.9284 | 4.9284 | 0.024046 | 0.71529 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF265A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2430104 | 2009-09-23 |  | 0.3713 | 0.349 | 106.3897 | 6.3897 | 0.024046 | 0.92739 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N101 | PELF265A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2009 | 2660202 | 2009-11-03 |  | 0.1219 | 0.121 | 100.7438 | 0.7438 | 0.0083369 | 0.10795 | 0.008 | 2332 | Holding time exceeded |  |  | mg/L as P | N102X | PELF299A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2800001 | 2009-11-12 |  | 0.2904 | 0.293 | 99.1126 | -0.88737 | 0.020188 | -0.12879 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF316A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2880086 | 2009-11-12 |  | 0.3062 | 0.293 | 104.5051 | 4.5051 | 0.020188 | 0.65386 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF316A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2940094 | 2009-11-12 |  | 0.2921 | 0.293 | 99.6928 | -0.30717 | 0.020188 | -0.044582 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF316A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3080146 | 2009-11-12 |  | 0.0655 | 0.067 | 97.7612 | -2.2388 | 0.0046163 | -0.32494 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF316A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3010065 | 2009-11-27 |  | 0.2785 | 0.293 | 95.0512 | -4.9488 | 0.020188 | -0.71826 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF328A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3160017 | 2009-11-27 |  | 0.0644 | 0.067 | 96.1194 | -3.8806 | 0.0046163 | -0.56322 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF328A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3230018 | 2009-12-03 |  | 0.0662 | 0.067 | 98.806 | -1.194 | 0.0046163 | -0.1733 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF335A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3280022 | 2009-12-03 |  | 0.0666 | 0.067 | 99.403 | -0.59701 | 0.0046163 | -0.086649 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF335A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3420121 | 2009-12-21 |  | 0.285 | 0.293 | 97.2696 | -2.7304 | 0.020188 | -0.39628 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF355A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3490057 | 2010-01-05 |  | 0.2905 | 0.293 | 99.1468 | -0.85324 | 0.020188 | -0.12384 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF005A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0050051 | 2010-01-13 |  | 0.0662 | 0.067 | 98.806 | -1.194 | 0.0046163 | -0.1733 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF012A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3560083 | 2010-01-13 |  | 0.2931 | 0.293 | 100.0341 | 0.03413 | 0.020188 | 0.0049535 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF012A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 3640012 | 2010-01-13 |  | 0.3127 | 0.293 | 106.7235 | 6.7235 | 0.020188 | 0.97584 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF012A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0130069 | 2010-01-28 |  | 0.0671 | 0.067 | 100.1493 | 0.14925 | 0.0046163 | 0.021662 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF027A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0200098 | 2010-01-28 |  | 0.0671 | 0.067 | 100.1493 | 0.14925 | 0.0046163 | 0.021662 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF027A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0260001 | 2010-01-28 |  | 0.0675 | 0.067 | 100.7463 | 0.74627 | 0.0046163 | 0.10831 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF027A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0330028 | 2010-02-09 |  | 0.2904 | 0.293 | 99.1126 | -0.88737 | 0.020188 | -0.12879 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF039A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0400001 | 2010-02-24 |  | 0.305 | 0.293 | 104.0956 | 4.0956 | 0.020188 | 0.59442 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF053A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0480096 | 2010-03-02 |  | 0.2974 | 0.293 | 101.5017 | 1.5017 | 0.020188 | 0.21795 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF060A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0540030 | 2010-03-10 |  | 0.302 | 0.293 | 103.0717 | 3.0717 | 0.020188 | 0.44582 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N103 | PELF068A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0670032 | 2010-03-16 |  | 0.0686 | 0.067 | 102.3881 | 2.3881 | 0.0046163 | 0.3466 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF074A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0780156 | 2010-04-06 |  | 0.0658 | 0.067 | 98.209 | -1.791 | 0.0046163 | -0.25995 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF095A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0890048 | 2010-04-06 |  | 0.0663 | 0.067 | 98.9552 | -1.0448 | 0.0046163 | -0.15164 | 0.008 | 2332 |  |  |  | mg/L as P | N104X | PELF095A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 0970003 | 2010-05-03 |  | 0.2721 | 0.26 | 104.6538 | 4.6538 | 0.017914 | 0.67545 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF116A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1030046 | 2010-05-06 |  | 0.2642 | 0.26 | 101.6154 | 1.6154 | 0.017914 | 0.23445 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF123A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1110118 | 2010-05-06 |  | 0.27 | 0.26 | 103.8462 | 3.8462 | 0.017914 | 0.55822 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF123A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1170062 | 2010-05-19 |  | 0.26 | 0.26 | 100 | 0 | 0.017914 | 0 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1240146 | 2010-05-19 |  | 0.1316 | 0.13 | 101.2308 | 1.2308 | 0.008957 | 0.17863 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1320105 | 2010-05-19 |  | 0.133 | 0.13 | 102.3077 | 2.3077 | 0.008957 | 0.33493 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF138A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1390054 | 2010-06-02 |  | 0.1276 | 0.13 | 98.1538 | -1.8462 | 0.008957 | -0.26795 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF152A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1460118 | 2010-06-02 |  | 0.1284 | 0.13 | 98.7692 | -1.2308 | 0.008957 | -0.17863 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF152A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1530114 | 2010-06-24 |  | 0.2639 | 0.26 | 101.5 | 1.5 | 0.017914 | 0.21771 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF172A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1550183 | 2010-06-24 |  | 0.2774 | 0.26 | 106.6923 | 6.6923 | 0.017914 | 0.97131 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF172A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1590095 | 2010-06-24 |  | 0.269 | 0.26 | 103.4615 | 3.4615 | 0.017914 | 0.5024 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF172A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1650124 | 2010-07-15 |  | 0.2511 | 0.26 | 96.5769 | -3.4231 | 0.017914 | -0.49682 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1660183 | 2010-07-15 |  | 0.2566 | 0.26 | 98.6923 | -1.3077 | 0.017914 | -0.1898 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1720015 | 2010-07-15 |  | 0.2549 | 0.26 | 98.0385 | -1.9615 | 0.017914 | -0.28469 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1880005 | 2010-07-15 |  | 0.1271 | 0.13 | 97.7692 | -2.2308 | 0.008957 | -0.32377 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1730142 | 2010-07-20 |  | 0.2634 | 0.26 | 101.3077 | 1.3077 | 0.017914 | 0.1898 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF200A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1790141 | 2010-07-20 |  | 0.267 | 0.26 | 102.6923 | 2.6923 | 0.017914 | 0.39076 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF200A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1940130 | 2010-07-20 |  | 0.1314 | 0.13 | 101.0769 | 1.0769 | 0.008957 | 0.1563 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF200A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 1940122 | 2010-07-20 |  | 0.1292 | 0.13 | 99.3846 | -0.61538 | 0.008957 | -0.089316 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF200A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2000037 | 2010-08-10 |  | 0.1261 | 0.13 | 97 | -3 | 0.008957 | -0.43541 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF214A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2010168 | 2010-08-10 |  | 0.1254 | 0.13 | 96.4615 | -3.5385 | 0.008957 | -0.51356 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF214A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2070089 | 2010-08-10 |  | 0.1271 | 0.13 | 97.7692 | -2.2308 | 0.008957 | -0.32377 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF214A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2080056 | 2010-08-10 |  | 0.1235 | 0.13 | 95 | -5 | 0.008957 | -0.72569 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF214A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2140116 | 2010-08-12 |  | 0.1275 | 0.13 | 98.0769 | -1.9231 | 0.008957 | -0.27911 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF223A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2150146 | 2010-08-17 |  | 0.2802 | 0.26 | 107.7692 | 7.7692 | 0.017914 | 1.1276 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF228A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2230033 | 2010-09-01 |  | 0.2718 | 0.26 | 104.5385 | 4.5385 | 0.017914 | 0.6587 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2230022 | 2010-09-01 |  | 0.2722 | 0.26 | 104.6923 | 4.6923 | 0.017914 | 0.68103 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2250301 | 2010-09-01 |  | 0.2641 | 0.26 | 101.5769 | 1.5769 | 0.017914 | 0.22887 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2290199 | 2010-09-08 |  | 0.2686 | 0.26 | 103.3077 | 3.3077 | 0.017914 | 0.48007 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF250A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2350152 | 2010-09-08 |  | 0.2704 | 0.26 | 104 | 4 | 0.017914 | 0.58055 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF250A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2370242 | 2010-09-08 |  | 0.2653 | 0.26 | 102.0385 | 2.0385 | 0.017914 | 0.29586 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF250A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2390292 | 2010-09-08 |  | 0.266 | 0.26 | 102.3077 | 2.3077 | 0.017914 | 0.33493 | 0.008 | 2332 | Sample was diluted |  |  | mg/L as P | N105 | PELF250A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2570127 | 2010-09-21 |  | 0.131 | 0.13 | 100.7692 | 0.76923 | 0.008957 | 0.11164 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF263A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2600194 | 2010-09-29 |  | 0.1297 | 0.13 | 99.7692 | -0.23077 | 0.008957 | -0.033493 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF270A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2660111 | 2010-09-29 |  | 0.1283 | 0.13 | 98.6923 | -1.3077 | 0.008957 | -0.1898 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF270A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2010 | 2730101 | 2010-10-20 |  | 0.1287 | 0.13 | 99 | -1 | 0.008957 | -0.14514 | 0.008 | 2332 |  |  |  | mg/L as P | N106X | PELF291A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2790098 | 2010-10-20 |  | 0.1663 | 0.167 | 99.5808 | -0.41916 | 0.011506 | -0.060836 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF291A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2870138 | 2010-10-20 |  | 0.1663 | 0.167 | 99.5808 | -0.41916 | 0.011506 | -0.060836 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF291A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2930125 | 2010-10-27 |  | 0.1651 | 0.167 | 98.8623 | -1.1377 | 0.011506 | -0.16513 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF300A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2990169 | 2010-10-27 |  | 0.1644 | 0.167 | 98.4431 | -1.5569 | 0.011506 | -0.22596 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF300A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3060125 | 2010-11-10 |  | 0.0506 | 0.0535 | 94.5794 | -5.4206 | 0.0036862 | -0.78673 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF312A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3130092 | 2010-12-01 |  | 0.0547 | 0.0535 | 102.243 | 2.243 | 0.0036862 | 0.32554 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF333A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3210130 | 2010-12-01 |  | 0.0531 | 0.0535 | 99.2523 | -0.74766 | 0.0036862 | -0.10851 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF333A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3330023 | 2010-12-06 |  | 0.0513 | 0.0535 | 95.8879 | -4.1121 | 0.0036862 | -0.59683 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF340A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3420080 | 2010-12-15 |  | 0.1682 | 0.167 | 100.7186 | 0.71856 | 0.011506 | 0.10429 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF347A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3480058 | 2010-12-16 |  | 0.1678 | 0.167 | 100.479 | 0.47904 | 0.011506 | 0.069527 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF350A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3550001 | 2011-01-06 |  | 0.1674 | 0.167 | 100.2395 | 0.23952 | 0.011506 | 0.034764 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF003A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 3640029 | 2011-01-06 |  | 0.1662 | 0.167 | 99.521 | -0.47904 | 0.011506 | -0.069527 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF003A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0050059 | 2011-01-13 |  | 0.0515 | 0.0535 | 96.2617 | -3.7383 | 0.0036862 | -0.54257 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF011A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0110053 | 2011-01-26 |  | 0.0539 | 0.0535 | 100.7477 | 0.74766 | 0.0036862 | 0.10851 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF024A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0200043 | 2011-01-26 |  | 0.0532 | 0.0535 | 99.4393 | -0.56075 | 0.0036862 | -0.081386 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF024A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0270090 | 2011-02-02 |  | 0.0514 | 0.0535 | 96.0748 | -3.9252 | 0.0036862 | -0.5697 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF032A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0400099 | 2011-02-17 |  | 0.1692 | 0.167 | 101.3174 | 1.3174 | 0.011506 | 0.1912 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF045A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0470051 | 2011-03-01 |  | 0.1686 | 0.167 | 100.9581 | 0.95808 | 0.011506 | 0.13905 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF056A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0540120 | 2011-03-01 |  | 0.1662 | 0.167 | 99.521 | -0.47904 | 0.011506 | -0.069527 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF056A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0600067 | 2011-03-10 |  | 0.1594 | 0.167 | 95.4491 | -4.5509 | 0.011506 | -0.66051 | 0.004 | 2332 |  |  |  | mg/L as P | N107 | PELF068A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0670045 | 2011-03-10 |  | 0.0471 | 0.0535 | 88.0374 | -11.9626 | 0.0036862 | -1.7362 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF068A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0740118 | 2011-03-30 |  | 0.0519 | 0.0535 | 97.0093 | -2.9907 | 0.0036862 | -0.43406 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF084A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0820088 | 2011-03-30 |  | 0.0496 | 0.0535 | 92.7103 | -7.2897 | 0.0036862 | -1.058 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF084A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0890086 | 2011-04-20 |  | 0.0515 | 0.0535 | 96.2617 | -3.7383 | 0.0036862 | -0.54257 | 0.004 | 2332 |  |  |  | mg/L as P | N108X | PELF108A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 0960104 | 2011-04-26 |  | 0.2561 | 0.27 | 94.8519 | -5.1481 | 0.018603 | -0.74719 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF115A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1020034 | 2011-04-26 |  | 0.2632 | 0.27 | 97.4815 | -2.5185 | 0.018603 | -0.36553 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF115A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1110014 | 2011-05-11 |  | 0.2749 | 0.27 | 101.8148 | 1.8148 | 0.018603 | 0.2634 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF129A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1230157 | 2011-05-11 |  | 0.0577 | 0.0581 | 99.3115 | -0.68847 | 0.0040031 | -0.099923 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF129A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1180034 | 2011-06-08 |  | 0.3211 | 0.27 | 118.9259 | 18.9259 | 0.018603 | 2.7469 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF151A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1320059 | 2011-06-08 |  | 0.0625 | 0.0581 | 107.5731 | 7.5731 | 0.0040031 | 1.0992 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF151A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1380128 | 2011-06-08 |  | 0.058 | 0.0581 | 99.8279 | -0.17212 | 0.0040031 | -0.024981 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF151A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1440156 | 2011-06-08 |  | 0.06 | 0.0581 | 103.2702 | 3.2702 | 0.0040031 | 0.47463 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF151A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1580104 | 2011-07-14 |  | 0.2701 | 0.27 | 100.037 | 0.037037 | 0.018603 | 0.0053755 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF187A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1640079 | 2011-07-14 |  | 0.2777 | 0.27 | 102.8519 | 2.8519 | 0.018603 | 0.41391 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF187A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1890152 | 2011-07-19 |  | 0.0664 | 0.0581 | 114.2857 | 14.2857 | 0.0040031 | 2.0734 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF194A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1670003 | 2011-07-21 |  | 0.2654 | 0.27 | 98.2963 | -1.7037 | 0.018603 | -0.24727 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1710084 | 2011-07-21 |  | 0.2663 | 0.27 | 98.6296 | -1.3704 | 0.018603 | -0.19889 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1730003 | 2011-07-21 |  | 0.2711 | 0.27 | 100.4074 | 0.40741 | 0.018603 | 0.05913 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1790121 | 2011-07-21 |  | 0.2764 | 0.27 | 102.3704 | 2.3704 | 0.018603 | 0.34403 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1800134 | 2011-07-21 |  | 0.2615 | 0.27 | 96.8519 | -3.1481 | 0.018603 | -0.45692 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1940088 | 2011-07-21 |  | 0.057 | 0.0581 | 98.1067 | -1.8933 | 0.0040031 | -0.27479 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1950175 | 2011-07-21 |  | 0.0568 | 0.0581 | 97.7625 | -2.2375 | 0.0040031 | -0.32475 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1990074 | 2011-07-21 |  | 0.0565 | 0.0581 | 97.2461 | -2.7539 | 0.0040031 | -0.39969 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF199A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 1870005 | 2011-08-03 |  | 0.2701 | 0.27 | 100.037 | 0.037037 | 0.018603 | 0.0053755 | 0.004 | 2332 | Sample was diluted | See result laboratory comment |  | mg/L as P | N109 | PELF209A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2010126 | 2011-08-03 |  | 0.0649 | 0.0581 | 111.704 | 11.704 | 0.0040031 | 1.6987 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF209A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2070160 | 2011-08-03 |  | 0.0576 | 0.0581 | 99.1394 | -0.86059 | 0.0040031 | -0.1249 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF209A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2080102 | 2011-08-03 |  | 0.0618 | 0.0581 | 106.3683 | 6.3683 | 0.0040031 | 0.92429 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF209A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2100274 | 2011-08-09 |  | 0.0569 | 0.0581 | 97.9346 | -2.0654 | 0.0040031 | -0.29977 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF216A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2150105 | 2011-08-23 |  | 0.2723 | 0.27 | 100.8519 | 0.85185 | 0.018603 | 0.12364 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF230A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2170139 | 2011-09-01 |  | 0.2622 | 0.27 | 97.1111 | -2.8889 | 0.018603 | -0.41929 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2210095 | 2011-09-01 |  | 0.2711 | 0.27 | 100.4074 | 0.40741 | 0.018603 | 0.05913 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2270103 | 2011-09-01 |  | 0.2788 | 0.27 | 103.2593 | 3.2593 | 0.018603 | 0.47304 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2290146 | 2011-09-01 |  | 0.2746 | 0.27 | 101.7037 | 1.7037 | 0.018603 | 0.24727 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF242A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2500267 | 2011-09-13 |  | 0.0556 | 0.0581 | 95.6971 | -4.3029 | 0.0040031 | -0.62452 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF251A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2350152 | 2011-09-13 |  | 0.2606 | 0.27 | 96.5185 | -3.4815 | 0.018603 | -0.50529 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF251A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2360207 | 2011-09-13 |  | 0.2677 | 0.27 | 99.1481 | -0.85185 | 0.018603 | -0.12364 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF251A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2560151 | 2011-09-29 |  | 0.0589 | 0.0581 | 101.3769 | 1.3769 | 0.0040031 | 0.19985 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF269A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2640161 | 2011-09-29 |  | 0.0598 | 0.0581 | 102.926 | 2.926 | 0.0040031 | 0.42467 | 0.004 | 2332 |  |  |  | mg/L as P | N110X | PELF269A
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | 2011 | 2420134 | 2011-09-29 |  | 0.2797 | 0.27 | 103.5926 | 3.5926 | 0.018603 | 0.52142 | 0.004 | 2332 | Sample was diluted |  |  | mg/L as P | N109 | PELF269A