## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25004-75154 | 135.1438 | 0.94136 | 0.69656 | 60 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25132-75130 | 65.7879 | 0.49653 | 0.75475 | 16 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25134-75136 | 132.2604 | 0.88044 | 0.66568 | 28 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25138-75140 | 93.5009 | 0.88497 | 0.94649 | 26 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25140-75138 | 55.2354 | 0.6616 | 1.1978 | 32 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25144-75142 | 157.5569 | 0.90469 | 0.5742 | 13 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25150-75004 | 167.4441 | 2.495 | 1.4901 | 64 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25156-75004 | 175.8036 | 4.9122 | 2.7942 | 36 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25160-75DIW | 19.4533 | 0.21491 | 1.1048 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25162-75158 | 50.6391 | 0.1915 | 0.37816 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25164-75160 | 58.6726 | 0.21726 | 0.37029 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25168-75166 | 67.8831 | 1.7585 | 2.5905 | 25 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25172-75168 | 30.52 | 0.96964 | 3.1771 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25172-75170 | 31.4964 | 0.408 | 1.2954 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25172-75174 | 58.9027 | 0.23703 | 0.40241 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25174-75176 | 37.0214 | 0.2409 | 0.6507 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25178-75176 | 28.6613 | 0.24447 | 0.85297 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25180-75176 | 35.4413 | 0.24274 | 0.6849 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25180-75178 | 39.3138 | 0.20496 | 0.52133 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25180-75184 | 48.2748 | 0.39065 | 0.80922 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25182-75180 | 54.1821 | 0.69702 | 1.2864 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25184-75182 | 37.9771 | 0.7641 | 2.012 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25184-75186 | 49.7935 | 0.61141 | 1.2279 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25186-75188 | 77.8479 | 0.64266 | 0.82554 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25188-75192 | 39.9995 | 0.87711 | 2.1928 | 21 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25DIW-75136 | 116.4083 | 0.6437 | 0.55297 | 52 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25DIW-75138 | 27.4437 | 0.37433 | 1.364 | 30 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25DIW-75142 | 137.2212 | 1.5136 | 1.1031 | 26 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25DIW-75144 | 65.7092 | 0.83324 | 1.2681 | 60 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25DIW-75150 | 17.0205 | 0.85001 | 4.994 | 41 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25DIW-75156 | 47.9831 | 0.48795 | 1.0169 | 36 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50130-50132 | 75.0962 | 0.37582 | 0.50045 | 24 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50130-50136 | 104.9767 | 0.3977 | 0.37885 | 30 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50132-50134 | 80.1326 | 0.32615 | 0.40701 | 18 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50134-50136 | 109.4229 | 0.61245 | 0.55971 | 68 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50134-50140 | 88.5751 | 0.58477 | 0.66019 | 18 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50136-50138 | 94.5749 | 0.65526 | 0.69285 | 30 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50138-50140 | 74.5639 | 0.66943 | 0.89779 | 46 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50140-50144 | 99.5517 | 1.1073 | 1.1123 | 18 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50142-50144 | 133.5635 | 1.2182 | 0.91205 | 34 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50152-50DIW | 3.8558 | 0.19693 | 5.1074 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50154-50DIW | 58.9733 | 1.5936 | 2.7023 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50156-50DIW | 32.6525 | 0.36009 | 1.1028 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50158-50DIW | 33.7821 | 2.3432 | 6.9362 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50160-50158 | 69.3534 | 1.4988 | 2.1611 | 58 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50160-50162 | 43.0976 | 1.9674 | 4.5651 | 34 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50162-50160 | 42.7013 | 0.15752 | 0.36888 | 46 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50162-50164 | 11.5617 | 0.23211 | 2.0076 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50164-50166 | 47.2596 | 0.49478 | 1.0469 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50164-50DIW | 6.8335 | 0.14816 | 2.1681 | 48 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50168-50164 | 20.7896 | 0.40021 | 1.9251 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50168-50170 | 30.2083 | 0.26807 | 0.8874 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50168-50DIW | 15.7753 | 0.60396 | 3.8285 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50DIW-50130 | 29.7737 | 0.40848 | 1.3719 | 30 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50DIW-50136 | 78.5276 | 0.64424 | 0.8204 | 52 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50DIW-50138 | 18.9357 | 0.56854 | 3.0025 | 52 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75162-25DIW | 8.9383 | 0.15821 | 1.7701 | 36 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75166-25DIW | 62.1875 | 0.46906 | 0.75427 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75170-25DIW | 23.7523 | 0.22501 | 0.94731 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75172-25176 | 33.3743 | 0.28419 | 0.85153 | 21 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75172-25DIW | 27.3459 | 0.32366 | 1.1836 | 46 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75174-25DIW | 50.94 | 0.23493 | 0.46118 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75176-25DIW | 21.0602 | 0.1862 | 0.88415 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75178-25DIW | 24.9912 | 0.23853 | 0.95447 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75180-25DIW | 45.8817 | 0.42147 | 0.91861 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75182-25DIW | 27.4804 | 0.61979 | 2.2554 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75184-25188 | 54.9948 | 0.37489 | 0.68169 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75184-25DIW | 32.3917 | 2.1193 | 6.5426 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75186-25DIW | 39.4263 | 0.61713 | 1.5653 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75188-25190 | 77.5224 | 1.6095 | 2.0762 | 21 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75188-25DIW | 65.6248 | 0.91718 | 1.3976 | 42 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75190-25192 | 43.0096 | 0.7865 | 1.8287 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75190-25DIW | 37.2924 | 0.44345 | 1.1891 | 21 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75192-25DIW | 19.3275 | 0.48614 | 2.5153 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75DIW-25130 | 15.6592 | 0.43927 | 2.8052 | 22 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75DIW-25138 | 10.4108 | 0.26163 | 2.5131 | 22 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75DIW-25144 | 23.1061 | 0.3073 | 1.33 | 29 | mg/L