## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N100 | 1.4681 | 0.057939 | 3.9466 | 34 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N101 | 0.72347 | 0.03372 | 4.6609 | 32 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N102 | 1.897 | 0.073319 | 3.865 | 35 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N103 | 0.59881 | 0.019331 | 3.2283 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N104 | 1.5821 | 0.047554 | 3.0058 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N105 | 0.45319 | 0.017136 | 3.7812 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N106 | 2.2788 | 0.067017 | 2.9409 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N107 | 0.35783 | 0.024335 | 6.8007 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N108 | 1.465 | 0.073997 | 5.051 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N109 | 0.41984 | 0.02303 | 5.4854 | 32 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N110 | 2.1606 | 0.085097 | 3.9386 | 35 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N79 | 0.25116 | 0.014557 | 5.7961 | 19 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N79c | 0.307 | 0.0070711 | 2.3033 | 4 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N80 | 1.664 | 0.047235 | 2.8387 | 21 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N81 | 0.362 | 0.023118 | 6.3861 | 24 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N82 | 2.5095 | 0.060423 | 2.4078 | 24 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N83 | 0.30706 | 0.059472 | 19.3684 | 18 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N84 | 2.2872 | 0.077166 | 3.3739 | 22 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N85 | 0.34858 | 0.012025 | 3.4496 | 19 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N86 | 1.6932 | 0.037627 | 2.2222 | 23 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N87 | 0.46297 | 0.021776 | 4.7035 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N88 | 2.5954 | 0.087508 | 3.3716 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N89 | 0.55122 | 0.059434 | 10.7821 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N90 | 1.2464 | 0.043285 | 3.473 | 34 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N91 | 0.20943 | 0.017745 | 8.4732 | 35 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N92 | 2.5005 | 0.07372 | 2.9482 | 34 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N93 | 0.31044 | 0.026341 | 8.485 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N94 | 1.6712 | 0.036418 | 2.1792 | 32 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N95 | 0.25567 | 0.033503 | 13.1042 | 27 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N95c | 0.2678 | 0.090326 | 33.7287 | 5 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N96 | 1.869 | 0.043442 | 2.3243 | 34 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N97 | 0.71313 | 0.061263 | 8.5908 | 32 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N98 | 1.6901 | 0.056223 | 3.3266 | 36 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | N99 | 0.37262 | 0.019911 | 5.3434 | 32 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | NS13 | 2.8466 | 0.061844 | 2.1726 | 20 | mg/L
Total Nitrogen (NH3+NO3+NO2+org N as N), UNF, CFA, ALK-P, ACD | 62855 | AKP01 | UNF | NS15 | 0.83967 | 0.041475 | 4.9394 | 27 | mg/L