## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrite (NO2 as N), FIL, COL, LL | 00613 | CL043 | FIL | N49 | 0.033417 | 0.018431 | 55.1566 | 12 | mg/L
Nitrite (NO2 as N), FIL, COL, LL | 00613 | CL043 | FIL | NAB | 0.061833 | 0.01272 | 20.5708 | 12 | mg/L