## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate (NO3 as N), FIL, IC, LL | 00618 | ALGOR | FIL | N72 | 0.5755 | 0.02488 | 4.3231 | 4 | mg/L
Nitrate (NO3 as N), FIL, IC, LL | 00618 | ALGOR | FIL | N73 | 0.12036 | 0.0097577 | 8.1069 | 44 | mg/L as N
Nitrate (NO3 as N), FIL, IC, LL | 00618 | ALGOR | FIL | N74 | 0.70944 | 0.020559 | 2.8979 | 16 | mg/L as N
Nitrate (NO3 as N), FIL, IC, LL | 00618 | ALGOR | FIL | NS10 | 1.2687 | 0.02248 | 1.7719 | 3 | mg/L as N
Nitrate (NO3 as N), FIL, IC, LL | 00618 | ALGOR | FIL | NS8 | 2.6316 | 0.039106 | 1.486 | 7 | mg/L as N