## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N100 | 0.65259 | 0.013966 | 2.1401 | 22 | mg/L
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N101 | 0.33719 | 0.013117 | 3.8901 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N102 | 1.2637 | 0.02214 | 1.7521 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N103 | 0.28813 | 0.007839 | 2.7206 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N104 | 0.70854 | 0.016143 | 2.2784 | 23 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N105 | 0.22662 | 0.010814 | 4.772 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N106 | 1.2436 | 0.034489 | 2.7732 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N108 | 0.5478 | 0.013272 | 2.4228 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N109 | 0.19136 | 0.0070336 | 3.6756 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N110 | 0.57757 | 0.011599 | 2.0083 | 23 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N89 | 0.27512 | 0.0099229 | 3.6068 | 40 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N90 | 0.45774 | 0.0088834 | 1.9407 | 16 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N90X | 0.04572 | 0.00096444 | 2.1094 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N91 | 0.0377 | 0.001213 | 3.2175 | 30 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N92 | 1.4923 | 0.029644 | 1.9864 | 23 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N92X | 0.15127 | 0.0044526 | 2.9434 | 4 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N94 | 0.74272 | 0.021168 | 2.8501 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N95 | 0.22017 | 0.0079646 | 3.6175 | 19 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N96 | 0.97124 | 0.024953 | 2.5692 | 22 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N97 | 0.23476 | 0.0077896 | 3.3181 | 8 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N98 | 0.58865 | 0.01157 | 1.9655 | 24 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | N99 | 0.18531 | 0.0053427 | 2.8832 | 22 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | NS16 | 0.84203 | 0.023109 | 2.7444 | 70 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | NS16X2 | 0.42041 | 0.011954 | 2.8434 | 4 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | NS18 | 0.26391 | 0.0099308 | 3.7629 | 92 | mg/L as P
Orthophosphate (PO4 as P), FIL, DA | 00671 | PHM01 | FIL | NS20 | 0.13035 | 0.0033326 | 2.5566 | 69 | mg/L as P