## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N100X | 0.065475 | 0.0024951 | 3.8108 | 12 | mg/L
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N101 | 0.35364 | 0.0071996 | 2.0359 | 17 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N102X | 0.12301 | 0.0020623 | 1.6765 | 16 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N103 | 0.29528 | 0.0097207 | 3.2921 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N104X | 0.066482 | 0.0011071 | 1.6652 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N105 | 0.26641 | 0.0071736 | 2.6927 | 20 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N106X | 0.12848 | 0.002485 | 1.9342 | 16 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N107 | 0.16626 | 0.0025837 | 1.554 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N108X | 0.05165 | 0.0020264 | 3.9234 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N109 | 0.27205 | 0.013285 | 4.8834 | 20 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N110X | 0.05936 | 0.0032191 | 5.423 | 15 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N79 | 0.15051 | 0.0014802 | 0.98348 | 9 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N81 | 0.086075 | 0.0017894 | 2.0789 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N83 | 0.15305 | 0.0031943 | 2.0871 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N85 | 0.18531 | 0.0040907 | 2.2075 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N86X | 0.13318 | 0.0017064 | 1.2812 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N87 | 0.19219 | 0.0052918 | 2.7534 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N88X | 0.11711 | 0.0035968 | 3.0714 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N90X | 0.047042 | 0.0025639 | 5.4503 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N91 | 0.040133 | 0.0022354 | 5.5699 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N92X | 0.14877 | 0.0022911 | 1.54 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N93 | 0.19068 | 0.0022131 | 1.1606 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N94X | 0.077142 | 0.0012266 | 1.59 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N95 | 0.23021 | 0.007183 | 3.1202 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N96X | 0.096263 | 0.001306 | 1.3567 | 8 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N96Xc | 0.12818 | 0.0010689 | 0.83392 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N98X | 0.059775 | 0.0015238 | 2.5493 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD, LL | 00666 | CL019 | FIL | N99 | 0.28892 | 0.00486 | 1.6821 | 9 | mg/L as P