## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N101 | 0.35067 | 0.013317 | 3.7975 | 3 | mg/L
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N79 | 0.147 | 0.0036056 | 2.4528 | 3 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N80 | 0.988 | 0.029591 | 2.995 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N81 | 0.0815 | 0.0042778 | 5.2489 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N82 | 0.8515 | 0.025665 | 3.0141 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N83 | 0.154 | 0.0064365 | 4.1795 | 8 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N84 | 0.69371 | 0.016772 | 2.4177 | 14 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N85 | 0.17625 | 0.0064262 | 3.646 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N86 | 1.3012 | 0.015019 | 1.1542 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N87 | 0.18125 | 0.003304 | 1.8229 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N88 | 1.0958 | 0.041924 | 3.8261 | 8 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N89 | 0.28112 | 0.009746 | 3.4668 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N90 | 0.45017 | 0.011256 | 2.5004 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N97 | 0.4007 | 0.01022 | 2.5506 | 10 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | N99 | 0.285 | 0.001 | 0.35088 | 3 | mg/L as P