## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N49 | 0.15 | 0.023664 | 15.7762 | 6 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N55 | 0.59957 | 0.03132 | 5.2238 | 7 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N56 | 0.7165 | 0.038641 | 5.3931 | 8 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N57 | 0.19925 | 0.020838 | 10.4581 | 8 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N58 | 0.7925 | 0.029238 | 3.6893 | 8 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N59 | 0.40883 | 0.016878 | 4.1284 | 12 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N60 | 0.79627 | 0.03355 | 4.2134 | 11 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N61 | 0.039667 | 0.0090738 | 22.8751 | 3 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N62 | 0.86522 | 0.054009 | 6.2422 | 9 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N63 | 0.1495 | 0.023433 | 15.6742 | 6 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N64 | 0.89683 | 0.030492 | 3.4 | 6 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N65 | 0.11395 | 0.0074929 | 6.5756 | 4 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N66 | 0.87062 | 0.03927 | 4.5106 | 6 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N67 | 0.2734 | 0.023954 | 8.7616 | 5 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N68 | 0.83795 | 0.026485 | 3.1607 | 6 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N69 | 0.078 | 0.0082865 | 10.6238 | 4 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N70 | 0.70867 | 0.014895 | 2.1019 | 6 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N71 | 0.065667 | 0.0085049 | 12.9516 | 3 | mg/L as P
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N72 | 0.72767 | 0.015177 | 2.0857 | 3 | mg/L as P
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N73 | 0.12633 | 0.0092916 | 7.3548 | 3 | mg/L as P
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N74 | 0.77267 | 0.027737 | 3.5898 | 3 | mg/L as P