## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | N55 | 0.61563 | 0.026461 | 4.2981 | 27 | mg/L
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | N57 | 0.20685 | 0.0083888 | 4.0554 | 34 | mg/L
Phosphorus (as P), UNF, COL, LL | 00665 | CL090 | UNF | N59 | 0.425 | 0.013015 | 3.0624 | 21 | mg/L