## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 2990047 | 2001-10-26 | 0.057 | 0.068 | 83.8235 | -16.1765 | -0.29333 | 0.05 | 1992 |  |  |  | mg/L | N71
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 1160008 | 2002-05-02 | 0.137 | 0.132 | 103.7879 | 3.7879 | 0.13333 | 0.05 | 1992 |  |  |  | mg/L as P | N73 | KJND121A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 1420037 | 2002-05-23 | 0.796 | 0.755 | 105.4305 | 5.4305 | 1.0933 | 0.05 | 1992 |  |  |  | mg/L as P | N74 | KJNA142A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 3300034 | 2001-11-26 | 0.725 | 0.749 | 96.7957 | -3.2043 | -0.64 | 0.05 | 1992 |  |  |  | mg/L as P | N72
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 0560084 | 2002-02-25 | 0.074 | 0.068 | 108.8235 | 8.8235 | 0.16 | 0.05 | 1992 |  |  |  | mg/L as P | N71
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 2380188 | 2002-08-30 | 0.122 | 0.132 | 92.4242 | -7.5758 | -0.26667 | 0.05 | 1992 |  |  |  | mg/L as P | N73 | KJNA241A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 0240022 | 2002-01-24 | 0.744 | 0.749 | 99.3324 | -0.66756 | -0.13333 | 0.05 | 1992 |  |  |  | mg/L as P | N72
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 2060193 | 2002-08-02 | 0.78 | 0.755 | 103.3113 | 3.3113 | 0.66667 | 0.05 | 1992 |  |  |  | mg/L as P | N74 | KJNA213A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 2690119 | 2002-10-17 | 0.742 | 0.755 | 98.2781 | -1.7219 | -0.34667 | 0.05 | 1992 |  |  |  | mg/L as P | N74 | KJNA289A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 0870199 | 2002-04-02 | 0.714 | 0.749 | 95.3271 | -4.6729 | -0.93333 | 0.05 | 1992 |  |  |  | mg/L as P | N72 | KJNDA02091A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 1720155 | 2002-07-03 | 0.12 | 0.132 | 90.9091 | -9.0909 | -0.32 | 0.05 | 1992 |  |  |  | mg/L as P | N73 | KJNA182A
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | 2002 | 3620149 | 2001-12-28 | 0.066 | 0.068 | 97.0588 | -2.9412 | -0.053333 | 0.05 | 1992 |  |  |  | mg/L as P | N71