## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3020160 | 2008-11-21 | 1.148 | 0.74625 | 153.8358 | 53.8358 | 0.24602 | 1.2 | 2370 | Below the reporting level but at or above the detection level |  |  | ug/L | 75187-25DIW | ICPOE08318C
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3080062 | 2008-12-01 | 1.48 | 0.74625 | 198.325 | 98.325 | 0.44933 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75187-25DIW | ICPOE08333A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1110127 | 2009-05-12 | 1.301 | 0.74625 | 174.3384 | 74.3384 | 0.33971 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75187-25DIW | ICPOE09131A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1140003 | 2009-05-07 | 1.268 | 0.74625 | 169.9162 | 69.9162 | 0.3195 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75187-25DIW | ICPOE09126B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1210147 | 2009-05-21 | 1.126 | 0.74625 | 150.8878 | 50.8878 | 0.23255 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75187-25DIW | ICPOE09140B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1560191 | 2009-06-18 | 1.736 | 1.5075 | 115.1575 | 15.1575 | 0.13993 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 50187-50191 | ICPOE09169C
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1660109 | 2009-06-30 | 1.691 | 1.5075 | 112.1725 | 12.1725 | 0.11237 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 50187-50191 | ICPOE09180B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1730162 | 2009-07-09 | 1.553 | 1.5075 | 103.0182 | 3.0182 | 0.027863 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 50187-50191 | ICPOE09189B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1810002 | 2009-07-16 | 1.909 | 1.5075 | 126.6335 | 26.6335 | 0.24587 | 1.8 | 2370 |  |  |  | µg/L | 50187-50191 | ICPOE09197B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3120099 | 2008-12-01 | 2.538 | 1.9725 | 128.6692 | 28.6692 | 0.3463 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE08333A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3230069 | 2008-12-12 | 1.99 | 1.9725 | 100.8872 | 0.8872 | 0.010716 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE08346A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3260104 | 2008-12-19 | 1.943 | 1.9725 | 98.5044 | -1.4956 | -0.018065 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE08354A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3380023 | 2008-12-19 | 2.083 | 1.9725 | 105.602 | 5.602 | 0.067667 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE08354A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1320060 | 2009-06-02 | 2.562 | 1.9725 | 129.8859 | 29.8859 | 0.36099 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE09153B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1350002 | 2009-06-04 | 2.729 | 1.9725 | 138.3523 | 38.3523 | 0.46326 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE09154B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1480017 | 2009-06-12 | 3.093 | 1.9725 | 156.8061 | 56.8061 | 0.68616 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE09162B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1530133 | 2009-06-18 | 2.994 | 1.9725 | 151.7871 | 51.7871 | 0.62554 | 1.8 | 2370 |  |  |  | µg/L | 50187-50189 | ICPOE09169C
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 0120035 | 2009-02-02 | 2.564 | 2.2125 | 115.887 | 15.887 | 0.21525 | 1.8 | 2370 |  |  |  | µg/L | 75189-25DIW | ICPOE09033B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 0270003 | 2009-02-04 | 2.37 | 2.2125 | 107.1186 | 7.1186 | 0.096448 | 1.8 | 2370 |  |  |  | µg/L | 75189-25DIW | ICPOE09035B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 0720179 | 2009-04-03 | 1.781 | 1.515 | 117.5578 | 17.5578 | 0.16289 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09089B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 0820036 | 2009-04-14 | 1.397 | 1.515 | 92.2112 | -7.7888 | -0.07226 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09103B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 0860145 | 2009-04-14 | 0.9451 | 1.515 | 62.3828 | -37.6172 | -0.34899 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09103B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 2520012 | 2009-09-30 | 1.281 | 1.515 | 84.5545 | -15.4455 | -0.14329 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09272B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 2570069 | 2009-09-30 | 1.333 | 1.515 | 87.9868 | -12.0132 | -0.11145 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09272B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 2640040 | 2009-10-21 | 1.671 | 1.515 | 110.297 | 10.297 | 0.09553 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09287A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 2710103 | 2009-11-12 | 1.738 | 1.515 | 114.7195 | 14.7195 | 0.13656 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 75191-25DIW | ICPOE09314A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3430078 | 2009-01-06 | 1.182 | 1.5075 | 78.408 | -21.592 | -0.19933 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 50187-50191 | ICPOE09005A
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 3570018 | 2009-01-15 | 1.237 | 1.5075 | 82.0564 | -17.9436 | -0.16565 | 1.8 | 2370 | Below the reporting level but at or above the detection level |  |  | µg/L | 50187-50191 | ICPOE09015B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1940072 | 2009-08-06 | 3.285 | 2.2125 | 148.4746 | 48.4746 | 0.65677 | 1.8 | 2370 |  |  |  | µg/L | 75189-25DIW | ICPOE09217B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 1980152 | 2009-08-06 | 2.741 | 2.2125 | 123.887 | 23.887 | 0.32364 | 1.8 | 2370 |  |  |  | µg/L | 75189-25DIW | ICPOE09217B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 2080169 | 2009-08-19 | 2.665 | 2.2125 | 120.452 | 20.452 | 0.2771 | 1.8 | 2370 |  |  |  | µg/L | 75189-25DIW | ICPOE09230B
Vanadium, UNF, ICP-OES | 01087 | PLA15 | UNF | 2009 | 2120003 | 2009-08-19 | 2.576 | 2.2125 | 116.4294 | 16.4294 | 0.2226 | 1.8 | 2370 |  |  |  | µg/L | 75189-25DIW | ICPOE09230B