## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | AS2 | 24.7264 | 1.0527 | 4.2576 | 24 | ug/L
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | AS3 | 12.2253 | 0.80804 | 6.6096 | 49 | ug/L as As
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | AS5 | 9.2103 | 0.41471 | 4.5027 | 18 | ug/L as As