## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrite (NO2 as N), FIL, COL | 00613 | CL041 | FIL | N72 | 0.0095 | 0.0013784 | 14.5095 | 6 | mg/L
Nitrite (NO2 as N), FIL, COL | 00613 | CL041 | FIL | N74 | 0.17656 | 0.0032035 | 1.8144 | 16 | mg/L as N