## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N100X | 0.063932 | 0.0014853 | 2.3233 | 31 | mg/L
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N101 | 0.35544 | 0.0072652 | 2.044 | 34 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N102X | 0.12373 | 0.001729 | 1.3974 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N103 | 0.29793 | 0.0050448 | 1.6933 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N104X | 0.066956 | 0.0012297 | 1.8366 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N105 | 0.26312 | 0.0050952 | 1.9364 | 35 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N106X | 0.13168 | 0.0023895 | 1.8147 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N107 | 0.16895 | 0.0031863 | 1.8859 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N108X | 0.051792 | 0.0019154 | 3.6983 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N109 | 0.27197 | 0.0076583 | 2.8159 | 35 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N110X | 0.057594 | 0.0021828 | 3.7899 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N111 | 0.28527 | 0.010157 | 3.5604 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N112X | 0.12371 | 0.0041082 | 3.3208 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N113 | 0.25964 | 0.0063658 | 2.4518 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N114X | 0.1114 | 0.0017489 | 1.5699 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N115 | 0.24553 | 0.0071539 | 2.9137 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N116X | 0.042781 | 0.0016813 | 3.93 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N117 | 0.39991 | 0.011457 | 2.865 | 18 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N118X | 0.090112 | 0.0020127 | 2.2336 | 17 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N119 | 0.24097 | 0.0062769 | 2.6049 | 21 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N120X | 0.068257 | 0.0020629 | 3.0223 | 21 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N121 | 0.16814 | 0.0041192 | 2.4499 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N122X | 0.057817 | 0.0013467 | 2.3293 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N123 | 0.2813 | 0.007974 | 2.8347 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N124X | 0.019404 | 0.0011289 | 5.8176 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N125 | 0.25415 | 0.0069034 | 2.7163 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N126X | 0.0494 | 0.0014102 | 2.8547 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N127 | 0.1466 | 0.0029698 | 2.0258 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N128X | 0.043665 | 0.0010994 | 2.5179 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N129 | 0.22045 | 0.0063917 | 2.8993 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N130X | 0.058923 | 0.0019825 | 3.3646 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N71 | 0.068307 | 0.0011835 | 1.7326 | 120 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N73 | 0.13858 | 0.0031571 | 2.2781 | 120 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N75 | 0.13023 | 0.0024173 | 1.8563 | 80 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N77 | 0.064794 | 0.0015796 | 2.4379 | 120 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N79 | 0.15032 | 0.0027789 | 1.8487 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N79c | 0.17965 | 0.0031473 | 1.7519 | 8 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N80X | 0.10081 | 0.0015161 | 1.5039 | 18 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N81 | 0.087585 | 0.0017017 | 1.9429 | 47 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N82X | 0.086978 | 0.0016868 | 1.9394 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N83 | 0.15574 | 0.0039091 | 2.51 | 40 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N84X | 0.070485 | 0.0026547 | 3.7664 | 20 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N85 | 0.18324 | 0.0045544 | 2.4855 | 43 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N86X | 0.13313 | 0.0039577 | 2.9727 | 21 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N87 | 0.1933 | 0.0042193 | 2.1827 | 20 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N88X | 0.12068 | 0.0038443 | 3.1854 | 35 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N90X | 0.046429 | 0.0016925 | 3.6453 | 35 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N91 | 0.040356 | 0.0018603 | 4.6097 | 34 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N92X | 0.15273 | 0.0021326 | 1.3964 | 34 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N93 | 0.19261 | 0.0030176 | 1.5667 | 35 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N94X | 0.077114 | 0.0016448 | 2.1329 | 35 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N95 | 0.23507 | 0.0094415 | 4.0165 | 30 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N95c | 0.17767 | 0.0018118 | 1.0197 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N96X | 0.098331 | 0.0024063 | 2.4471 | 26 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N96Xc | 0.13029 | 0.0021081 | 1.618 | 8 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N98X | 0.060361 | 0.0014301 | 2.3693 | 36 | mg/L as P
Phosphorus (as P), FIL, CFA, ACD-P, LL | 00666 | CL020 | FIL | N99 | 0.29345 | 0.004386 | 1.4947 | 26 | mg/L as P