## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N100 | 0.63164 | 0.019085 | 3.0216 | 11 | mg/L
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N101 | 0.3565 | 0.010523 | 2.9517 | 14 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N102 | 1.2075 | 0.038792 | 3.2126 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N103 | 0.29033 | 0.0098288 | 3.3854 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N104 | 0.66467 | 0.017489 | 2.6313 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N105 | 0.25754 | 0.0061862 | 2.4021 | 13 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N106 | 1.3308 | 0.037079 | 2.7862 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N107 | 0.16067 | 0.0057577 | 3.5837 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N108 | 0.52418 | 0.014668 | 2.7984 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N109 | 0.26667 | 0.010325 | 3.8719 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N110 | 0.56792 | 0.019524 | 3.4378 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N111 | 0.28508 | 0.0089489 | 3.1391 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N112 | 1.2497 | 0.01845 | 1.4763 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N113 | 0.25318 | 0.0049964 | 1.9734 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N114 | 1.0664 | 0.02215 | 2.0771 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N115 | 0.2329 | 0.017169 | 7.3717 | 10 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N116 | 0.40327 | 0.0097375 | 2.4146 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N117 | 0.39583 | 0.017093 | 4.3182 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N118 | 0.88517 | 0.0077567 | 0.8763 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N119 | 0.22833 | 0.0074744 | 3.2735 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N120 | 0.637 | 0.030749 | 4.8272 | 5 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N121 | 0.163 | 0.004899 | 3.0055 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N122 | 0.562 | 0.0086487 | 1.5389 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N123 | 0.27683 | 0.011409 | 4.1213 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N124 | 0.18767 | 0.0052789 | 2.8129 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N125 | 0.244 | 0.0051381 | 2.1058 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N126 | 0.496 | 0.014683 | 2.9603 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N127 | 0.14533 | 0.0039833 | 2.7408 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N128 | 0.43117 | 0.022248 | 5.1599 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N129 | 0.2162 | 0.0054037 | 2.4994 | 5 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N130 | 0.5785 | 0.012046 | 2.0822 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N79 | 0.14647 | 0.003806 | 2.5984 | 19 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N79c | 0.165 | 0.003559 | 2.157 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N80 | 1.0089 | 0.02803 | 2.7783 | 21 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N81 | 0.083167 | 0.0048514 | 5.8334 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N82 | 0.84675 | 0.020752 | 2.4507 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N83 | 0.15367 | 0.0066244 | 4.3109 | 18 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N84 | 0.70573 | 0.022904 | 3.2454 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N85 | 0.17409 | 0.005748 | 3.3017 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N86 | 1.3089 | 0.031997 | 2.4446 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N87 | 0.183 | 0.0048437 | 2.6468 | 27 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N88 | 1.1408 | 0.026299 | 2.3054 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N89 | 0.28445 | 0.0092068 | 3.2367 | 44 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N90 | 0.4535 | 0.014132 | 3.1163 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N91 | 0.037909 | 0.0041099 | 10.8413 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N92 | 1.5163 | 0.031752 | 2.0941 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N93 | 0.18775 | 0.0059462 | 3.1671 | 8 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N94 | 0.74542 | 0.015252 | 2.0461 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N95 | 0.23056 | 0.0063465 | 2.7527 | 9 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N95c | 0.174 | 0.006733 | 3.8695 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N96 | 0.98055 | 0.024456 | 2.4941 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N97 | 0.40953 | 0.0092062 | 2.248 | 45 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N98 | 0.58483 | 0.011892 | 2.0334 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | N99 | 0.2836 | 0.0084414 | 2.9765 | 15 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | NS13 | 0.51435 | 0.014648 | 2.8478 | 20 | mg/L as P
Phosphorus (as P), FIL, CFA, ALK-P | 00666 | CL063 | FIL | NS15 | 0.2315 | 0.010508 | 4.5391 | 26 | mg/L as P