## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N100 | 0.62968 | 0.01013 | 1.6087 | 22 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N101 | 0.34867 | 0.008835 | 2.534 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N102 | 1.2247 | 0.016263 | 1.328 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N103 | 0.29033 | 0.0092486 | 3.1855 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N104 | 0.66646 | 0.015229 | 2.285 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N105 | 0.26 | 0.01062 | 4.0846 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N106 | 1.3116 | 0.017673 | 1.3474 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N107 | 0.16712 | 0.0084612 | 5.0628 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N108 | 0.52587 | 0.014253 | 2.7104 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N109 | 0.26967 | 0.008741 | 3.2414 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N110 | 0.57283 | 0.0094301 | 1.6462 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N111 | 0.2835 | 0.0097846 | 3.4514 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N112 | 1.2518 | 0.020315 | 1.6229 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N113 | 0.25208 | 0.0077343 | 3.0681 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N114 | 1.0603 | 0.018355 | 1.7311 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N115 | 0.23704 | 0.0036651 | 1.5462 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N116 | 0.41 | 0.0094593 | 2.3071 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N117 | 0.385 | 0.010171 | 2.6419 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N118 | 0.87225 | 0.020785 | 2.3829 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N119 | 0.22327 | 0.0067393 | 3.0184 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N120 | 0.6473 | 0.012685 | 1.9596 | 10 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N121 | 0.16008 | 0.0041001 | 2.5612 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N122 | 0.55925 | 0.010532 | 1.8833 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N123 | 0.26342 | 0.0073294 | 2.7824 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N124 | 0.18517 | 0.0059518 | 3.2143 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N125 | 0.23017 | 0.0099712 | 4.3322 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N126 | 0.4755 | 0.017845 | 3.753 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N127 | 0.13936 | 0.0081274 | 5.8318 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N128 | 0.41533 | 0.0072405 | 1.7433 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N129 | 0.21208 | 0.0054349 | 2.5626 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N130 | 0.56491 | 0.0059406 | 1.0516 | 11 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N71 | 0.063292 | 0.0059643 | 9.4235 | 48 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N72 | 0.76213 | 0.021602 | 2.8344 | 47 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N73 | 0.12835 | 0.0066091 | 5.1491 | 48 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N74 | 0.77715 | 0.027154 | 3.4941 | 47 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N75 | 0.116 | 0.01093 | 9.4225 | 16 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N76 | 0.96056 | 0.018002 | 1.8741 | 43 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N77 | 0.063958 | 0.0051201 | 8.0054 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N78 | 0.64929 | 0.013033 | 2.0073 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N79 | 0.15217 | 0.0044907 | 2.9512 | 6 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N79c | 0.1785 | 0.0053229 | 2.982 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N80 | 1.0393 | 0.020391 | 1.9621 | 16 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N81 | 0.085917 | 0.0067885 | 7.9012 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N82 | 0.8505 | 0.015187 | 1.7856 | 12 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N83 | 0.1527 | 0.005391 | 3.5305 | 20 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N84 | 0.70387 | 0.012582 | 1.7875 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N85 | 0.17591 | 0.0066258 | 3.7665 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N86 | 1.3157 | 0.015979 | 1.2145 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N87 | 0.18842 | 0.0060139 | 3.1918 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N88 | 1.1535 | 0.013293 | 1.1524 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N89 | 0.28163 | 0.0059986 | 2.13 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N90 | 0.46463 | 0.011952 | 2.5724 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N91 | 0.038455 | 0.0072947 | 18.9696 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N92 | 1.4827 | 0.067634 | 4.5617 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N93 | 0.18763 | 0.0069646 | 3.712 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N94 | 0.74492 | 0.011275 | 1.5136 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N95 | 0.22732 | 0.0061197 | 2.6921 | 19 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N96 | 0.97614 | 0.011985 | 1.2278 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N97 | 0.4023 | 0.010016 | 2.4896 | 23 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N98 | 0.58425 | 0.013231 | 2.2647 | 24 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N99 | 0.28109 | 0.0082399 | 2.9314 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS11 | 0.79775 | 0.03291 | 4.1254 | 56 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS13 | 0.51728 | 0.011887 | 2.298 | 54 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS15 | 0.22684 | 0.0091834 | 4.0483 | 51 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS16 | 0.90125 | 0.0086168 | 0.9561 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS17 | 0.89476 | 0.033044 | 3.6931 | 71 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS17X2 | 0.4415 | 0.017214 | 3.8991 | 4 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS19 | 0.39191 | 0.0098579 | 2.5153 | 92 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS21 | 0.41185 | 0.0086324 | 2.096 | 84 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS23 | 0.89603 | 0.013947 | 1.5565 | 66 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS25 | 3.7447 | 0.074931 | 2.001 | 84 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS27 | 2.6192 | 0.029263 | 1.1173 | 22 | mg/L as P
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | NS9 | 0.96968 | 0.026413 | 2.7239 | 41 | mg/L as P