## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N71 | 0.065667 | 0.0085049 | 12.9516 | 3 | mg/L
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N72 | 0.72767 | 0.015177 | 2.0857 | 3 | mg/L as P
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N73 | 0.12633 | 0.0092916 | 7.3548 | 3 | mg/L as P
Phosphorus (as P), FIL, EPA | 00666 | KJ004 | FIL | N74 | 0.77267 | 0.027737 | 3.5898 | 3 | mg/L as P