## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N100 | 0.62118 | 0.02063 | 3.321 | 22 | mg/L
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N101 | 0.34232 | 0.013564 | 3.9623 | 25 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N102 | 1.2211 | 0.0265 | 2.1702 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N103 | 0.29262 | 0.0075228 | 2.5708 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N104 | 0.66692 | 0.015723 | 2.3576 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N105 | 0.25479 | 0.0058159 | 2.2826 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N106 | 1.3072 | 0.027169 | 2.0784 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N107 | 0.16237 | 0.0046979 | 2.8933 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N108 | 0.525 | 0.013118 | 2.4987 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N109 | 0.26882 | 0.0084501 | 3.1434 | 17 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N110 | 0.57369 | 0.010423 | 1.8168 | 16 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N113 | 0.25225 | 0.0044747 | 1.7739 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N114 | 1.0757 | 0.023701 | 2.2034 | 9 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N115 | 0.23608 | 0.007317 | 3.0993 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N116 | 0.40658 | 0.0082623 | 2.0321 | 12 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N117 | 0.38367 | 0.012879 | 3.3568 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N118 | 0.8685 | 0.0097108 | 1.1181 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N119 | 0.2305 | 0.0056833 | 2.4656 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N120 | 0.659 | 0.019723 | 2.9929 | 5 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N121 | 0.16133 | 0.013545 | 8.3957 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N122 | 0.57417 | 0.0089312 | 1.5555 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N123 | 0.27083 | 0.0075476 | 2.7868 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N124 | 0.18783 | 0.0069113 | 3.6795 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N125 | 0.24533 | 0.011361 | 4.6307 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N126 | 0.50783 | 0.015575 | 3.0669 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N127 | 0.14017 | 0.0083287 | 5.942 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N128 | 0.41983 | 0.011618 | 2.7672 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N129 | 0.2194 | 0.0036469 | 1.6622 | 5 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N130 | 0.57833 | 0.015565 | 2.6913 | 6 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N79 | 0.14405 | 0.0058164 | 4.0377 | 19 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N79c | 0.18 | 0.0039158 | 2.1754 | 4 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N80 | 0.9902 | 0.024345 | 2.4586 | 20 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N81 | 0.084458 | 0.0038446 | 4.552 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N82 | 0.84038 | 0.01884 | 2.2418 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N83 | 0.14967 | 0.0056569 | 3.7796 | 18 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N84 | 0.69082 | 0.022268 | 3.2234 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N85 | 0.176 | 0.0048074 | 2.7315 | 19 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N86 | 1.3131 | 0.019504 | 1.4853 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N87 | 0.18292 | 0.0056341 | 3.0801 | 25 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N88 | 1.1345 | 0.02896 | 2.5528 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N89 | 0.28148 | 0.011815 | 4.1973 | 58 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N90 | 0.45182 | 0.01519 | 3.3619 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N91 | 0.041304 | 0.0074677 | 18.0797 | 23 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N92 | 1.4981 | 0.034214 | 2.2838 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N93 | 0.18792 | 0.0047449 | 2.525 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N94 | 0.7462 | 0.012821 | 1.7182 | 20 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N95 | 0.2289 | 0.0068202 | 2.9796 | 20 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N95c | 0.17525 | 0.0015 | 0.85592 | 4 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N96 | 0.96991 | 0.018767 | 1.9349 | 22 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N97 | 0.40179 | 0.011009 | 2.7399 | 56 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N98 | 0.58338 | 0.016993 | 2.9129 | 24 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | N99 | 0.2768 | 0.0095263 | 3.4416 | 25 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | NS13 | 0.513 | 0.013696 | 2.6698 | 20 | mg/L as P
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 00665 | AKP01 | UNF | NS15 | 0.22626 | 0.010181 | 4.4999 | 27 | mg/L as P